## Slide 2: Training in Vacuum Technology for JUAS 2014 Students
Paolo Chiggiato
Technology Department
Vacuum Surfaces and Coatings Group
CERN, CH-1211 Geneva
Vacuum @ CERN
Material and Surface Science: Activity 1
Mechanical Engineering
Instrumentation: Activity 2
Simulation: Activity 3
Operation: Activity 4 and 5

## Slide 3: The Circuit in the CERN’s Meyrin Site
B. 101
B. 30 and 113
1 Km from B. 30 to B. 101

## Slide 4: Vacuum @ CERN
Vacuum is necessary for the free circulation of beams.
128 Km long vacuum system: the longest in the world.
All vacuum degrees and all vacuum technologies are employed at CERN

## Slide 5: Vacuum @ CERN
  2850 ion pumps, 450 turbomolecular pumps, 325 Ti sublimation pumps,…
  6 Km of NEG coated beam pipes, 2750 pressure gauges, 40 leak detectors and 100 RGAs,1930 roughing valves and 510 gate sector valves

## Slide 6
Vacuum Tech.
Material & Surface Science
Mechanical Engineering
Instrumentation and control
Simulation
Operation

## Slide 7
Vacuum Tech.
Material & Surface Science
Thin Films: TiZrV
Thin Films: Nb
Thin Films: Amorphous Carbon

## Slide 8
Vacuum Tech.
Material & Surface Science
Electroplating

## Slide 9
Vacuum Tech.
Material & Surface Science
Beam induced surface modification.
Surface analysis.
Primary electron energy [eV]
SEY

## Slide 10: Activity 1: gas from metals
Thermal and particle induced outgassing
Gas permeation in polymers and metals
Assessment of vacuum components
Thin film coatings for the reduction of material outgassing
Vacuum Tech.
Material & Surface Science

## Slide 11
Vacuum Tech.
Mechanical Engineering
Design
Production
Computation
Thin walls

## Slide 12
Vacuum Tech.
Instrumen-tation
Electron trajectories
Ion trajectories
(here illustration of ion losses)
Electrical potentials
(here during modulation)
Geometric mode of a Helmer gauge
SVT 305

## Slide 13
Lowest pressure ever measured at room temperature
Vacuum Tech.
Instrumen-tation

## Slide 14: Activity 2: pressure measurement
Vacuum Tech.
Instrumen-tation
Pressure measurement by gas ionization
Quadrupole gas analyzers and partial pressure measurement
The training lab
Calibration of instruments

## Slide 15
Vacuum Tech.
Simulation

## Slide 16: time-dependent processes
Vacuum Tech.
Simulation

## Slide 17: Activity 3: MC simulation
Vacuum Tech.
Simulation

## Slide 18
Vacuum Tech.
Operation

## Slide 19
LHC
Examples of vacuum systems in the LHC
Vacuum Tech.
Operation

## Slide 20
Vacuum technicians installing part of the beam pipe support system
Examples of vacuum systems in the LHC
Vacuum Tech.
Operation

## Slide 21: Interventions in controlled areas
Vacuum Tech.
Operation

## Slide 22: Remote interventions in controlled areas
Vacuum Tech.
Operation

## Slide 23: Activity 4: LHC vacuum system with NEG
Thin film coating for the LHC
LHC vacuum components
The LHC collimators and their vacuum system
Bakeout and NEG activation
Vacuum Tech.
Operation

## Slide 24: Activity 5: leak detection
Leak and pressure test of PIMS disks
Acceptance test of CCDTL module
Leak test of new source
This is just a few of the leak, pressure and acceptance test done in 2013 for the new material to be installed in Linac 4.
Leak test
of DTL
Drift tubes.
Vacuum Tech.
Operation

## Slide 25
We are looking forward to
sharing our work with you at CERN !