## Slide 1: BI/TB on AWAKE 29/01/2014
Overall project introduction and secondary instrumentation (Edda)
  Spectrometer
Proton and electron beam lines (Chiara)
  Beam instrumentation (BPM electronics)
CNGS line (TT41 and TCC4) dismantling (next slide)
  Dose planning requested soon (what can we leave?)
Laser beam
  Alignment
Collaboration (meeting April 2014 @ CERN)
Follow-up

## Slide 2: Dismantling TT41 and TCC4
BTVG.412108 s = 750.59 <10 µSv/h
BPG.412211 s = 783.67 <10 µSv/h
BLM.412243 s = 800.00 <10 µSv/h
BPG.412321 s = 811.55 18 µSv/h
BPG.412424 s = 824.11 124 µSv/h
BTVG.412424 s = 824.53 124 µSv/h
BFCT.412425 s = 825.07 124 µSv/h
BTVG.412434 s = 829.94 250 µSv/h
BLM.412445 s = 830.0 >1500 µSv/h no recent measurement
BPG.412444 s = 834.52 >1500 µSv/h no recent measurement
BTV.412445 s = 834.94 >1500 µSv/h no recent measurement
BPKG.412449 s = 836.61 >1500 µSv/h no recent measurement
Can we leave the red-objects in place?
  Plug-in module for last two (cut cables) ?