## Slide 1: Wire scanner I
New equipment
  HV control card (new design, nonconformity of VME bus protocol)
  Upgrade to LINUX CPU
  Upgrade to FESA 3.0 and improvements
  PSB and PS calibrations
  PS 40 MHz acquisition
  SPS 414 upgrade
  SPS RF mode reduction

## Slide 2: Wire scanner II
Activities
  PSB and PS in LS1
    Calibration of scanners (PS done, PSB ongoing)
    Activity with SW section
  PS 40 MHz acquisition installation on one scanner, LS1
    Activity with SW section
  SPS 414 upgrade with standard electronics , LS1
    Activity with ML section
    Activity with SW section
  SPS RF mode reduction, LS1
    Introducing a RF mode damping wire
    Introducing an additional RF field electrodes
    Activity with ML section
  Upgrade to LINUX CPU and FESA 3.0 in LS1, employment in winter stop for PSB, PS and SPS
    Activity with SW section