## Slide 1: BI/SW status and plans
BE/CO declared end-of-life for operational systems
  https://indico.cern.ch/event/286920
Operating systems:
  LynxOS (RIO CPUs - ~250 installed for BI)
    Systems frozen since 2004, no RDA3 + FESA3
    LynxOS deprecated (“phase‐out”) after LS1
    LHC announced to be a “LynxOS free zone” after LS1 (~170 less)
    EOL LynxOS (no support) after LS2
  Linux (VME + PC)
FESA 2.10 declared ‘dead’ by end of 2015
  Agreement since 2013 –> only ‘urgent’ developments on FESA2 ()
  Replacement FESA3 a step back in terms of development environment
    BI FESA3 classes being developed and tested (10 out of >100)

## Slide 2: Main issues (LINUX)
Hardware incompatibility between MEN-A20 CPU and BI hardware
  Serious show-stopper (end 2015)
  BI-VMA development (BI/EA) hoped to allow bridging the hole until new modules can be produced
FESA3 design choices
  Reduced productivity (less well integrated in the control-system)
  Choice to make it less CERN specific

## Slide 3: Conclusions
Major HW/SW changes to these systems (not old/parallel):
  LN2 -> PSB FBCT + BPM
  PS complex wire-grids
  DC BCT PSB + PS
Emphasis on hardware and software commissioning and integration for the coming weeks
Instrument responsible to make plans for eradicating obsolete hardware (LS2)
BI/SW to follow-up with BE/CO about FESA3 issues