## Slide 1: Kevin Loo: ESR 8
Third Annual ARDENT Workshop

## Slide 2: BrachyView: major progress update
“Application of Medipix detectors for medicine and radiation safety”
Three major studies completed for feasibility study of pinhole application of Timepix detectors
Two publications in 2013
3rd nearing draft completion – under revision with supervisors
4th major set of data being finalised

## Slide 3: Multiple seed study
20 seed data fused with clinical CT scan (and even ultrasound data)
More detailed error analysis shows little uncertainty in BrachyView approach
However, still reliant on single detector set-up
Development of 3D visualisation software shows much potential
Includes supervision and advising Masters and PhD students in Australia

## Slide 4: Multiple Seed study

## Slide 5: Gel phantom study
Use medical ultrasound phantom and real TRUS data
Data shows some systematic error, possibly due to uncertainty in detector position
Currently under analysis

## Slide 6: Gel phantom
Chart: Gel phantom (10 seeds)
| 5.1999999999999886 | -6.7999999999999829 | -13.199999999999989 | 13.200000000000017 | -2 | -12.399999999999977
CT Data | -7.6 | -8.4 | -2.8 | 2.8 | 11.6 | 6
Timepix Data (h=6mm) | 2.5213 | -4.9323 | -3.5637 | -6.0911 | -6.1788 | 10.059 | -6.4226 | -4.4434 | 0.1474 | -2.5213
C3.5 missing | 3.9816

## Slide 7: Software Development
Interface with Pixelman to create standalone BrachyView software
Currently in development with PhD student Saree Alnaghy (HDR division)

## Slide 8: GEANT4 Study
Pinhole characterisation
Good preliminary results, but more statistics needed

## Slide 9: GEANT4 Study

## Slide 10: Thesis
Thesis due early 2015
Third draft under review by principal supervisors
Structure:
  Introduction/Lit Review
  BrachyView Design
  Simulation studies
  Experimental pinhole studies
  Tomographic studies
  Soft tissue diagnostic study

## Slide 11: Future Work
Development of functional quad detector using 4 x 300 um Si sensors
Earlier prototypes tested successfully
Pinhole characterisation should also be performed (can compare with MC results)
V1.1: triple detector, gaps between each sensor for wire bonds, 2012
V2.0: quad detector based on gapless design, new wire bonding technique
V2.1

## Slide 12: Future Work: BrachyView Probe
Reverse-engineering of BrachyView Probe
24 mm TRUS probe
Quad detector (14x52 mm2)
Pinholes in lead
collimator
Implanted I-125 seeds

## Slide 13: Future Work
Not related to BrachyView:
  Assisting ESR 7 with data analysis taken from ISS
  Obtaining detector calibration and looking at particle fluence as a function of orbit position and time
  Currently in progress

## Slide 14: Road Map 2015
Finalise PhD thesis (and graduate!!!)
Prototype a fully functional BrachyView probe and continue collaborations with medical centres
Refine source localisation process (software and hardware developments)
Train other students in the use of Medipix and fundamentals of radiation detection and protection using semiconductor devices
  Educational tool
  Undergraduate, Masters students (CMRP, UOW)
Obtain experience in fields outside medical imaging (e.g. working with ESR 7)

## Slide 15: Conferences, Training, Secondments
ARDENT Business and Administration: 19-23 May, 2014
CMRP, UOW: 7 June – 8 July, 2014
FUTURE
IEEE NSS-MIC: 8 – 15 November, 2014 [‘Image quality in adaptive and multimodality imaging’ short course]
Business and Administration internship: early 2015, IBA Dosimetry

## Slide 16: THANK YOU!