## Slide 1: Overview of HV/HR-CMOS Pixel Sensors
Ivan Peric

## Slide 2: HVCMOS Introduction

## Slide 3: HVCMOS detectors
HV CMOS detectors - depleted active pixel detectors implemented in CMOS process
The sensor element is an n-well diode in a p-type substrate
Pixel electronics is based on a charge sensitive amplifier with continuous reset (suitable for high time resolution) – the electronics is placed inside the n-well sensor electrode
PMOS
NMOS
p-substrate
deep n-well

## Slide 4: HVCMOS detectors
High voltage is used to deplete a part of the substrate, the main charge collection mechanism is drift (Part of the signal originates from the undepleted region and is collected by diffusion)
PMOS
NMOS
p-substrate
Depletion zone
Potential energy (e-)
deep n-well
Drift
Diffusion

## Slide 5: HVCMOS detectors
Charge collection time measured with laser: Drift signal arrives within ~ns; diffusion ~100ns
Our strategy: use standard CMOS features for small prototypes
Improvements are possible within dedicated runs
PMOS
NMOS
p-substrate
Depletion zone
Potential energy (e-)
deep n-well
Drift
Diffusion

## Slide 6: Improved HVCMOS Structures HRCMOS

## Slide 7: HVCMOS with high resistive substrate
Standard substrate resistivity is 10-20 Ωcm – MIP signals are about 1800e
Several vendors offer free choice of substrate resistivity (within engineering runs): AMS for H35 and H18 technology, Lfoundry, STM, TJ, etc.
The use high resistivity substrates can improve SNR (depleted region is larger)
Deep-n-well
+-
+-
+-
+-
+-
+-
+-
+-
Depleted 12 µm
>20 um
Primary signal
100%-Signal collection: drift
Secondary signal
Partial signal collection: diffusion
+-
+-
+-
+-
+-
+-
Signal loss: recombination
Signal loss
Deep-n-well
+-
+-
+-
+-
+-
+-
+-
+-
Depleted 24µm
(@ equal bias voltage)
Depleted 48µm
(@ equal field, doubled bias voltage)
Primary signal
100%-Signal collection: drift
+-
+-
+-
+-
+-
+-
Particle
Particle
AMS H35 standard
Uniformly doped substrate 20 Ω cm
60V bias: Signal 1800e (~45% drift)
Uniformly doped substrate 80 Ω cm
Signal: ~ 2600e-4200e (60-80% drift) (estimation)

## Slide 8: Isolated PMOS
Isolated PMOS
Shallow N-well in deep P-well (possible in Lfoundry, TJ, probably AMS)
Eliminates PMOS to sensor crosstalk, allows more freedom when pixel electronics is designed
LV
HVCMOS with isolated PMOS
NMOS
PMOS
LV
NMOS
PMOS
Standard HVCMOS
Deep p-well
Shallow n-well

## Slide 9: HRCMOS
Isolated PMOS allows separation of sensor and electronics
Similar structure as MAPS in TJ
LV
NMOS
PMOS
Deep p-well
Shallow n-well
NMOS
PMOS
HRCMOS
HV
NMOS
PMOS

## Slide 10: HVCMOS Projects

## Slide 11: Mu3e

## Slide 12: Mu3e Detector
Scintillator tiles
Recurl pixel layers
Outer pixel layers
Inner pixel layers
Scintillating fibres
Search for particle event µ+ -> e+e-e+
High muon decay rate 109/s
Low momentum resolution 0.5 MeV/c
Vertex resolution 100 µm
Time resolution 100 ns (pixels) (1 ns scintillator fiber)
Four pixel layers 80x80m2 pixel size, 275 MP
Pixel detector thickness: ~50 m
Cooling with helium
Pixel detector area: 1.9 m2
Heidelberg, PSI, Zürich, Genf

## Slide 13: Mu3e Detector
Kapton PCB &
Supporting structure
Thinned chips
1cm
Pixels – active region
~0.5 mm
EoC logic

## Slide 14: Structure of the detector
RAM/ROM
Hit flag
Priority scan logic
Time stamp
Data bus
Read
Row/Col Addr + TS
One RO cell
/pixel
Readout cell function – time stamp is stored when hit arrives
Hit data are stored until the readout
Priority logic controls the readout order
RO cell size in 0.18 µm AMS technology ~ 7 µm x 40 µm
(with comparator and threshold-tune DAC)
Comparator
and Thr tune DAC
Pixel contains a charge sensitive amplifier
CSA
Concept: Every pixel has its own readout cell, placed on the chip periphery

## Slide 15: MuPixel
92µm
3 mm
Readout cell
One pixel

## Slide 16: MuPixel test beam
Test-beam measurement February 2014 DESY
Result analysis: Moritz Kiehn, Niklaus Berger, PI Heidelberg
99% efficiency measured

## Slide 17: MuPixel test beam
Test-beam measurement October 2013 DESY
Time resolution: 18ns (sigma) (not corrected for the pixel to pixel delay dispersion and charge sharing)
18ns sigma
Probably caused by indirect hits

## Slide 18: Thin detectors
Chips have been thinned to < 100 μm and successfully tested
THICK
THIN
450 MeV pion signals

## Slide 19: New prototypes
April 2014 a chip version (MuPix6) with improved threshold-tuning circuitry and two stage amplification produced
August 2014 new chip version (MuPix7) with high speed serial transmission (up to1.6GBit/s) submitted
The chips have been ordered thinned to < 50 μm

## Slide 20: ATLAS Pixels CPPM Marseille, CERN, University of Geneve, INFN Genova, Bonn University, LBNL Berkeley, University of Göttingen, Jozef Stefan Institute Ljubljana, University of Glasgow, University of Liverpool, IFAE Barcelona, Heidelberg University…

## Slide 21: Developments for ATLAS Pixels
Plan: make a large size CMOS pixel sensor demonstrator that can be readout via FEI4 ASIC
Many collaborating institutions (ATLAS HV/HRCMOS pixel collaboration or “smart pixel” collaboration)
Several concepts: passive sensor in CMOS, active CMOS sensor bump bonded to FEI4, capacitively coupled CMOS sensor (CCPD)
Pixel size either the same as in FEI4 or smaller
Here presented: CCPD concept
Pixels either with discriminator (“digital sub-pixel encoding”) or with amplifier only (transmission of analog signals)
+
TOT = sub pixel address
Readout pixel
Size: 50 µm x 250 µm
Size: 33 µm x 125 µm
Different pulse shapes

## Slide 22: CCPD detector (HV2FEI4)
The digital outputs of three pixels are multiplexed to one pixel readout cell
2
3
1
2
3
1
CCPD Pixels
+
Size: 33 µm x 125 µm

## Slide 23: CCPD – Prototypes in AMS H18
November 2011: CCPDv1
November 2012: CCPDv2
November 2013: CCPv3/CLICPIX
June 2014: CCPv4
CCPDv1
CCPDv2
CCPDv3
CCPDv4
4mm

## Slide 24: Results
1) CCPDv1: SNR after neutron irradiation at Jozef Stefan Institute 1015 neq/cm2 ~20 (5C, -55V bias) (Signal ~ 1180e) (measured 2014) (Unirradiated chip @ -50V bias: 1600e)
2) CCPDv2: works after 862 Mrad (x-ray irradiation CERN) (noise at room temperature 150e)
3) CCPDv1: sub pixel encoding works measured for one pixel – still needs optimization
1)
2)
3)

## Slide 25: Results
4) CCPDv2 and v1: one successful test beam measurement in 2013(DESY): efficiency >90% in the regions with high threshold (Analysis University of Göttingen) (New testbeam in August – results soon)
2)

## Slide 26: Results
5) Edge TCT measurements (University of Geneve)
Depleted layer thickness around 15 μm
15μm
Signal collected within first 3ns

## Slide 27: New Prototype
June 2014: CCPv4
Improved designs for lower noise and better sub pixel encoding
Pixel structures implemented in CCPDv4:
SAmp: Digital pixels with the current-mode amplitude coding – several improvements
Stime: Digital pixels with voltage-mode amplitude coding or the pulse length coding
N: “NewPixels” – the pixels with separated electronic and electrode, sub pixel size 25 μm x 125 μm (contain comparator)
A: New: Analog pixels - size 25 μm x 350 μm – contain only amplifier. New analog summing scheme

## Slide 28: Standard pixels: layout
One pixel
+
SAmp
STime
33um

## Slide 29: Analog pixel: layout
Analog pixels
s1
s2
s2
s3
25um
+

## Slide 30: New pixels: layout
One pixel
+
N-Well
~25 µm
~125 µm

## Slide 31: Another developments
HVCMOS
TSV
Tier 2
Tier 1
(thinned wafer)
Back Side Metal
M5
M4
M3
M2
M1
M1
M2
M3
M4
M5
M5
M4
M3
M2
M1
M1
M2
M3
M4
M5
Development in Global Foundry process
3D integration possible
(CPPM)
Development in Lfoundry
Advanced HVCMOS and HRCMOS designs
High resistive substrate
(Bonn, CPPM, Heidelberg)
Another developments:
STM, TJ, XFAB, Espros, Toshiba…

## Slide 32: CLIC

## Slide 33: Development for CLIC
CLIC requirements – little material, high spatial and time resolution
Option: capacitively coupled pixel detector
Test detector has been produced (CCPDv3) that can be readout with CLICPIX chip
Pixel size: 25 µm x 25 µm
Every HVCMOS pixel has its own readout cell
Readout pixel
Size: 25 µm x 25 µm
Size: 25 µm x 25 µm

## Slide 34: CCPDv3
CLIC pixels – excellent SNR
Noise for small pixels (25 μm x 25 μm) with analog readout 30e
Kα
Kβ
Threshold 200e

## Slide 35: ATLAS Strips

## Slide 36: HVCMOS for ATLAS strip layers
The development is coordinated by ATLAS strip WP1
Presently two CMOS technologies are investigated: AMS H35 and TJ (LF development is planned)
Heidelberg: AMS (and LF)
The foundries offer inexpensive engineering runs with high resistive substrates and low cost production

## Slide 37: HVCMOS for ATLAS strip layers
Pixel contains a charge sensitive amplifier
CSA
1
1
One of possible concepts: Strips are segmented into (long) pixels. Every pixel has its own readout cell, placed on the chip periphery
The periphery generates pixel addresses with a constant delay respecting the hit
Redundant address lines used to cope with simultaneous hits
Strip readout chip (like ABCN) replaced by a purely digital chip (based on existing digital parts)
1
1
0
2
0
2
1
3
1
3
0
2
1
3
ABCN chip
Digital chip
Present scheme
Possible HVCMOS scheme

## Slide 38: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
Output 1
Output 2

## Slide 39: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
y2
y3
Output 1
Output 2

## Slide 40: Segmented strip detector with lossy constant-delay-multiplexing
A2
C
D
B3
y2
y3
Output 1
Output 2
0
1
2

## Slide 41: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
y2
y3
Output 1
Output 2
0
1
2
A2
B3

## Slide 42: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
Output 1
Output 2

## Slide 43: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
Output 1
Output 2
y5

## Slide 44: Segmented strip detector with lossy constant-delay-multiplexing
A
C5
D
B
Output 1
Output 2
0
1
0
y5

## Slide 45: Segmented strip detector with lossy constant-delay-multiplexing
A
C5
D
B
Output 1
Output 2
0
1
0
C5
y5

## Slide 46: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
Output 1
Output 2

## Slide 47: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
Output 1
Output 2
y4
y1

## Slide 48: Segmented strip detector with lossy constant-delay-multiplexing
A1
C
D4
B
Output 1
Output 2
y4
y1
0
1
2

## Slide 49: Segmented strip detector with lossy constant-delay-multiplexing
A1
C
D4
B
Output 1
Output 2
y4
y1
0
1
2
A1
D4

## Slide 50: Segmented strip detector with lossy constant-delay-multiplexing
A
C
D
B
Output 1
Output 2

## Slide 51: HVStrip test chip in AMS H35
Pixels
Comparator block
Config. register
Readout block

## Slide 52: Chip-Top
Digital RO
cn
ctw
Digital RO
cn
ctw
Digital RO
cn
ctw
SR1
6-bit address, hit1,ParOut
6-bit address, hit2,ParOut
Comparator (time walk compensated)
Comparator (normal)
Analog multiplexer
config
serializer
amp
pix
amp
pix
Digital RO
cn
ctw
config
amp
pix
amp
pix
SR2
320MHz clock
40MHz clock
xor
Addr
Addr
40MHz clock
Comp out rising edge
Sync hit
Parity in
Parity out
demux
Digital RO
Synchronizer
Address line 1
Address line 2
serializer
Comp out
Sync hit
clock
Addr
Normal comp.
TWC comp.
Active pixels

## Slide 53: Time Walk Compensation
The idea: Adding of low-pass filter decreases the noise without increasing the power consumption
=> Better SNR, lower threshold
However: a slow output signal leads to a time-walk
Time walk is caused 1) by the fluctuations of the input signal and 2) by the low and signal-dependent response speed of the electronics
Can we compensate for time walk, without decreasing the shaping time constants?
Iamp
Cdet
Tsha
TW
Tsha
Th
Sig

## Slide 54: Time Walk Compensation
Imagine a comparator which has the output zero-to-one transition speed, that depends on the input signal “overdrive”
High amplitude signal – faster threshold crossing but slower 0-1 transition
Low amplitude signal – slower threshold crossing but faster 0-1 transition
Result: the threshold-crossing- and the transition time skews compensate each other
Second comparator generates time-walk free signal
Slow down
Slow down
Higher amplitude
Lower amplitude
2

## Slide 55: Time Walk Compensation
3600e
900e
TW 116ns
Noise=7.9mV, Thr=55mV, Bias current=5µA, Pixel size = 50x500µm, amplifier power 50mW/cm2
Shaper Output

## Slide 56: Time Walk Compensation
TW 8ns
3600e
900e
Noise=7.9mV, Thr=55mV, Bias current=5µA, Pixel size = 50x500µm, amplifier power 50mW/cm2
Comparator Output

## Slide 57: Summary
HVCMOS sensors are options for ATLAS pixels, ATLAS strip-layers, CLIC and Mu3e experiments
Mu3e:
Several test chips have been successfully tested
Trigerless readout, time resolution <100ns
Efficiency of ~99% have been measured in test beam
Chips have been thinned to <100μm and they work
ATLAS:
We are developing prototypes that can be readout using FEI4
Many parallel CMOS developments
Here presented: capacitively coupled pixel sensors in AMS technology – segmented pixels
We measure good SNR (~20) after 1015 neq/cm2, detectors work after 800MRad
Test-beam results are still preliminary, efficiency >90% in the regions with low threshold
We are planning to improve the SNR by implementing of sensor on high resistive substrates
CLIC:
HVCMOS CCPD with 25μm x 25μm pixels capacitively readout with CLICPIX has been successfully tested
High SNR measured, first test beam measurement done in August
ATLAS strip layers
HVCMOS and HRCMOS sensor are an option for ATLAS strip layers
HVCMOS sensor prototype (segmented strips) has been produced in AMS H35 technology
Hit information transmitted digitally via several address links to the digital readout chip (based on the digital part of ABCN chip) constant delay multiplexing

## Slide 58: Thank you!

## Slide 59: Backup slides

## Slide 60: Segmented strip detector with lossy constant-delay-multiplexing
Hit loss when more than 8 hits/BC/segment
Pipeline
structure
f
a
f
a
f
a
f
f
a
a
f
f
f
f
f
m
1
FF
inc
Addr
3-bit adder
en
chan
in
8
8
8
8
3
3
3
3
3
3
m
Addr
en
in
8
inc
1
Demux with en
Chan0-14
Chan15
Chan16-30
ROM
FFs:
2304

## Slide 61: HRCMOS in LFoundry
Electronics
~50V
~50V
0V
0V
P-substrate depleted
PW depleted
NW depleted
N
Collection electrode
>10um
1.8V
P-Substrate

## Slide 62: Isolated HVCMOS in LFoundry
Electronics
1.8V
1.8V
0V
-50V
P-substrate depleted
NW depleted
Collection electrode

## Slide 63: ATLAS New Type
ATLAS Type New Pixel
The N-well housing electronics is at fixed potential, it can attract signals, efficiency not clear, however for tracks under angles can be good
Advantages – no crosstalk between electronics and sensor, CMOS logic and comparators possible (FEI4-like trigger-electronics can be implemented), substrate at 0V
Smaller sensor capacitance
Pixel size 25µm x 125µm, four pixels couple to one FEI4 channel
Danger: punch-trough between sensor and electronic n-well, it limits the maximum HV
+HV
+HV
+HV
0V
1.8V
Substrate
Depleted
Depleted
15u
15u
10u
To FEI4
HV capacitor
Sensor nwell
Electronics nwell

## Slide 64: Standard pixels with time encoding
Based on SAmp version with standard feedback
Two operation modi:
1. voltage mode amplitude decoding
2. pulse length encoding
Mode 1: voltage amplitude defined by external voltages: Vplus (high level), Vminus1/2/3 (low level when hit in column 1, 2 or 3)
In the case of double hits – summed amplitude is the mean value of the corresponding amplitudes
Mode 2: Pulse length is determined by the DAC setting VNTime1/2/3
In the case of double hits, MAX of two lengths will be produced
Motivation for 1: voltage mode amplitude encoding is less susceptible to mismatch
Motivation for 2: time information (pulse length) can be transmitted to FEI4 without any added noise. Even in the case of glue non-uniformity time information is transmitted correctly.
mV
V
Pulse length encoding - principle
CCPD
FEI4
Amp
Comp1
Comp2
Amp
Comp

## Slide 65: CCPDv4
Pixel structures implemented in CCPDv4
SAmp: Standard pixels (as in CCPDv3-1, contain comparator and tune DAC) with the current-mode amplitude coding – several improvements
Stime: Standard pixels with (new) voltage-mode amplitude coding or the pulse length coding
N: “NewPixels” – the pixels with separated electronic and electrode, sub pixel size 25um x 125um (as in CCPDv3 contain comparator and tune DAC)
A: New: Analog pixels - size 25um x 350um – contain only amplifier - electronics similar as in CLIC pixels (CCPDv3). New analog summing scheme.
Analog pixels
s1
s2
s2
s3
25um
SAmp
STime
33um

## Slide 66: Time Walk Compensation – AMS 350 nm
TW 62ns
3600e
900e
Max 3600e:468ns
Max 900e:408ns
TW 62ns
Noise=8.8mV, Thr=55mV, Bias current=10µA, Pixel size = 50x250µm, Ifoll=10, amplifier power 200mW/cm2
Shaper Output

## Slide 67: Time Walk Compensation – AMS 350 nm
TW 4ns
3600e
900e
Noise=8.8mV, Thr=55mV, Bias current=10µA, Pixel size = 50x250µm, Ifoll=10, amplifier power 200mW/cm2
Comparator Output

## Slide 68: Time Walk Compensation
3600e
900e
TW 75ns
Noise=8.0mV, Thr=55mV, Bias current=10µA, Pixel size = 50x500µm, Ifoll=7, amplifier power 100mW/cm2
Shaper Output

## Slide 69: Time Walk Compensation
TW 5ns
3600e
900e
Noise=8.0mV, Thr=55mV, Bias current=10µA, Pixel size = 50x500µm, Ifoll=7, amplifier power 100mW/cm2
Comparator Output

## Slide 70: AMS TSV process

## Slide 71: TSV – bask side RDL
nwell
Transistor
M1
M3
M4
RDL
(MET4_TSV)
Wire bond
Bump
Wire bond pad
(PAD_TSV)
VIAT_TSV
Read out Chip
CMOS Side
Sensor
Backside RDL
AMS offers through silicon vias and wafer bonding (so far only for H35, from end of 2015 for H18 as well)
Backside redistribution layer and backside pads are possible
TSV pitch 260 µm
Very important for the module construction

## Slide 72: Pixel detectors
…
Readout chip
Detector as it is done now:
Diode based pixel sensor bump-bonded to readout ASICs
Present development:
CMOS pixel sensor capacitively coupled to readout ASICs
With TSVs
CMOS pixel sensor with backside contacts
capacitively coupled to readout ASICs
PCB
Pixel sensor
(diode based)
(e.g. 8 x 2cm)
CMOS pixel sensor
several reticles
(e.g. 4 x 2 cm)
Readout chip
Pixel sensor
Readout chips
Wire bond for sensor bias
Wire bonds for RO chips
Wire bonds for RO chips
Wire bonds for sensor chip
Readout chips
CMOS pixel sensor
Capacitive signal transmission
CMOS pixel sensor
several reticles
(e.g. 4 x 2 cm)
Readout chip
Wire bonds for sensor chip
Wire bonds for RO chips
CMOS pixel sensor with backside contacts
TSVs
Backside contact
PCB
PCB
PCB
Capacitive signal transmission

## Slide 73: Pixel detectors with TSVs
…
CMOS pixel sensor
several reticles
(e.g. 4 x 2 cm)
Readout chip
TSVs
Capacitive signal transmission
Pixel sensor
Readout chips
Contacts for the readout chip are fed through the sensor substrate
Bumps or capacitive signal transmission
Pixel sensor
Type A: sensor contacts on the back side of the sensor chip
Type B: sensor- and readout chip contacts on the back side of the sensor chip
Readout chip
2x2cm
Sensor reticle
2x2cm
TSV
Sensor reticle
2x2cm
TSVs for sensor- and readout chip contacts

## Slide 74: Detectors is advanced CMOS: HRCMOS

## Slide 75: Standard MAPS
MAPS
NMOS transistor in p-well
N-well (collecting region)
Charge collection (diffusion)
P-type epi-layer
P-type substrate
Energy (e-)

## Slide 76: INMAPS in Tower-Jazz
INMAPS
NMOS shielded by a deep p-well
PMOS in a shallow p-well
N-well (collecting region)
Pixel
P-doped epi layer

## Slide 77: Depleted INMAPS - HRCMOS
HRCMOS
NMOS shielded by a deep p-well
PMOS in a shallow p-well
N-well (collecting region)
Pixel

## Slide 78: Advanced MAPS with back-plane electrode
2V
P-type
P-well
N-diffusion
Depleted
Ohmic connection

## Slide 79: Advanced MAPS with back-plane electrode
2V
50V
P-type depleted
P-well
N-diffusion
No ohmic connection

## Slide 80: Advanced MAPS with back-plane electrode
2V
50V
P-type depleted
P-well
N-diffusion

## Slide 81: Segmented strip detector with lossy constant-delay-multiplexing
1
Pixel size 40 x 800
Segmented strip
Output width 8x8
Constant delay
Small periphery (~2%)
Pad-area dominates
Hit loss when more than 8 hits/BC/2cm2
8x8
Pipeline
structure
f
a
f
a
f
a
f
f
a
a
f
f
f
f
f
m
1
FF
inc
Addr
3-bit adder
en
chan
in
8
8
8
8
3
3
3
3
3
3
m
Addr
en
in
8
inc
1
Demux with en
Chan0-14
Chan15
Chan16-30
ROM
FFs:
2304

## Slide 82: Segmented strip detector with lossy constant-delay-multiplexing
n
Pixel size 40 x 800
Segmented strip with binary row encoding
Output width 8x(8+n)
Constant delay
Small periphery (~2%)
Pad-area dominates
Hit loss when more than 8 hits/BC/2cm2
8x8
Pipeline
structure
f
a
f
a
f
a
f
f
a
a
f
f
f
f
f
1
inc
en
chan
8
8
8
3
3
3
3
3
3
en
inc
1
Chan0-14
Chan15
Chan16-30
f
n
f
f
addr
n
n
n
n
in
in
f
n
f
f
n
n
n
in
FFs:
6912

## Slide 83: Chip-Top
400um
Comp
Bias DACs
Test pix.
2
22
Dig. RO
Conf
RO Cell
17 bottom pads
17 top pads
40um
14 test pads
Active Pixels
Hit address
Test dio.
Test FETs
AmpOut, CompOutN/TW