## Slide 1: Grid site and services monitoring at CERN T0
Maite Barroso, 12/05/2014

## Slide 2: Present scenario
What we have now:
Site Nagios server (https://sam-cern-roc.cern.ch/nagios/), running with ops VO, used for:
EGI availability calculations
EGI grid monitoring (alarms shown at the EGI dashboard, http://operations-portal.egi.eu/dashboard)
Grid service monitoring for IT-PES (Nagios to SLS plugin)

## Slide 3: How it works
Periodic updates from EGI, RPM packaged, configured with yaim. No tailoring needed on our side, just to adapt to quattor (puppet in near future)
N2SLS plugin developed in IT-PES (Steve Traylen)
Nagios sensors distributed by default for all mw services, provided and tested by mw developpers
We don’t add any other sensor, just deploy it as it is

## Slide 4: What to retain
Availability/reliability?
  Solved in WLCG, use central instances using experiments’ VOs
EGI monitoring and alarms?
  Useful while we can profit from it for free
Grid service monitoring for IT-PES?
  This is what we want to retain

## Slide 5: Positive points
Nagios sensors for grid services provided by mw developpers
  No effort/deep knowledge required on our side
  CREAM, APEL, LFC, FTS, MyProxy, site and top BDII, SRM, VOMS, WMS, Argus, glexec
  Well maintained up to now
Integrated solution
  A framework to easily run these probes (at WNs and core services), collect and display the results.
  Regular releases of monitoring framework and probes
  Integration with SLS
Basic Nagios expertise required to manage it

## Slide 6: Requirements
No additional monitoring expertise
  Build on existing one (in IT-PES, or elsewhere in the department)
  Integrate with similar solutions in the department?
Get middleware sensors from mw developers
Cover all grid services (or at least the ones that are covered now)

## Slide 7: Alternatives? (1)
Leave things as they are
  + it is working, and it is useful
  - solution will diverge from WLCG monitoring, this will imply lack of expertise on site, duplication of effort
  - unclear EGI future
Check tests from the experiments, select a subset that would fit our needs to monitor the grid services, and create a separate Nagios “site” profile, running under the experiment Vos: (this could also be of use to other WLCG sites?)
  + reuse of SAM experiment instances and tests, consolidate on manpower and on a single solution
  - This does not cover all grid services; who will maintain the probes?

## Slide 8: Alternatives? (2)
Use the experiment Nagios monitoring run by IT-SDC as it is, using the Nagios to SLS plugin. Have a look during one month in parallel to the present EGI Nagios to see if we see the same service failures.
  + reuse of SAM experiment instances and tests, consolidate on manpower and on a single solution
  - This does not cover all grid services; more complex aggregation in SLS (4 VOs)
Integrate Nagios probes into AI monitoring framework, reusing the EGI ops probes
  + build on IT monitoring framework, expertise on site
  - Don’t know if this is possible at all
General concern: don’t know for how long the EGI ops Nagios probes will be maintained