ISOLDE Decay Station

---
Isolde facility

---
Isolde focuses on nuclear physics experiments
- We study properties of nuclei by looking at their decays.
- Three most common types of decay:
- Alpha decay
- Beta decay
- Gamma decay

---
Semi-Empirical mass formula

---
Creating exotic nuclei
The ion beam knocks nucleons from the Uranium nucleus. This creates unstable (“exotic”) nuclei with either to many protons or too many neutrons. The nuclei decay quickly and their decay is measured by the various detectors in IDS.

---
Stuff goes here

---
IDS components
- Clover detectors
- Miniball
- Silicon detectors
- Tape station
- Scintillators
  -LaBr3

---
Tape Station
- Mylar tape station
- Used with beta-
  particle detectors,
  The Particles are
  embedded inside
  the tape
- Lead Shielding
  to decease background
  noise

---
Clover Detectors
Made of high purity germanium crystals
Used to detect gamma radiation
Works in a similar way to ccd where gamma rays knock
electrons so
the total charge
is proportional
to the energy of the
gamma rays

---
Miniball
Another Germanium detector, similar to clover, very high efficiency, useful for lower energy, low electron- multiplicityexperiments

---
Silicon Detectors
- Used to detect alpha particles and larger fission fragments
- The detector works by having the energetic decay particles pass through the depletion
  region in the silicon
  semiconductor. This creates
  electron-hole pairs which causes an electric
  current proportional
  to the energy of the particles

---
Beam
Si det
Tape
Plastic

---
LaBr3 Scintillator
- A Scintillator is a device that fluoresces
- In nuclear experiments, it is used to measure gamma radiation
- Lanthanum Bromide has the advantage of higher energy resolution but at the cost of more background noise, so it is better suited to relatively high energy experiments

---
Goals for the semester
- CAD drawing, nearly finished
- Setting up liquid nitrogen refill system

---
Questions?