Data Management Activities at CERN
 Support for Concurrent Data Analysis by many End-Users
Ákos Frohner
EGEE'08
September 2008

---
Outline
What we can do now?
  - The LHC data flow
What else is needed?
  - Analysis requirements
How can we do that?
  - Projects

---
What we can do now
Handling the LHC data flow
CERN Advanced STOrage Manager (CASTOR): through the computer center
  - From the experiments to disk
  - From disk migration to tape
  - From disk to remote sites
  - Recall from tape
File Transfer Service (FTS):
to the Tier-1 centers
  - Regulated transfer to remote sites
DPM: SE for Tier-2 centers

---
Data flow in numbers
LHC data
15 PB/year
Castor – 2008 September
13 PB data
100 M files
FTS aggregated traffic
  - during the last service challenge
1500 MB/s average
DPM
More than 100 instances

---
Outline
What we can do now?
  - Some impressive numbers
What else is needed?
  - Analysis requirements
How can we do that?
  - Projects

---
What else is needed?
WLCG planned analysis at Tier-2 sites,
since recently it is also foreseen at CERN
Analysis activities
  - Random data access
  - Low latency
  - Small files
  - Disk only copies (multiple)
Improved usability
  - Easy access (e.g. mounted file system)
  - Flexible authorization, accounting, quotas
Tier-2 sites with disk only storage (mostly DPM) can fulfill these requirements easier.

---
Detailed requirements
Requirements in numbers
  - Opening files #: O(1000/s), currently: O(10/s)
  - Latency: O(10ms), currently: O(10s)
End user use cases:
  - (different from the coordinated data flow)
  - Interactive usage (browsing, small changes)
  - Random access patterns (hot servers)
  - Use up space (vs. quota)
  - Should see only their own files (authorization)
Data access should be easy: Posix open()
  - libc pre-load / FUSE / network file system

---
Outline
What we can do now?
  - Some impressive numbers
What else is needed?
  - Analysis requirements
How can we do that?
  - Projects

---
How can we do that?
Security, accounting, quota
Xrootd
Stager improvements
Integrated monitoring
Database consolidation
Tape efficiency

---
Security
Authentication
  - By host (internal usage, e.g. disk-tape transfer)
  - Kerberos 5 (existing infrastructure)
  - X509 certificates/VOMS (grid use cases)
Authorization
  - POSIX ACL
  - Pool protection (guaranteed space, bandwidth)
Accounting
  - Mapping to single uid/gid

---
Xrootd
Fully integrated access protocol for Castor
Multi-user support (Krb5, X509/VOMS)
Name space mapped into Castor NS
Stager integration
  - Tape back-end (migration and recall)
  - Selection of stager and service classes
    each VO can have its own guaranteed services
Bypassing the I/O scheduler
  - Reduced latency for read
  - Large number of open files
Experimental feature: mountable via FUSE

---
Stager improvements
Quota per pool/group/user
Removal of LSF as I/O scheduler
  - File migration/recall and transfer is scheduled through LSF job scheduler
  - Reduced latency for read and write
Multiple disk copies
  - Increased disk pool size allows multiple copies
  - Can replace tape backup (i.e. small files)
Guaranteed resources for production users
File clustering
  - often used application level concept,
    however hard to capture at storage level

---
Monitoring
Goal: real-time metrics to optimize the resource usage and to validate optimization ideas
  - file lifetime and size distribution on disk
  - cache efficiency, hit/miss rate by user,
    time, fpath, fsize and tape
  - request clustering by user,
    time, fpath, fsize and tape
  - weekly/monthly: tape cost(mounts)
    per user and top users
Ideas to test:
  - file aggregation on disk/tape
  - migration/garbage collection strategies

---
Database Consolidation
Castor is a DB centric ~ daemons are stateless
Schema consolidation:
SRM and Stager request handling are similar: merging the schema
(and the service code)
Disk server content/Stager DB:
improving the synchronization strategy
Improving the synchronization of file locations
  - Name Service DB: file metadata and tape info
  - Stager DB: files on disk
  - (xrootd redirector: files on disk)

---
Tape Efficiency
Improved tape format
  - Storage of small files is inefficient
    (~160MB/sec + 5-9 secs for tape marks/file)
  - Metadata for recoverability and reliability
Aggregation of file sets
  - Can work with/out clustering
  - On-the-fly aggregation for tapes (vs. small files)
Dedicated disk cache layer (Gbit net ~ tape speed)
Repack strategies: new tape media or hardware require the migration of old data formats to new ones
(~quarter of the internal data flow)

---
Additional constraints
Format or layout changes imply migration
  - 15 PB/year new data!
Smooth upgrade path in a live system
  - Testing...testing...testing
  - Incremental upgrades

---
Outline
What we can do now?
  - Some impressive numbers
What else is needed?
  - Analysis requirements
How can we do that?
  - Projects