## Slide 1: Tier-0: Preparations for Run-2
Armin NAIRZ (CERN)
ADC Technical Interchange Meeting
Chicago, 29 October 2014

## Slide 2: Contents
Topics and areas covered in this presentation:
Storage infrastructure – cold vs. hot storage
DQ2-to-Rucio migration
Batch infrastructure
Spill-over from Tier-0 to Prodsys
Miscellanea

## Slide 3: Future Storage Infrastructure
Context (reminder):
  CERN IT want to reduce the scope of CASTOR
    Essentially only tape backend with “sufficiently sized” disk buffer
    Ideally only “cold storage” (write once, read rarely at tape recall)
    No CASTOR disk-only pools (like CAF/ATLCAL) any more
  Main data traffic should move to EOS
EOS foresees redundant copies on different servers
  Safer than CASTOR’s RAID
EOS can replace CASTOR/ATLCAL as CAF disk buffer
  RAW and derived data available for local access for some time
Replica EOS  CASTOR/tape through third-party transfer
  DDM (most straightforward)

## Slide 4
EOS
T/DAQ
RAW
CASTOR
Tape
T0ATLAS
Tier-0
recon
RAW
ESD
xAOD
temp
EOS
CASTOR
Tape
T0ATLAS
Tier-0
merge
xAOD
temp
xAOD
Tier-1s
EOS
CASTOR
Tape
T0ATLAS
DDM
3rd party copy
RAW
xAOD
RAW
ESD
xAOD
CASTOR as
“Cold Storage”
− RAW onlineoffline transfers
− Tier-0 reconstruction
− DDM Tier-0Tier-1 export
− Tape archival
Tier-0 merging

## Slide 5: Storage Infrastructure: EOS
Agreement with DAQ and ADC about EOS setup
  Deployment by IT in progress
EOS name-space organisation:
  /eos/atlas/atlastier0/daq
  l/eos/atlas/atlastier0/test
    Areas for transient RAW data, DAQ testing
    Space management by DAQ and Tier-0
  /eos/atlas/atlastier0/tzero
    Area for transient derived Tier-0 data, log files
    Space management by Tier-0
  /eos/atlas/atlastier0/rucio
    Common area for “permanent” RAW and derived data
    Rucio end-point (RSE) for export and tape backup
    Data registration by Tier-0 (with appropriate lifetimes)
    Space management by Rucio

## Slide 6: Storage Infrastructure: EOS
EOS quota for all directories, used for accounting only
  Over-committed
Envisaged pool size of 3-4 PB
  Will allow lifetimes of O(3 weeks)
  Total number of files: O(10M)
Group areas under /eos/atlas/atlascerngroupdisk
  Detector groups (so far: writing to CASTOR/tape)
  CAF groups (so far: group area on CASTOR/atlcal)
  Partly existing already, rest to be created
  O(20) groups in total, each with O(few TB) per year
  Group quotas to be approved by CREM
  Registration and tape backup services will be provided

## Slide 7: Migration DQ2  Rucio
New Tier-0 RSEs
  A single one on EOS
    Non-deterministic
    “CERN-PROD_TZDISK”
  Two on CASTOR, mapped to two different tape families
    Allows clear separation of RAW and derived data, with their conceptually different lifetimes
    Non-deterministic
    “CERN-PROD_RAW”, “CERN-PROD_DERIVED”
    Old CASTOR end-points (DAQ, TZERO) need to be kept
  Naming convention for paths on CASTOR RSEs t.b.d.
    <project>/<type>/<version>/<datasetname>/ not fully applicable

## Slide 8: Migration DQ2  Rucio
Prototype Tier-0 process for Rucio registration exists already
  From Spring 2014, needs to be adapted and tested
Tier-0 registration work flow
  Creation of new datasets (on EOS RSE)
    rucio.add_dataset(scope, name, rules, meta)
  Population of datasets with files
    rucio.add_files_to_dataset(scope, name, files, rse)
  Closure of datasets
    rucio.close(scope, name)
  Subscription to CASTOR tape RSEs
    Details of API to be finalised
Issues and remarks
  Sets of metadata (at both file and dataset levels) t.b.d.
  Tier-0 will use “tzero” account
  Need to agree on appropriate scopes ( tablespace segmentation)
    E.g. “tzero_data15”, “tzero_data16”

## Slide 9: Migration DQ2  Rucio: Next Steps
Creation of RSEs, finalisation of Tier-0 processes
Functional test with milestones
  Placement of test datasets onto EOS RSE (Tier-0)
  Registration in Rucio (Tier-0)
  Subscription to CASTOR tape RSEs (Tier-0)
  Establishment of a tape copy on CASTOR tape RSEs (Rucio)
  Subscription to Tier-1s and other external centres (SC successor?)
  Export to Tier-1s and other external centres (Rucio)
  Clean-up on EOS RSE (Rucio)
At a later test stage, also T/DAQ could be involved
  Placement of test datasets on to EOS RSE
  Exercise of the adapted handshake procedure with CASTOR for their purging of data from SFO disks
Timescale and schedule still have to be discussed with all involved parties
  ~2 weeks?

## Slide 10: Batch Infrastructure
Tier-0 will have independent dedicated (LSF) master instance and dedicated cluster
Resources will be shared with Grid production, to ensure efficient usage
  Special CREAM CE, set up by CERN/IT and Ale
  Short (2-3h) Grid jobs will fill the cluster
  Tier-0 jobs with higher priority will push out Grid production jobs if needed
Status:
  Functional and scale testing finished
  New instance used in production during M6
Resources can be added to the cluster as required

## Slide 11: Spill-over Tier-0  Prodsys
Meetings, e-mail exchanges with Alexei, Misha B., Kaushik, ADC Management
  Agreement on strategy and procedures
In case of resource shortage, Tier-0 will inject complete task chains into Prodsys
As starting point, studied web interfaces for task (chain) requests and configuration
  Help from Misha, José
Necessary ingredients: input/output datasets, AMI tags, additional information (e.g., bunching requirements)
Will use python API provided by Misha, not web interface
  Proposal sent around
  Next round (with prototype python API?): mid-November
After successful injection, DEfT could return OK and possibly link to Prodsys monitoring
  Clickable from Tier-0 monitoring pages

## Slide 12: Miscellanea
Multi-core/AthenaMP at Tier-0
  No requests yet, requirements not clear
  Possibility of multi-slot reservation at job submission
  Dedicated multi-core queue(s)?
  Efficient usage of resources…?
Event Index to replace TAGs
  Instrumentation of transforms
  Messaging svc infrastructure
  Handshake with Tier-0 at task completion
    Initiates consistency checking, consolidation