## Slide 1: Xbox-3 LLRF
Ben Woolley
Stephane Rey & Heiko Damerau

## Slide 2: Outline
Xbox-3 original layout.
Xbox-3 new plan.
RF channels to be acquired.
LLRF systems needed.
Components and pricing.
Experimental verification and results.

## Slide 3
3D layout/integration of XBOX3
XBOX3 is a ‘clever’ way to convert the high rep. rate into the bigger number of testing slots with high peak power.

## Slide 4
Klystron/modulator
RF /vacuum gate valve
Directional coupler
RF/vacuum pumping port
3 dB hybrid
RF pulse compressor
RF load
WR90 waveguide network
High Power RF network
6 MW x 4µs x 400 Hz
24 MW x 4µs x 100 Hz
80 MW x 300 ns x 100 Hz
Igor Syratchev

## Slide 5
Klystron/modulator
RF /vacuum gate valve
Directional coupler
RF/vacuum pumping port
3 dB hybrid
RF pulse compressor
RF load
WR90 waveguide network
High Power RF network
7 MW x 4µs x 400 Hz
14MW x 4µs x 200 Hz
56 MW x 250 ns x 100 Hz
Igor Syratchev

## Slide 6
Klystron/modulator
RF /vacuum gate valve?
Directional coupler
3 dB hybrid
RF pulse compressor
RF load
High Power RF network Signals
6 7 MW x 4µs x 400 Hz
14 MW x 4µs x 200 Hz
56MW x 250 ns x 200 Hz
- Slow Amplitude only. Log det. @250MSPS  Reflected signals/machine protection (3/TS)
- Phase & amplitude @400MHz @ 250MSPS  Phase but not speed is key KLYin, KLYout, PCin (3/TS)
- Phase & amplitude 400MHz. @1.6GSPS  Structure RF Signals INC, REF, TRA. (3 /TS) (or 1.5/TS with switch)
-Faraday Cup Signals  (2/TS)
TS = TEST SLOT

## Slide 7
Klystron/modulator
RF /vacuum gate valve?
Directional coupler
3 dB hybrid
RF pulse compressor
RF load
High Power RF network NEW PLAN
6 7 MW x 4µs x 400 Hz
14 MW x 4µs x 200 Hz
56MW x 250 ns x 200 Hz
x12 400-MHz not switched
x12:6 400-MHz switched
x8:4 could be switched…
x12 not switched

## Slide 8
Up-mixing Stages XBOX-3
9.6 GHz input
To TWT
splitter
12 GHz BPF
12 GHz BPF
Amp
To Reference input
2.4 GHz input From PXI IQ modulator
2.4 GHz input
Distribution of 2.4GHz and 9.6 GHz from PLL crate
0 dBm
13 dBm
0 dBm

## Slide 9
RF Input 1
Down-mixing Mixing Stages XBOX-3
splitter
splitter
splitter
Amp
Amp
Amp
Amp
400 MHz LPF
400 MHz LPF
400 MHz LPF
400 MHz LPF
RF Input 2
RF Input 3
RF Input 4
RF Input 5A
RF Input 5B
RF Input 6A
RF Input 6B
2:1 Mux
2:1 Mux
IF output 1
IF output 2
IF output 3
IF output 4
IF output 5
IF output 6
11.6 GHz input
5V TTL in
5V TTL in
Top shelf in mixing crate
21 dBm
17 dBm
10 dBm
Amp
Amp
Amp
Amp
400 MHz LPF
400 MHz LPF
400 MHz LPF
400 MHz LPF

## Slide 10
PLL Crate XBOX-3
2.4 GHz PLL
X4 freq.
9.6 GHz BPF
Amp
splitter
splitter
splitter
Amp
splitter
splitter
x4 9.6 GHz
x4 2.4 GHz for mix-up
x4 2.4 GHz
For PXI IQ mod
2.9 GHz PLL
X4 freq.
11.6 GHz BPF
X4 freq.
Amp
splitter
x4 11.6 GHz
For mix-down
32 dBm
24 dBm
23 dBm (need 21dbm)
We allow up to 2dB loss in the cables
23 dBm
We allow up to 3dB loss in the cables
15 dBm (need 11-14dbm)
4 dBm (need 0 dbm)
18.5 dBm
5.5 dBm
5.5 dBm
4 dBm (need 0 dbm)
MC ZVA-183+
MC ZX60-272LN+
9.6 GHz BPF
2.4 GHz BPF
16.5 dBm
We allow up to 3-4dB loss in the cables
MC ZFBP-2400+
Marki Microwave
FB-0955
Marki Microwave
FB-1215
Marki Microwave
AQA-1933
MC
ZVE-3W-183+
11.6 GHz BPF

## Slide 11
Dark Current (DC) signals MUX crate
2:1 Mux
2:1 Mux
5V TTL in
5V TTL in
2:1 Mux
2:1 Mux
DC upstream A/B
5V TTL in
DC downstream A/B
DC upstream C/D
DC downstream C/D
DC upstream A
DC upstream B
DC upstream C
DC upstream D
DC downstream D
DC downstream C
DC downstream B
DC downstream A

## Slide 12: Initial Drawing: mix-down
Component dimensions are in AutoCAD and drawings for the other crates are being prepared.

## Slide 13: Parts list + Pricing: LLRF Components
Device | Description | Quantity | Cost/item | Total
ML10616LC | Mixer | 40 (10/crate) | $209 | $8360
AQA-1933K | X4 multiplier | 2 (PLL) | $356 | $712
FB1215 | 12GHz BPF | 10 (2/crate+2PLL) | $200 | $2000
FB0955 | 9.55GHZ BPF | 2 (PLL) | $240 | $480
ZJL-4HG+ | IF Amp | 32 (8/crate) | $140 | $4480
VLFX-400 | 400MHz LPF | 32 (8/crate) | $42 | $1344
GF-T2-6000-18000 | 2-way 6-18GHZ splitter | 8 (2/crate) | 202EUR | 1616EUR
JXPD4-6G-18A EDH doc 5575052 | 4-way 9.6-11.6GHz splitter | 10 (2/crate +2PLLcrate) | 150EUR | 1500EUR
ZASWA2-50DR-FT+ | 2:1 MUX | 12(2/crate)+(4DC crate) | $94 | $1128
ZAPD-4-S+ | 2way 2.4GHz split | 2 (PLL) | $64 | $128
? | Isolator 2.4GHz | 8(PLL) | ? | ?
? | Isolator 9.6-11.6GHz | 8(PLL) | ? | ?
ZA4PD-4-S(+) | 4-way 2.4GHz splitter | 2 (PLL) | $90 | $180
ZVE-3W-183+ | Big amp 11.6GHz | 1 (PLL) | $1300 | $1300
ZVA-183+ | 9.6GHz amp | 1(PLL) | $895 | $895
ZX60-272LN+ | 2.4GHz amp | 1(PLL) | $40 | $40
VBF-2435+ | 2.4GHz LPF | 1(PLL)+ | $35 | $35

## Slide 14: Parts list + Pricing: PXI Crate
CARD | Function | Quantity | Price/item | Price Total
5793+FPGA | RF Gen | 2 | 16 518 | 29 071
5772AC+FPGA | Fast Acq | 4 | 11 732 | 41 296
5761+FPGA | Slow Acq | 4 (2xAC 2xDC) | 10 290 | 36220
5160 4ch | Acq FC | 1 | 13 389 | 11 782
6583+FPGA | Trig+Interlock | 1 | 7 215 | 6 349
8432/8 | RS232 | 1 | 646 | 568
8433/4 | RS485 | 1 | 702 | 618
6363 | Vac + more | 1 | 1 727 | 1 520
 |  |  | Total | 127 424
Components displayed for 2 testing slots (i.e. half of the total)

## Slide 15
10 mW amplifier
RF pulse compressor
Co-ax Hybrid
RF loads
KREF1
KREF2
KLYOUT1
KLYOUT2
PCIN1
TRA1
TRA2
PCREF1
WG network
PXI CRATE
RFSG 1 (IQ gen. & VM)
RFSG 2 (IQ gen. & VM)
1.6 GSPS ADC x5
250 MSPS ADC x1 (4ch.)
LLRF CRATE
LO PLL 2.4 GHz
LO PLL 2.9 GHz
Up mixing Stage1 (Gen.)
Up mixing Stage2 (Gen.)
Down mixing Stage (Aq.)
Diode/Log detector CRATE
Diode/log detectors x4/x8
12 GHz
12 GHz
2.4 GHz
2.4 GHz
12 GHz FAST Signals (x5)
12 GHz SLOW Signals (x3)
400 MHz IF (x5)
DC coupled 50 MHz (x3)
PXI and LLRF crates are locked by 10 MHz reference
Two RF sources + Pulse Compressor

## Slide 16: 2 RF source Results
Concept of phase switching proved in 2013 with modified version of the Xbox-2 LLRF system.
Low power hybrid and the Xbox-2 pulse compressor were used.

## Slide 17: Thank you!