## Slide 1: BLM INTEGRATION IN PSB H- INJECTION SYSTEM EDMS 1410831
PSB H- INJECTION - 04.09.2014
M.Garlaschè, B.Riffaud, L.Zuccalli (EN-MME)

## Slide 2
Outline
Components
Requested positions
Integration solution
Optimized positions

## Slide 3
Multiple Electrode BLM
Courtesy of
Christos Zamantzas

## Slide 4
Diamond detector
Courtesy of
Christos Zamantzas

## Slide 5
Requested positions
1 Multiple Electrode BLM
+
1 Diamond Detector
1 Multiple Electrode BLM
1 Multiple Electrode BLM
+
1 Diamond Detector
Stripping Foil
BSW1
BSW2
BSW3
BSW4
H0/H- Dump

## Slide 6
H- injection system assembly
Inner Ring

## Slide 7
Space available for installation and maintenance
Inner Ring

## Slide 8
Proposal for BLM integration
Outer Ring
Movable supports

## Slide 9
Proposal for BLM integration
Multiple
Electrode
BLM
Diamond
Detector
Multiple
Electrode
BLM
Multiple
Electrode
BLM
Diamond
Detector

## Slide 10
Optimized positions

## Slide 11
Conclusion
BLMs to be positioned outside of the ring to make transport and maintenance access easier from the inside of the ring.
Optimized position of Multiple Electrode BLMs: 350mm far from circulating beam (maximum value).
Optimized position of Diamond Detectors: 350mm far from circulating beam (maximum value).
Optimized position of Multiple Electrode BLM for H0/H- dump: 184mm far from external surface.
Optimized position of Diamond Detector for H0/H- dump: 73mm far from external surface.
Next step : validation of solution and detailed drawings.