## Slide 1: Cryogenics integration at IR4
HL-LHC
First volumes definitions for the installation of a new underground cold box at point 4 and surface impacts
C. Magnier EN-MEF-INT
JP.Corso EN-MEF
-
Serge Claudet, Bruno Feral, Paolo Fessia.
——
1417843 0.1

## Slide 2
PZ45
UX45 ”CRYO” side
Project overview
The goal
Separate the RF cryogenic supply from the rest of the LHC cryogenic distribution
The needs
A new cold box and a new cryogenic repartition
The consequences for integration
Underground
Find space for a new cold box
Find some ways to connect the new system with the existing one
Surface
Find space for a new compressor building
Find some ways to bring warm He to the new cold box

## Slide 3
PZ45 Option (old base line)
UX45”RF” side
UX45 ”CRYO” side
New refrigerator
cold box
PZ45
UX45 – “RF area”
It will be very difficult to put new pipes in this pit.
Direct access to level 0 is not possible, due to the lift.
In this case, Cryogeny and RF have to share their space. For Cryogeny, installation of the CB in this place means a large amount of pipe length.
According to these elements, we tried to find another free space for the cold box
REMINDER

## Slide 4
UNDERGROUND
PROPOSITION FOR THE NEW COLD BOX

## Slide 5
Installing the cold box in TX46
PX46
TX46
UJ46
RB46
RB44
UJ44
UX45”RF” side
PZ45
UX45 ”CRYO” side
- TX46 is an empty gallery
- We can use PX46 for the pipes
- TX46 is close to existing cryogenic
installation I the UX45

## Slide 6
TX46 / PX46 : actual situation
Dia. 10,1m
7m (pied de voute)
12m
PX46
TX46
UP46
Existing structure
UX45

## Slide 7
For Cryogeny, the best option is a vertical equipment assembly
Volume
representation
RF equipment
TX46
PX46
UX45

## Slide 8
Vertical volume for cryo equipment (~ 550m3)

## Slide 9
Space reservation in PX46 (for all services)
Surface for services 8 m2
TX46
PX46
“fers Halfens”
PX46
TX46

## Slide 10
Handling in remaining place See also EDMS 1363932 v.1
400mm
RUX45 shielding
7300x2100x475h
ACSGA on trailer

## Slide 11
STU trailer handling
35 degrees/floor
350mm

## Slide 12
PZ45
UX45 ”CRYO” side
SURFACE
PROPOSITION FOR THE COMPRESSOR BUILDING
AND LINK TO THE LOW COLD BOX

## Slide 13
Point 4 : site overview
SX4
SD4
UX45
PZ45
POINT 5

## Slide 14
Pt4 surface : top view
SU4
SX4
SD4
PM45
SUH4
PX46
POINT 5
UJ46
UJ44
SZ4

## Slide 15
Cryogeny area
SUH4
PX46
SX4
EXISTING TECHNICAL GALLERY
NEW TECHNICAL GALLERY
PLACE TO BE DEFINED (1.8mx2m)
Halfen supports

## Slide 16
Cryo plant in SUH4
Shielding-block
made wall
Handling
area
Cryo-plant
Technical gallery
PM45
SU4
SUH4
Compressor station
Noise-insulated existing building
Existing crane
Closed to PX 46
Cooling unit
To be removed
To be indentified

## Slide 17
PX46
Services reservation (8m2)
Halfen supports
Cryo pipes entry area (proposition)
(need a trench to reach the pit)
Existing gallery
(chilled water?)
Pit cap and ventilation duct have to be in place during LHC operation

## Slide 18
How to go out from SUH4?
Technical gallery
SUH4
SU4
SUH4
SUH4
SU4
SUH4
SU4
SD4
FULL!
Existing technical gallery
with holes toward SU4

## Slide 19
How to join PX46
x
x
Bat 6339
SUH4
SU4
SX4
SX4
SU4
SUH4
New technical gallery
(proposition)
PX46