## Slide 1: Optical Diagnostics State of the art and Future Trends
Prof. Carsten P. Welsch

## Slide 2: Overview
Better resolution (time/space)
(Single) photon resolution
Improved radiation hardness
Least/non invasive
Able to cover variety of beams
Advantages of Optical Diagnostics:
  Fast response
  Parasitic use possible in some cases
Here:
  Examples – ‚appetizer‘ for the workshop

## Slide 3: Emittance measurements
Beam size changes as a beam is focused and defocused.
Emittance describes ‘inherent’ size of the beam
It allows determining the beam size at any point.
More about emittance Ralph‘s talk.

## Slide 4: Definition of the Emittance
Commonly used:
Misleading, as DE and x‘ can be very large, e.g. in plasma-accelerated beams.
Assuming a drift, where there is no correlation between energy and transverse position:
Geometrical emittance
A. Cianchi, et al., Nucl. Instr. Meth. A 720 (2013)

## Slide 5: Attention !!
is usually negligible
In plasma accelerators: large DE and x‘.
Normalized emittance depends on position of measurement !
Here: Focus on geometrical part.

## Slide 6: Emittance measurements
Measure angular spread of the beam and beam profile at the same time.
One option: ‘pepperpot’ and screen.
Block the beam apart from a few small holes.
Reduces space charge dominated beam to emittance-dominated beamlets that drift to screen.

## Slide 7: Emittance measurements
Use a ‘pepperpot’ mask and a screen.
Block the beam apart from a few small (well-defined) holes.

## Slide 8: Pepperpot in Plasma Accelerators
5 MeV with size 1 mm; 500 MeV with 10 mm; 500 MeV with 1 mm

## Slide 9: Pepperpot in Plasma Accelerators
Error estimation
around 1 % around 47 %
For case C – this would be 20x more:= 1000 % not suitable !

## Slide 10: Quadrupole Scan

## Slide 11: Change quad strength:

## Slide 12: Quad scan @ CTF3

## Slide 13: Quad scan: A candidate ?
Spot size dominated by large angular divergence;
Chromatic effects should not affect results
  Distance between quad – waist rather short.
Can be an issue in actual experimental setup.
However, good candidate.

## Slide 14: Three Screen Method
Determine a,b and g together with e.
H. Braun

## Slide 15: Derivation of TWISS parameters

## Slide 16: Challenges
Access to single shot measurements
Requires thin foils
Multiple scattering in foils needs to be carefully assessed
Limitation
Probably only suitable if beam energy > 1 GeV.
Alternative: OTR interferometry...see Ralph‘s talk.

## Slide 17: Ultra-short Bunches
Desirable: fs time resolution
Alternatives:
  EO Techniques (Rui and Andrii)
  RF measurements (Enrica)
  CTR measurements
  CDR measurements

## Slide 18: Bunch Length using CTR
30 fs (FWHM) pump pulse and injection pulse collide at 135°
3 mm He gas jet target, beam diameter @ foil: 90 mm
100 mm Al foil generates radiation after 15 mm
Peak charge: 15 pC and peak energy: 84 MeV
O. Lundh, et al., Nature Physics (2011).

## Slide 19: Diagnostics details
1.6 T dipole magnet, l=25 mm
LANEX Phosphor screen
Doublet lens images screen on 16 bit CCD
Measure divergence with/without radiator
Determine energy spread

## Slide 20: Transition Radiation
Spectral radiation field at frequency w and observation angle q is:
Dominates ? coherent
Typically occurs if e- bunch length < radiation wavelength l.
Form Factor F contains information on bunch shape !
Check: Is radiation really coherent ?

## Slide 21: Coherent (?) Radiation
Image spatial distribution on CCD
Apply wavelength filter l0=546 nm, Dl=10 nm.
17 mrad half-angle collection: 2.107 photons
Integrating TR equation for 15 pC bunch charge yields: 5.103 photons.

## Slide 22: CTR Spectrum: Measurement
1) Scanning Monochromator [1.4 - 5.5 mm], collection angle: 2 mrad.
2) Imaging Spectrometer [0.55 – 1.0 mm], collection angle: 17 mrad.
Assumption:
Gaussian shape
Vary s, find good fit
s = 1.5 fs
Coherent part;
7 orders D in brightness !

## Slide 23: Experiment @ ALICE
Use simple slit at 45° and THz transmissive window
Use camera in the focal plane of focusing mirror to observe the far field angular distribution of the CDR.
Camera
Proof-of-principle measurments done at PSI
Need to be refined and compared against e.g. EO data
R. Fiorito, H. Zhang, C.P. Welsch

## Slide 24: HL - LHC: Beam Profile ?
Damage caused by the beam
Ideally: Non-invasive.

## Slide 25: Gas Sheet Monitor
Generate thin atom gas curtain,
Ionize atoms with primary particle beam,
Extract ions via electric field,
Monitor on MCP, P screen.
Y. Hashimoto et al., Proc. Part. Acc. Conf., Chicago (2001)

## Slide 26: How to Generate the Jet ?
Y. Hashimoto et al., Proc. Part. Acc. Conf., Chicago (2001)

## Slide 27: Experimental Data
Y. Hashimoto et al., Proc. Part. Acc. Conf., Chicago (2001)

## Slide 28: Setup @ Cockcroft Institute
^^

## Slide 29: Zoom: Main chamber
e- gun
Extraction
electrodes
Phosphor
coated
window
MCP

## Slide 30: Ionization Cross Sections
Can be exotic, e.g. single ionization of helium by antiproton impact
H. Knudsen, Hyperﬁne Interactions 109 (1997) 133–143
H. Knudsen, Journal of Physics:Conf. Series 194 (2009) 012040

## Slide 31: Initial Results
Gas Jet
e- beam
V. Tzoganis, et al.,
APL 104 204104 (2014)
Residual
gas signal
Jet signal

## Slide 32: Fluorescence Monitor Principle
Ion beam
Blackened walls
Vacuum gauge
Valve
Viewport
150mm flange
Lens, Image-Intensifier
and CCD FireWire-Camera
N2-fluorescent gas
equally distributed
P. Forck et al., Beam induced fluorescence profile monitor developments, Proc. HB2010
Gas molecules are excited by the beam and emit a photon when returning to the ground state.
Emission wavelength is determined by the gas species
The relaxation time is typically 10s or 100s of ns.

## Slide 33: Benefit from both methods !
Generate electrons/ions or light in collisions between gas jet and beam to be measured
Detect electrons/ions or photons and measure profile
R&D challenges:
  Monitor integration (location, EM fields, cryostat,…)
  Optimum location, e.g. for dense electron beams: Do we have to measure inside a solenoid?
  Gas condensation, space charge issues,…
  Achievable resolution of optics and signal levels
  ...

## Slide 34: Wish list: Photon detection
Reaching the ideal single photon limit
See Sergey‘s talk

## Slide 35: Conclusion
Only a few examples outlined here
There is much, much more:
  Beam halo monitors (DMD, coronograph,...)
  EO monitors for fs bunch length and position
  High power beam diagnostics (ESS)
  ...
Also needed: Simulation tools for detailed modeling
Much more to do...focus during the next 2 days.
  Enjoy the workshop !