Integration of CALICE DAQ
in common DAQ
Vincent Boudry*
Frédéric Magniette, Miguel Rubio-Roy
École polytechnique, palaiseau
Taikan Suehara
Kyushu U.
Jiri Kvasnicka, Mathias Reinecke
DESY
AIDA Final Meeting
CERN
10/12/2014

---
Rationale of SW for common DAQ
1. Merge Acquisition code with minimal modifications
  1. common global control → EUDAQ
    1. ⊃ global monitoring:
      1. DAQ: data fluxes, event numbers, number of readout elements
      2. Physics on a subsample (tuned not to slow the DAQ):
        1. Histograms of critical quantities
        2. event display of a sub-subsample
  2. common data containers → LCIO
    1. data stream should not necessarily go on a single computer (bottleneck)
    2. but at least minimal data for monitoring
3. Sociology: within CALICE the DAQ SW strongly diverged (last 3 years).
  1. Base from from 1st generation (ex: ConditionDB, Reconstruction framework) exits
  2. Technological prototypes (new HW) require new low level SW (interface to HW)

---
CALICE DAQ landscape
Same interface
PCB
InterFace
Connection
SW
SKIROC2
ASU
ECAL-DIF
HDMI+HDMI
PYRAME/CALICOES
LCIO
SPIROC2
EBU / HBU
AHCAL-DIF
HDMI+USB
LabView
Raw/LCIO
HARDROC / MICROROC
``PCB''
SDHCAL-DIF
HDMI+USB
XDAQ
LCIO
Same data format
LLR (Palaiseau)
Kyushu + DESY
IPNL (Lyon)

---
Integration with EUDAQ
ScW ECAL
~ AHCAL :
SiW ECAL

---
CALICE-SiW ECAL
1. Early version used here
3. Re-written last summer and released: Frédéric Magniette & Miguel Rubio-Roy (LLR)
  1. a “generic” low level SW → PYRAME
  2. a CALICE SiW-ECAL specific part → CALICOES

---
What's new in Pyrame ?
1. New configuration module : keep in real time an analog of every configuration values in the system → able to save the running configuration at any time
2. New bindings : C++, Labview, Xdaq
3. New generic class : ps (power supply), pg (pulse generator) to reduce the specificity of the drivers
4. Lot's of new drivers (oscilloscopes, new power supplies, new pulse generators)
5. The acquisition time is now multi-media through a plugin system supporting
   (Raw ethernet, TCP client and server , UDP and USB)
6. A time tagging system has been implemented to share clock between multiple channels (extraction and injection)
7. The CalXML tool is now completely generic (not related to calicoes anymore)

---
What's new ? : the event builder

---
What's new in Pyrame ?
1. Complete online documentation
  1. Available as open-source software (LGPL Licence): http://llr.in2p3.fr/sites/pyrame/
  Some publications (TWEPP'13, IN2P3 Computing letter)
2. External users : CPPM in Marseilles

---
What's new in Calicoes ?
Lot's of internal modifications to cope with Pyrame V2
1. Lot's of modifications in the high level part to ease the use :
    1. Removal of the OFF state, unused
    2. Full support of the multiple PCs acquisition
    3. New loading/saving configuration primitives through integration of Pyrame V2 config module. Ability to dump the whole configuration in a single file at any time
    4. Automatic configuration saving at startacq
    5. New naming system of the components to be able to call actions on the slab names instead of the dif number
    6. A GUI for the high level part of the detector (state machine and loading/saving config + statistics)

---
The Software test-beam
1. Cosmic test-beam :
    1. Basic test (1 slab) : success
    2. Stress test (6 slabs on a GDCC) : GDCC is very robust (0% of packet loss)
    3. Repartition test (2 PC with 2 GDCCs and 3 slabs for each) : full validation of the distributed scheme
    4. Frequency scanning (scan the spill freq and see corruption status) : done (no analysis yet)
    5. Calibration survey :
      1. fast calibration algorithm to pycaldaq
      2. Fully automatic S-curves implementation
    6. Complete cosmic calibration :
      1. Scurve with noise
      2. Comparison of the different calibration algorithm
    7. Cosmic data taking (if it remains time)

---
Integration with EUDAQ
ScW ECAL
~ AHCAL :
SiW ECAL

---
EUDAQ in action with calos
1. Technically Succesfull
   Combined Test Beam at CERN last week
  1. 1 layer of SiW ECAL (ASU)
  2. 3 layers of ScW ECAL (EBU)
  3. 12 Layers of AHCAL
     (24 HBU)
2. Using EUDAQ v1.3.1
   (v2 “too complicated”)
Courtesy of T. Suehara

---
Steps forward
1. After much circonvolution convergence process seems to resume...
  1. A DAQ Task Force has been set-up (launch meeting 1 hour (!) ago)
     to recollect the effort within CALICE.
3. Technically:
  1. Move to EUDAQ2
    1. Integrate lastest version of PYRAME+CALICOES
    2. Develop Monitoring and Event Display
    3. Interface with historic CALICE tools (CondDB, logging, ...)
  2. Develop Configuration tools
    1. Several tools exists: to be extended for larger set-up

---
Extras

---
HW sync
ScW ECAL
~ AHCAL :
SiW ECAL