## Slide 1
Periodic Flow Hydrodynamic Resistance Parameters for ErPr Rare-Earth Regenerator Material at Cryogenic Temperatures
M.D. Perrella, S.M. Ghiaasiaan

## Slide 2: Outline
Introduction
Past Work
Experimental Setup
  Cryogenic test chamber
  ErPr Regenerator test section
  Mass Flow Measurement
CFD Modeling Approach
Preliminary Results
Future Work

## Slide 3: Introduction
The regenerator is a crucial component of pulse tube cryocoolers
Hydrodynamics and thermal transport within the regenerator are not fully understood
Hydrodynamic parameters determined at ambient temperature are assumed to be valid at cryogenic temps
Pressing need exists to determine hydrodynamic parameters at cryogenic temperatures and verify foregoing assumption

## Slide 4: Previous Work at GT Cryolab
Mihir Pathak (2014)
Measurement and correlation of hydrodynamic resistance parameters for ErPr rare-Earth regenerator filler material under steady and oscillatory flow conditions in room temperature
Steady flow porous media hydrodynamic resistance parameters were different from their oscillatory flow counterparts
The objective in this study is to perform similar tests at cryogenic temperatures

## Slide 5: Room Temperature Correlations
Case | a | c
Periodic Flow, P*=1.034 | 16.2 | 20.6
Periodic Flow, P*=1.724 | 7.7 | 25.4
Steady Flow, P*>0.7 and >0.2 | 6.2 | 28.8
Case | a | c
Periodic Flow, P*=1.034 | 16.2 | 20.6
Periodic Flow, P*=1.724 | 7.7 | 25.4
 | 6.2 | 28.8
P* | a | b | c
0.345 | 91.9 | -0.52 | -119.4
0.517 | 0.4 | -2.05 | 98.1
0.689 | 3.4 | -1.38 | 56.4
0.862 | 4.7 | -1.32 | 45.8
1.034 | 5.5 | -1.26 | 43.4
1.379 | 3.1 | -1.53 | 50.8
1.724 | 2.2 | -1.71 | 63.4
m2
b = -1.4

## Slide 6: Cryogenic test chamber
Vacuum-sealed dewar with modular feedthroughs
Insulating vacuum of 1E-6 torr
Sumitiomo GM Cryocooler with 32K 1st stage and 6K 2nd stage cold heads

## Slide 7: Regenerator Test Section
SS transfer tube to Pressure Wave Generator (PWG)
Copper heat exchanger (CHX)
50cc Surge Volume (SV)
PCB 102A10 and 102A05 pressure sensors
Regenerator
Thermal Bus Bar
Cryocon S900-A silicon temperature diode

## Slide 8: Regenerator Test Section cont.
#100 copper mesh
ErPr powder (55 μm diameter)
#60 SS and #400 SS mesh retaining wall

## Slide 9: Mass Flow Measurement
Hot-wire anemometry is not feasible at cryogenic temperatures
Indirect measurement taken from instantaneous SV temperature and pressure

## Slide 10: Compressor Performance
Chart: Power (Watts)
| 0.05 | 0.1 | 0.6 | 1.5 | 2.8 | 4 | 6 | 8.4 | 11.2 | 15.299999999999999 | 19 | 43.5 | 78 | 122.50000000000001 | 183 | 255.5
 | 1.28e-07 | 1.5762e-06 | 1.6374e-05 | 2.3929e-05 | 3.566e-05 | 4.717e-05 | 5.9074e-05 | 7.181e-05 | 8.4632e-05 | 9.7057e-05 | 0.000109 | 0.0001699 | 0.00022774 | 0.00028492 | 0.00033736 | 0.00038805
Chart: Power (Watts)
| 0.05 | 0.1 | 0.6 | 1.2000000000000002 | 2.4 | 4 | 5.4 | 7.7000000000000011 | 9.6 | 13.5 | 17 | 39 | 70 | 110.00000000000001 | 159 | 217 | 292 | 0.05 | 0.1 | 0.6 | 1.2000000000000002 | 2.4 | 4 | 5.4 | 7.7000000000000011 | 10.4 | 13.5 | 17
 | 1.8071e-06 | 1.1407e-05 | 8.735e-05 | 0.00012802 | 0.00020091 | 0.00025241 | 0.00030688 | 0.00035769 | 0.00040343 | 0.00049308 | 0.00054455 | 0.00078149 | 0.00098492 | 0.0011535 | 0.0013245 | 0.001418 | 0.0015093 | 4.3643e-06 | 1.1789e-05 | 9.258e-05 | 0.00013814 | 0.00019892 | 0.00024971 | 0.00030211 | 0.00037348 | 0.00042159 | 0.00047614 | 0.00052619

## Slide 11: Porous Media Equations
Mass
Momentum
Energy
Forchheimer
Permeability
Pore-based Reynolds

## Slide 12: CFD Modeling
CHX and Regenerator modeled separately in ANSYS Fluent
2D, axisymmetric, laminar, isothermal, homogeneous, and isotropic
User define function (UDF) used to apply oscillatory pressure boundary conditions
Inertial resistance at lowest flow rates neglected
Viscous resistance varied to match with experiments
Simulated at CHX inlet used as Regenerator outlet
Porous Jump

## Slide 13: Pressure and Mass Flow Rates
Chart: CHX 4W 295K
Chart: CHX 4W 90K
Chart: Regenerator 4W 295K
Chart: Regenerator 4W 90K

## Slide 14: CHX Permeability
Chart: CHX 295K
| 1.57624333496642E-6 | 1.52682896441547E-5 | 1.27999342680595E-7 | 2.38351076404796E-5 | 3.5659777495311499E-5 | 4.7172103222692297E-5
 | 1.3117e-11 | 1.2577e-11 | 1.3772e-11 | 1.2493e-11 | 1.2487e-11 | 1.2459e-11
Chart: CHX 295K
| 1.57624333496642E-6 | 1.52682896441547E-5 | 1.27999342680595E-7 | 2.38351076404796E-5 | 3.5659777495311499E-5 | 4.7172103222692297E-5
 | 0.0010168 | 0.0096443 | 8.4606e-05 | 0.015005 | 0.022444 | 0.029656
Chart: CHX 90K
| 1.8068516283165001E-6 | 1.1402893505874E-5 | 8.7354375864379094E-5 | 1.27968683955259E-4 | 2.01047951122745E-4 | 2.5242258561775002E-4
 | 3.1929e-11 | 2.9811e-11 | 2.7329e-11 | 2.7455e-11 | 2.3487e-11 | 2.213e-11
Chart: CHX 90K
| 1.8068516283165001E-6 | 1.1402893505874E-5 | 8.7354375864379094E-5 | 1.27968683955259E-4 | 2.01047951122745E-4 | 2.5242258561775002E-4
 | 0.0018146 | 0.011066 | 0.081165 | 0.11918 | 0.17318 | 0.21105

## Slide 15: Regenerator Permeability
Chart: Regenerator 295K
| 1.41207510750973E-6 | 1.3383419172896501E-5 | 1.22614480346783E-7 | 2.0800664060516202E-5 | 3.1173392926575602E-5 | 4.1299641452496797E-5
 | 3.9439e-13 | 7.7319e-13 | 9.9401e-14 | 7.5884e-13 | 7.6928e-13 | 7.7566e-13
Chart: Regenerator 295K
| 1.41207510750973E-6 | 1.3383419172896501E-5 | 1.22614480346783E-7 | 2.0800664060516202E-5 | 3.1173392926575602E-5 | 4.1299641452496797E-5
 | 0.00015761 | 0.0020916 | 6.8708e-06 | 0.0032205 | 0.0048596 | 0.0064648
Chart: Regenerator 90K
| 1.7309087070316301E-6 | 1.0483858204679499E-5 | 7.8644006862305105E-5 | 1.14859714813064E-4 | 1.8040496797766501E-4 | 2.2632608306594101E-4
 | 1.5401e-12 | 1.737e-12 | 1.6675e-12 | 1.636e-12 | 1.5757e-12 | 1.5465e-12
Chart: Regenerator 90K
| 1.7309087070316301E-6 | 1.0483858204679499E-5 | 7.8644006862305105E-5 | 1.14859714813064E-4 | 1.8040496797766501E-4 | 2.2632608306594101E-4
 | 0.00038178 | 0.0024558 | 0.01805 | 0.026112 | 0.04025 | 0.050024

## Slide 16: Future Work
Complete CFD analysis of CHX an Regenerator at 90K (Experiments completed)
Using high-flow data points determine inertial resistance for CHX and Regenerator at higher mass flow rates
Perform additional experiments and analysis to ascertain repeatability and correctness, and at other operating temperatures