## Slide 1
Parameter lists for the “new_CLIC” detector model
this version: 20 Nov. 2014
Outline:
-> will need, at some point, to define all the details of new_CLIC
-> have done so once, for the CDR
-> start with tables from the CDR and from supporting material (LCD notes)
“new_CLIC “ resembles CLIC_ILD in important aspects (“the longer detector”)
-> use CLIC_ILD tables from LCD-Note-2011-002
BUT use CLIC_SiD as starting point for the main tracker
Should take this opportunity to “clean up” !

## Slide 2
new_CLIC
Silicon
4
3.4
8.3
1.5
159
Fe
7.5
14 (?)
13.2 (?)
L* (m) 4.4 4.335 3.5 3.5 4.4 (?)
31
from CDR

## Slide 3
new_CLIC
31
silicon (large pixels ?
pads? and strips )
silicon
(large pixels ?
pads? Strips ?)
(tbd)
60 (?)
6 3 double layers
6 3 double layers (spirals)
7 (?)
< 2350 (tbd)
< 1500 (tdb)
130(barrel),257(disks)(?)
not very important
from CDR

## Slide 4
new_CLIC
CLIC_ILD
CLIC_SiD
Tungsten
Silicon pads
25 (17 x 2.4 , 8 x 4.8)
5.1 x 5.1
1500
1659
2350
Tungsten
Silicon pads
5.1 x 5.1
25 (17 x 2.4 , 8 x 4.8)
23 and 1 (?)
2450
2609
23 and 1 (?)
270
2270
from CDR

## Slide 5
new_CLIC
CLIC_ILD
CLIC_SiD
Steel
30 x 30
7.5
60 x 20
Steel
60 x 20
30 x 30
7.5
1697
3287
2350
400 (?)
3059 (?)
2637
4227
from CDR

## Slide 6
new_CLIC
CLIC_ILD
CLIC_SiD
4 T
Steel
Steel
3417
4281
4175
4395
6981
9 (?)
690 (?)
6990 (?)
6000 with end-coils (?)
9 (?)
from CDR

## Slide 7
Overview -- from CLIC_ILD
------------------------------------------------------------------------------------------
-----1500
-----1659
-----1705
-----3287
?
?

-----2609
-----2637
-----4227

## Slide 8
ECAL plug
ECAL plug
HCAL plug
Engineering drawings -- CLIC_SiD and CLIC_ILD

## Slide 9
Vertex barrel -- from CLIC_ILD
apparently, no layout change is needed
(but we should change the thickness of the support material…
need to reach 0.4% Xo per double layer)
?
carbon ?

## Slide 10
Vertex forward disks -- from CLIC_ILD
New “petals” geometry for VTX fwd disks – tracker see next pages

## Slide 11
Main Tracker -- from CLIC_SiD
LCD-Note-2011-009

## Slide 12
CLIC_SiD

## Slide 13
CLIC_SiD

## Slide 14
CLIC_SiD (cont. of Table 6)

## Slide 15
CLIC_SiD

## Slide 16
CLIC_SiD

## Slide 17
----- 3.0
ECAL and HCAL -- from CLIC_ILD
4.2
60 26.5 Iron 19.0 + 1
?
?
?
?
--- 17
--- 8
--- 2.4
--- 4.8
--- 5.6
--- 7.9
----- 3.0
26.5
?
19.0 + 1
Question: should ECAL and HCAL “end” with a metal layer
(presently the outermost element is a sensor layer)

## Slide 18
CLIC_ILD
?

## Slide 19
LumiCal and BeamCal -- CLIC_ILD


## Slide 20
CLIC_ILD

## Slide 21
CLIC_ILD