## Slide 1: Particle Accelerator Components’ Metrology and Alignment to the Nanometer scale
Program funded by the EU within the Seventh Framework Programme
Goal of the project: training of 10 researchers in beam instrumentation, metrology, micrometric alignment, magnetic measurements, nano-positioning and high precision engineering
A wide academic and industrial network

## Slide 2: Scientific challenge
Development of very high accuracy metrology and alignment tools for particle accelerators
Integration in a single test stand
Validation on the components of the future Compact Linear Collider
Metrological challenges imposed by CLIC
  Small beam size and impact section (non-hadronic machine: e+/e-): submicron range
  Requires high precision in focusing the beam
Tight specifications on the components (10 μm accuracy over 200 m)
Active stabilization of MB quadrupoles in the nanometer range

## Slide 3: Strategy
Different components to be aligned
  Main quadrupoles, beam position monitor, accelerating structures
A single integrated solution to align at the same time all the components
  improve precision
  optimize the measuring time
Develop separate subsystems and then proceed to integration

## Slide 4: The team
WP4 Beam Instrumentation
M. Wendt
WP3 Precision mech. & stabilization
M. Modena
WP2 Magnetic Measurements
S. Russenschuck
WP1 Metrology & Alignment
H. Mainaud Durand
Domenico
Claude
Solomon
Vasileios
Giordana
Iordan
Peter
David
Silvia
Natalia
Coordinates Measuring Machine
Frequency Scanning Interferometry
Micro-triangulation
Stretched wire systems
PCB rotating coils
Precise quad assembly and test stand integration
Seismic sensors development
Nano-positioning of main quads
BPM alignment and resolution
Accelerating structures alignment