## Slide 1: TN Disco Test, Round 2
On behalf of the CNIC: Stefan Lüders CERN Computer Security Officer
TIOC 2013/12/18 FOM 2013/12/17
Notes: GLM, ITSRM

## Slide 2: CERN TN Networking
“Trusted” Bypass List
~1200 devices sorted by function:
AB FEC DEV
AB FESA DEV
AB LINUX DEV
AB MISC DEV
AB PO FECS
AB WIN DEV
BE OPERATIONS
BE VM DEVELOPMENT
DIP GPN HOSTS
EN-CV TEMPORARY PATCHING
EN-ICE APPLICATION GATEWAYS
GS-ASE CSAM - NO TN
GS-ASE-AAS SERVERS - NO_TN
GS-SE PLC SERVERS TRUSTED BY TN
ISOLDE NO TN
IT BACKUP SERVERS
IT CC AFS
IT CC CDB
IT CC CONSOLE SERVICE
IT CC CVS
IT CC SVN
IT DB ACCELERATOR
IT DB MANAGEMENT
IT DB WEB
IT LICENCE SERVERS
IT LINUXSOFT
IT NICE CMF SERVICES
“Exposed” List
~90 devices sorted by function:
AB LINUX OPER
AB WIN OPER
CMW PUBLISHERS
GS-SE MASTER PLCS EXPOSED TO GPN
LASER EXPOSED
ORACLE APPLICATION SERVERS
POST MORTEM PUBLISHERS
SC DOSE-READERS
SUSIDB-ACCESS-CONTROL
TIMING EVENT SERVERS
IT SECURITY BACKENDS
IT TELEPHONE SERVERS
LCR FOR 936
LCR FOR BI
LCR FOR BT
LCR FOR CCR
LCR FOR ICE
LCR FOR RF
LCR FOR STI
LCR FOR VACUUM
NICE_CA
NICE_DFS
NICE_DOMAINCONTROLLERS
NICE_MAIL_MX
NICE_PRINTING
NICE_TS_INFRASTRUCTURE
NICE_XLDAP
PH EXPERIMENTS
SC GPRS
TN APPLICATION GATEWAYS
TN INTERNET PUBLISHERS
TN WEB SERVERS
TS-CV SERVERS - NO_TN
TS-EL SERVERS - NO_TN
TS-FM SERVERS - NO_TN
TS-HE GPRS
The TN should not depend on the GPN by design.
In principle, gateways are only necessary for developing or configuring systems and should not be needed running accelerators / technical infrastructure.

## Slide 3: Objective
Reassure people that a disconnection does not do harm.
“Understand the extent to which control systems connected to the TN depend on external services (GPN, CERN CC) and in how far these systems are able to run autonomously in case the GPN is not available. Given past experience, the dependency should be rather low, but hidden dependencies might exist.”
Confirm that “TN disconnection” is a valid preventive action in case of major security incidents on the GPN or in the CC.
Have more systems online than during the first test of March 27th 2013.
Review the measures which have been put in place since then.
Everything is documented in the minutes of the CNIC Meetings:
https://indico.cern.ch/categoryDisplay.py?categId=691

## Slide 4: Plans for Tuesday 2014/1/28
Procedure:
Announce to FOM, TIOC, LMC, CNIC, LCSP, LS1coord, IEFC, SSB Issue “Note d’Intervention”
Start at 9:00 with sequential removal of TN dependencies on CC
Finally, stop all routing
Re-establish status quo around 14:00
Direct consequences:
This will inhibit any communication between CERN office network, the CERN Computing Center, and the TN.
Mark your agenda:
Every system should be represented in the CCC and check for unexpected consequences. This is utterly essential for putting mitigations in place.