## Slide 1: Overview of iThemba LABS
Simon Mullins
iThemba LABS
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 2: Outline :
Accelerator Mass Spectrometry (AMS) at iThemba LABS (Gauteng)
Rare Isotope Beam (RIB) Project at iThemba LABS (Cape)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 3
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 4: iThemba LABS in the Cape (Mother Ship)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 5
iThemba LABS in Gauteng (AMS about to fly)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 6: Tandem Accelerator beam-injection system at the (then) Schonland Research Institute along with Miklos Rebak.
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 7: Old Injection System no more
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 8
Injection Side of the Tandem Accelerator after Refurbishments
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 9
Pelletron & gas stripper box installation in 6 MV EN Tandem Accelerator
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 10
High Energy Extraction side of Tandem before the refurbishment
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 11
Extraction beam line of tandem accelerator post-refurbishment
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 12: EPICS control system implemented for tandem accelerator
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 13
Layout of AMS system for iThemba LABS Gauteng
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 14
300 micro A Carbon 12
13/12/2009
Negative Ion Source by Cesium Sputtering using the LLNL design (IAEA-funded)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 15
Plan view of Low-Energy Injection System with BPMs
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 16
Low Energy 90 Degree Bending Magnet
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 17: Low Energy Injection Magnet manufactured in KZ-N
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 18
Low-Energy Injection System under commissioning Dec’2012/Mar 2013
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 19
March 2014 : Further commissioning of LEIS
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 20
Rebuilt existing pre-AMS high energy beam lines:
Replaced analyzer magnet with larger magnet (better mass*energy product)
Replaced magnetic elements with electrostatic devices – AMS requirement
Replaced magnetic doublet after analyzer magnet with triplet arrangement
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 21: March 2014 : National Electrostatics Corporation (NEC) High Energy Analysis System under Installation (replica of SUERC system)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 22: March 2014 : High Energy Analyzing Magnet under Installation
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 23
July 2014 : First commissioning of complete AMS system
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 24
7th July 2014 : SAIP2014 AMS Workshop at iThemba LABS : opening address by the Hon. Mrs Naledi Pandor, Minister of Science and Technology, who later declared Africa’s first AMS facility open
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 25: July 2014 : First fully operational detection of 14C ions via AMS in Africa from Ox-II standard supplied by Tom Brown of CAMS, LLNL, USA
E →
ΔE →
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 26
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
November 2014 : First detection of C14 ions by iThemba LABS AMS team (alone!)
E →
ΔE →

## Slide 27
Users : Centre of Excellence for Palaeosciences (hosted by University of the Witwatersrand)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 28
Users : South Africa Antartic Programme
(10Be in ice-cores)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 29
Users : Rock Art Research Institute (University of the Witwatersrand)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 30
August 2014 : Poster presented at AMS-13 conference in Aix-en-Provence, France
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 31: Back to iThemba LABS in the Cape……
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 32: Separated-Sector Cyclotron (SSC)
Rf-system
Sector Magnet
Rf-system
Low Energy In
High Energy Out
Most Powerful Accelerator in Southern Hemisphere
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Notes: This shows the separated-sector cyclotron. It has four separate magnet sectors with a diameter of 13 m. The RF-system consists of two lambda-half resonators that can operate in the frequency range 7 to 26 MHz. The dee voltage is 220 kV at a power level of 80 kW per resonator. Although it has been designed for a maximum proton energy of 200 MeV but has delivered proton beams of 227 MeV. The beam is inflected with two bending magnets and a magnetic channel and extracted with two septum magnets. Typically the cyclotron delivers a 85 µA beam of 66 MeV protons for radioisotope production with 100% transmission through the machine. Higher beam currents are available but better production target cooling is required for reliable operation at higher intensities.

## Slide 33: Multi-User Facility
Proton Therapy: 200 MeV p
Neutron Therapy: 66 MeV p, ~ 40mA
Isotope Production: 66 MeV p, up to 350mA
Nuclear Physics: various beams
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Notes: 33
This slide shows the layout of our facilities. Beams from the variable separated-sector cylotron, that has a maximum energy of 200 MeV for protons, are directed to vaults for the production of radioisotopes, proton- and neutrontherapy and nuclear physics experiments. Light ions, pre-accelerated in the first solid-pole injector cyclotron with a K-value of 8 are used for therapy and radioisotope production. For radioisotope production and neutrontherapy a 66 MeV proton beam is used and for protontherapy a 200 MeV beam. The second solid-pole injector cyclotron with a K-value of 10 (which you see here) is used for pre-acceleration of heavy ions and polarized protons from these two external sources

## Slide 34
◊ Nuclear Physics
© Neutron Therapy
© Proton Therapy
© Energy Change
© Isotope Production
SSC Beam Schedule
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Notes: 34
Beam is delivered to the different users for 24 hours per day and seven days per week. Radionuclide production and neutron therapy run from 16h00 on Mondays until 5h00 on Fridays. Patients are treated during day time and between treatments the beam is switched to the radionuclide production vault and the intensity is increased to 85μA. On Mondays and Fridays a 200 MeV beam is used for proton therapy and over the weekend beams of light and heavy ions as well as polarized protons, pre-accelerated in a second solid-pole injector cyclotron. In spite of this very tight schedule it remains difficult to satisfy the beam requirements of the different users. We are therefore in the process of increasing the beam intensity for the production of radioisotopes as well as installing and planning additional beam lines for the same purpose. It is planned to produce radioisotopes on two different targets simultaneously.

## Slide 35
Paediatric tumours
Tumours close to critical structures
Brain tumours
Gastro-intestinal tumours (rectum, liver, pancreas)
Prostate tumours
Lung tumours
Recurrent tumours
Proton Therapy
Present Schedule Restricted to 2 “Fractions” / week
Brain tumours
If schedule allowed 5 “Fractions” / week
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 36
Proton-therapy computer-controlled treatment set-up at iThemba LABS
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 37
Proton Therapy : Delivered in “fractions”
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 38
Neutron therapy treatment vault at iThemba LABS
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 39
Neutron therapy treatment at iThemba LABS
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 40: Nuclear Physics Research
Nuclear Structure
  Pairing Isomers
  Pairing Vibrations
  Tetrahedral Shapes
  Hyperdeformation
  Chirality
  Giant Resonances
Nuclear Reactions
  Fusion Barrier Distributions
  Incomplete Fusion
  Astrophysical reactions
  Production of intermediate mass fragments
  Reaction Mechanisms
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 41
K600 Spectrometer
Nuclear Physics Research
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 42
Research results published in high-impact, internationally-recognized journals :
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 43: AFRODITE at iThemba LABS g-ray spectroscopy
9 Compton Suppressed
Clover detectors
8 LEPS detectors
Nuclear Physics Research
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 44
147Sm(16O,3n)160Yb
?
“search for a tetrahedral nucleus”
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 45: The Future of ABS in SA : A New Cyclotron at iThemba LABS
Isotope Production off SSC (uses 66 MeV p beam) (neutron therapy to be terminated?)
Free SSC for use by Physics and proton therapy only (PT to get 230 MeV machine?)
More than doubles physics beamtime
Two accelerators allow the production of rare isotope beams using the ISOL method
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 46: C70 GENERAL DESCRIPTION
Diameter < 4m
Weight > 120t
Magnetic Gap: 30mm
Magnetic field: 1.55T
Extraction Radius: 1.2m
2 exit ports
SPES design
Particles: H- / D- / He2+/ HH+
Variable Energy : 15 MeV  70 MeV
extraction Systems:
    Stripper  H- / D-
    Deflector  He2+/ HH+
Performances:
    750µA H-  70MeV Current upgrade up to 1.5mA
    35µA He2+  70MeV
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Notes: POSTER  William Beeckman, TUPRA08 Machining & Assembly
Advantage of a commercial solution: fixed time for delivery, performances already tested.

## Slide 47
12 weeks
20 weeks
4
weeks
2 weeks
12 weeks
2 weeks
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 48
http://www.tlabs.ac.za/radioactive-ion-beam/
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 49
RIBs - HOW? - Isotope Separation Online : ISOL
1+ ion – source &
mass selector
RIB
Production
target
New
Accelerator
injector
SSC
Experiment
Charge
Breeder
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 50
Nuclear Physics: Why Rare Isotope beams ?
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 51
Origin of the elements: astrophysical r-process
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 52
Predictions of Nuclear Masses Compared with Experiment
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 53
Which Rare Isotope Beams?
Beams for material sciences
  7Be, 22Na, 28Mg, 31Si, 38Cl, 47V, 42K, 43K,
  65Ni, 67Cu, 67Ga, 69Ge, 71As, 73Ga, 110Sn,
  111Ag, 113Ag, 117Cd, 119Sb
6,8He
Proton Rich ?
Neutron Rich: Fission Target
Proton –rich different target per beam
Neutron-rich  one 238U target; 100 beams
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 54
Reaching the neutron rich: FISSION URANIUM
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 55
Proposed layout of the RIB facility at iThemba LABS
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 56
Low-energy
beamlines
Mass analyser
Beam cooler
Target / ion-
source
maintenance
Target storage
Robot
RIB production
stations
Location for future injector
Charge breeder
RIB production
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 57
Possible location of RIB test ion-source
RIB ion-source Test Station + β-decay + Materials
Demonstrator with “Unaccelerated” RIBs
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 58
Demonstrator to test Legnaro SPES target/ion-source – under MoU
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 59
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 60
RIB demonstrator : low energy (LE) Beams for Materials Research
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 61
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Example : Solid State Physics at ISOLDE (LE RIBs)
Lattice location of Fe in Diamond
K. Bharuth-Ram et al.
59Mn (t1/2 = 4.6s) implanted into
Diamond, decays to 59Fe which
β-decays with t1/2 = 45 days
Electron emission channeling
Measurements indicate that
65% of Fe atoms lie within 0.2 Å
From a substitutional site

## Slide 62
Instrumentation
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 63
http://www.tlabs.ac.za/news-3/
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 64
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Summary:
There is world-class infrastructure and expertize in Accelerator-Based Nuclear Sciences in South Africa, but this needs to be funded at a level to continue to development and deliver
Deliver what? High-impact research outputs and highly skilled people
Partnerships between National Facilities (like iThemba LABS), HEIs and the Nuclear Power Sector need to be strengthened and expanded
S/He who hesitates is lost! We need to start to invest now to enable these partnerships to deliver!

## Slide 65
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Acknowledgements:
AMS : the NRF, the DST, the IAEA and colleagues at iThemba LABS (Cape and Gauteng)
RIB : Dr Rob Bark (Project Leader)
Thank you for your attention

## Slide 67
◊ Nuclear Physics
© Neutron Therapy
© Proton Therapy
© Energy Change
© Isotope Production
SSC Beam Schedule
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Notes: 67
Beam is delivered to the different users for 24 hours per day and seven days per week. Radionuclide production and neutron therapy run from 16h00 on Mondays until 5h00 on Fridays. Patients are treated during day time and between treatments the beam is switched to the radionuclide production vault and the intensity is increased to 85μA. On Mondays and Fridays a 200 MeV beam is used for proton therapy and over the weekend beams of light and heavy ions as well as polarized protons, pre-accelerated in a second solid-pole injector cyclotron. In spite of this very tight schedule it remains difficult to satisfy the beam requirements of the different users. We are therefore in the process of increasing the beam intensity for the production of radioisotopes as well as installing and planning additional beam lines for the same purpose. It is planned to produce radioisotopes on two different targets simultaneously.

## Slide 68: iThemba LABS Radionuclide Distribution Network
Africa 3
Australia 2
Asia 19
Canada 2
Europe 31
USA 12
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 69
Radio-Nuclide Production (primarily medical) [HoD : Dr Clive Naidoo]
Many customers, both international & local
How to boost production rate?
Higher beam current (as long as targets can take it)
“Flat-Topping”
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 70: THE EFFECT of FLAT-TOPPING RF-VOLTAGE ACROSS THE ACCELERATION GAP
f0+f3
f0
f3
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015
Notes: The effect of flat-topping of the dee voltage is shown in this figure. Since the resonators of a cyclotron have to be tuned to obtain high dee voltages for modest power input the voltage in a resonator is sinusoidal as indicated by the blue line (f0). Because of the finite beam pulse length all the ions do not cross the acceleration gap at the same time with the result that an energy spread is introduced in the beam. For a low energy spread and a small beam width at extraction the beam pulse length has to be limited with slits in the center of a cyclotron, but this means that a lower beam intensity is obtained. With the superposition of a harmonic (f3) on the main dee voltage an effective dee voltage with a flat top (f0 + f3) is obtained. A low energy spread in the beam can be obtained for long beam pulses and high beam intensities. The harmonic voltage need be superimposed on the main dee voltage – a separate resonator, operating at the harmonic frequency, can be used.

## Slide 71
Solid-pole injector cyclotron 1 (SPC1)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 72
Rf-system
Sector Magnet
Rf-system
Separated-Sector Cyclotron (SSC)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 73: FLAT-TOPPING IN A NUTSHELL
It’s GOOD
Without Flat-topping => pure sinusoidal rf-voltage for acceleration
SPC1
BUNCHER
SSC
18°
8°
320 µA
120 µA
SPC1
SSC
With Flat-topping
45°
45°
650 µA
15°
BUNCHER
IMPROVE BOTH THE BEAM QUALITY AND INTENSITY OF THE 66 MeV p+ BEAM
It’s much
300- 500
BETTER !
µA
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 74
Layout of the beam splitter
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 75
Electrostatic channel – a mirror image of PSI design
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 76
Magnetic channel
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 77
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 78
Beam direct behind the electrostatic channel
Beam in front of the magnetic channel
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 79
Measured beam current on the two target stations
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 80: iThemba LABS cGMP Radiopharmaceuticals
Supply over 60 local Nuclear Medicine Hospitals and Private Clinics
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 81: iThemba LABS Long-Lived Radionuclides
Supply over 60 clients worldwide
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 82: Targets for radionuclide production
Radionuclide | Target | Energy window (MeV)
67Ga | Zn Ge | 34.3  18.1 60.7  38.7
68Ge | Ga “Ga2O” | 34.0  2.4 34.0  0.0
81Rb | RbCl | 62.6  57.7
82Sr | Rb | 61.5  39.4
109Cd | Ag | 34.0  0.0
123I | NaI | 62.6  47.6
88Y | SrCl | 34.0 0.0
22Na | Mg | 61.5  40.0
18F | [18O]Water | 18.0  0.0
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 83: Bombardment Station-HBTS
HBTS Target and target holders
Horizontal Beam Target Station (HBTS)
66 MeV proton beam with an intensity of 80-90 µA
Produce:
67Ga, 123I and 81Rb
68Ge, 82Sr, 22Na, 88Y, 57Co and 109Cd
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 84: Bombardment Station-VBTS
Produce in Tandem
82Sr/68Ge
22Na/68Ge
Vertical Beam Target Station (VBTS)
66 MeV proton beam with an intensity of ~250 µA
VBTS Thick Target Holders
VBTS Tandem targets
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 85: RNP Control Room
Upgrade of control systems such as cooling systems, interlocking systems and transport system.
Automated Transport System
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 86: Upgrade of Targetry Cooling Systems for dual beams
Water Cooling Systems that can deliver in total 300 L/min to operate two bombardment stations simultaneously
Helium Cooling Systems that can deliver 70 m3/hr to operate two bombardment stations simultaneously
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 87: Tandem target for the production of 82Sr and 68Ge
65.762 MeV
36.635 MeV
62.579 MeV
61.476 MeV
Gallium
RbCl
(8.6 g)
Niobium capsule
HAVAR foils
Æ 20 mm
40.013 MeV
38.444 MeV
36.866 MeV
34.364 MeV
2.364 MeV
66 MeV protons
Aluminium capsule
Ga material: 99.99% (40 g)
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 88: Chemical Processing Facilities
Manual Manipulator Hot Cells
18F-Automated Chemical Processing Hot Cells
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 89: 3 X Independent Clean Rooms
18F-FDG
123I /67Ga
68Ge/68Ga
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 90: Dispensing Facilities
Comecer Hotcells & Timothea Dispensing Facilities
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 91: Quality Control Facilities
18F-FDG Quality Control
MicroLab
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 92: Quality Control Microlab
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015

## Slide 93: Packaging and Dispatch
As per IATA (International Air Transport Assoc’) Regulations
High Energy Particle Physics Workshop, iThemba LABS, 11-13 February 2015