## Slide 1
Measurement of the super-allowed branching ratio of 10C
B. Blank, M. Aouadi, P. Ascher, M. Gerbaux, J. Giovinazzo, T. Goigoux,
S. Grévy, T. Kurtukian Nieto, C. Magron
CEN Bordeaux-Gradignan, France
P. Delahaye, G.F. Grinyer, J. Grinyer, J.-C. Thomas
GANIL Caen, France
M.R. Dunlop, R. Dunlop, P.E. Garrett, A.T. Laffoley, C.E. Svensson
University of Guelph, Canada
G.C. Ball
TRIUMF, Vancouver, Canada
P. Finlay
K.U. Leuven, Belgium
Beam time requested: 21 shifts on LA1

## Slide 2
T1/2
QEC
BR
0+
0+
• • • Nuclear beta decay
0+ → 0+ :
Ft = ft (1 + dR’ ) (1 – dc + dNS ) = = cnst
K
2
F
2
V
M
g
(1 + DR)
Precision measurements required: 10-3
QEC → mass measurements: f ~ QEC5
T1/2 , BR → b-decay studies: t = T1/2 / BR
f(weak interaction) ~ 2.4%
f(nucl. structure) ~ 0.3-1.5%
f(Z, QEC) ~ 1.5%
  Vud = gV / gm

## Slide 3
• • • 0+  0+ decays: status
14 nuclei measured with precision of order 10-3
Vud = 0.97417 ± 0.00021, S Vux = 0.99978 ± 0.00055
B. Blank et al., EPJA 51 (2015) 8: T1/2 & BR of 38Ca

## Slide 4
• • • 0+  0+ decays: limits on exotic currents
assumption: only vector current
limit on scalar currents:
bF = Re( (Cs + C’s) / Cv ) = 0.0026(42) (90% CL)
limit on scalar current
from b decay:
|Cs / Cv |  0.065
 improve on low-Z
nuclei
Severijns et al.
Hardy & Towner

## Slide 5
• • • 0+  0+ decays: 10C error budget
BR by far largest error
two precise measurements
  Savard et al.: 1.4625(25)%
  (PRL 74 (1995) 1521)
  Fujikawa et al.: 1.4665(38)%
  (PLB 449 (1999) 6)
  measurements with Ge
  multi-detector array
our approach:
high-precision
single-crystal
germanium detector

## Slide 6
• • • 10C decay scheme

## Slide 7
Derel = 0.1%, Deabs = 0.15%
calibration programme of a
HP Ge detector:
- x-ray photography of detector
- scan of the crystal at CSNSM
- source measurements
- MC simulations: CYLTRAN, GEANT4
• • • Calibration of germanium detector
Scan at
CSNSM
X-ray
photography
Branching ratios:
24Na, 27Mg, 48Cr, 56Co, 60Co, 66Ga, 75Se,
88Y, 133Ba, 134Cs, 137Ce, 152Eu, 180Hf, 207Bi
Peak/total: 22Na, 41Ar, 51Cr, 54Mn, 57Co, 58Co,
65Zn, 85Sr …ISOLDE sources
B. Blank et al., NIMA776 (2015) 34

## Slide 8
• • • Experimental setup
“continuous” beam
15 cm
15 proton pulses per minute (30%)
nanoCaO + VD7 or molten NaF:LiF salt targets + VD7
GPS or HRS to LA1
  10CO

## Slide 9
• • • Rate estimates: 10C
Count rate for 1021.7 keV g ray:
5*105 10C per pulse * 15 pulses/min * 60 min * 20 h * 3 d = 2.7*1010 10C decays
* 0.0146 (BR) * 0.0028 (e(1022keV)) = 1.1*106 g’s at 1022 keV
 statistical precision of 0.1%
511 keV – 511 keV pile-up:
e(511 keV) = 0.4 %, pile-up window: 2ms, 5*105 10C produced instantaneously
1.5 % of 1.022 MeV peak
from 511 – 511 pileup
 3 days

## Slide 10
• • • Rate estimates: 19Ne
19Ne decay - 511 keV – 511 keV pile-up:
e(511 keV) = 0.4 %, pile-up window: 2ms, 5*105 19Ne produced instantaneously
5*105 19Ne per pulse * 15 pulses/min * 60 min * 20 h = 0.9*1010 19Ne decays
* 2 (511) * 0.0042 (e(511 keV)) * 2ms (pile-up window) = 5400 counts at 1022 keV
 statistical precision of 1.3 %
 1 day
2 days:
10C measurement at different distances
1 day:
debugging, setting-up, optimisation

## Slide 11
• • • Summary of request
starting the experiment, setting-up separator
and experimental setup: 1 day
measurement with 10C in optimal conditions: 3 days
measurement with 19Ne: 1 day
10C measurement at a different distances: 2 days
--------------------------------------------------------------------------------------
Total: 7 days
Thanks for your attention

## Slide 13
• • • DAQ dead-time

## Slide 14
• • • 0+  0+ uncertainties

## Slide 15
• • • Fierz term bF
additional term in statistical rate function f: (1+bf * g1 / W)
g1= sqrt( 1 – (a * Z)2)
W increases with Z
  largest sensitivity for small Z