Report
Tier-1 + associated Tier-2s
Andreas Heiss
andreas.heiss@iwr.fzk.de
www.gridka.de

---
Talk Outline
GridKa “cloud” / DECH overview
Tier-1 CPU usage and data transfer tests
Middleware issues
Site availability
SC4 and experiments' exercises
Reports of (some) Tier-2 sites
Conclusion

---
GridKa Tier-1
supports all 4 LHC
experiments
supports 4 non-LHC
experiments:
CDF, D0, BaBar, Compass
located near
Karlsruhe/Germany on the FZK
(soon: KIT) campus
Operated by the Institute for
Scientific Computing
(soon: “Steinbuch Computing
Centre”)

---
GridKa associated Tier-2 sites spread over 3 EGEE regions.
        (4 LHC Experiments, 5 (soon: 6) countries, >20 T2 sites)

---
region DECH
LHCb
CMS
Atlas
Alice
1000 SI2k

---
alice
atlas
cms
lhcb
GridKa

---
Usage of CPU time through grid and local job submission
Month
kSI2k * days
2006 by LHC
Fraction of
CPU usage
by LHC
experiments
[%]
12 35 31 17 46 37 50 57 34 43 33
J F M A M J J A S O N D
April CPU Milestone
+ approx. 650 kSI2k
Delayed due to cooling and
BIOS issues
Ratio of grid/non-grid jobs
of LHC experiments
>76% since April 2006
~ 2000 CPU
cores available
(2087 kSI2k)

---
cooling failure
up and running after
~2 days → too long!
PBS shutdown due to
security problem in pbs_mom
update to
gLite 3.0
Overall good
utilisation of GridKa
CPUs.
Increasing Fraction of
Grid-jobs.

---
Data transfers November 2006
Hourly averaged dCache I/O rates and tape transfer rates
achieved 477 MB/s peak
(1hour average) data rate.
>440 MB/s during 8 hours
(T0→T1 + T1→T1)
> 200 MB/s to tape
achieved with 8 LTO3
drives.
Higher tape throughput
already in October 2006

---
Gridview T0→FZK Plots for Nov. 14-15th
high CMS
transfer rates
> 200 MB/s

---
Multi-VO transfers December 06
Target: Alice 24MB/s, Atlas 83.3 MB/s, CMS 26.3 MB/s → SUM: 134 MB/s
CMS disk-only pools
at FZK full.
LFC down
FTS failed
RED = ATLAS

---
gLite middleware issues
gLite-3 (LCG-flavour) CE on a 1 CPU-Opteron machine in June
→ machine under very high load
→ CE frequently not published in site BDII
→ Begin of August: hardware replaced by dual dual-core Opteron server, 4GB RAM
Still infosystem problems
Info provider script was by far too slow (run > 25 mins. but started every minute)
→ A modified script supplied by RAL/Empirial College solved this problem
... and the next problem was recognized:
Scripts were run by different users (edginfo, rgma, edginfo w/ globus-mds environment)
pbs commands missing in globus-mds environment → empty ldif file and CE disappeared.
BDII on extra
machine
gLite3.0
downtime
dCache update

---
availability
General problems:
Timeouts of top level BDII. Always: BDII query response times 2-4 sec.
high load on top level BDII
dCache: hanging gridftp doors caused SFT failures (timeouts)
lcg-rm timeouts (600s)
DNS entries vanished
(1/2 day)
Firewall overloaded
due to test program

---
Experiments' views

---
ATLAS
SC4 results
Throuput to T1 sites during week 11/08/2006
Goal was achieved during peak times but
not sustained.
Suffered from high load (>90) on VO box
→ new machine provided by GridKa
Initially only 4TB disk(-only) space in GridKa dCache available
→ another ≈34 TB additional disks provided begin of October

---
Dedicated test-week for DDM October 4-10
nom. 72 MB/s
transfer rate
Cern-GridKa
achieved, but
not sustained
over a long
time.
Peak rates
of 150 MB/s
Tape Server
problem
@ GridKa
CERN
server problem
Problem with
Atlas certificate

---
DDM tests: Tier-1 + Tier-2 “cloud”
Participating Tier-2s: DESY-HH, DESY-ZN, Wuppertal, FZU, CSCS, Cyfronet
3 steps functional tests:
1.	1 dataset subscribed to each Tier-2 + one add. dataset to all Tier-2s
→ 100% files transferred
2.	2 datasets to each Tier-2
→ Problem w/ Atlas VO at Wuppertal, few replication failures.
3.	1 dataset in each Tier-2 subscribed to GridKa
→ 100% files transferred.
Parallel subscription
of datasets (few 100 GBs) to
all Tier-2s.
(Dec. 06)
Throughphut tests to be done!

---
Atlas data aggregation at GridKa
Status as of begin of December:
All available AODs subscribed
26098 / 31148 files at GridKa
compared to 26347 / 30949 at CERN CAF (approx. 2891 GB)
RDOs:	1185 GB (mostly for calibration studies)
ESDs:	506 GB

---
Alice
PDC’06 - site contributions
FZK

---
Nov. 16-22.:
No 'competitor' concerning
T0-GridKa transfers except dteam, but low overall Cern export rate.

---
Multi-VO transfer tests
Dec 11th - 14th

---
CMS
dCache upgrade
Beginning of CSA06 went very well with good transfer rates from our connected T1 FZK. When FZK experienced problems with the dcache upgrade, we noticed how reliant we as a T2 were on our T1. We were able to get parts of the desired data from FNAL, ASGC and RAL but never at the speed
as initially from FZK.
        Derek Feichtinger, CSCS (Swiss T2)
Sufficiant high transfer rates possible
over longer periods of time.
Good transfer quality ...
... until dCache upgrade

---
Good transfer rates when
no dCache problems occur
Other problems encountered:
low dCache output rates
to worker nodes
→ suboptimal configuration
of dCache pools for read
operations.
Problem with stage out of
files > 2GB
→ preload lib (ls -l on /pnfs)
~ 50TB / 21 days

---
LHCb
Good cooperation with GridKa, phone meetings if necessary.
GridKa fraction of LHCb MC production increased from
1.2 % until June to 5.4% since July
LHCb jobs
Running jobs, snapshot of Nov. 9th, 2006
LHCb jobs @ GridKa

---
Upgrades in 2007
Install additional CPUs (April)
LHC experiments:	1027 kSI2k + 837 kSI2k	= 1864 kSI2k
non-LHC experiments:	1060 kSI2k + 210 kSI2k	= 1270 kSI2k
Add tape capacity (April)
LHC experiments:	393 TB + 614 TB	= 1007 TB
non-LHC experiments:	545 TB + 40 TB	= 585 TB
GRAU Datasystems XT library
5400 slots
16 LTO3 drives (IBM)
(expandable to 60)
support for TSM
dCache interfaced to
TSM via TSS

---
Add disk capacity (Juli)
LHC experiments:	284 TB + 594 TB	= 878 TB
non-LHC experiments:	353 TB + 90 TB	= 443 TB
Storage units of 20 TB
2 servers connected to 1 storage controller
2 (at 2 Gbit) servers for every 20 TB
dCache pool node on GPFS file system
2007: LHC experiments will
have biggest fraction of the GridKa
resources!

---
Extend dCache mass storage
dedicated nodes to write to tape
group of nodes to read/write disk-only and read from tape

---
Extend LAN/WAN
router mesh and WAN
connections.
add WAN router for redundancy
add LAN router
(already installed, testing)
build 10Gb/s p2p links to several other Tier-1 sites:
CNAF: ready
SARA: we have light
IN2P3: 2007
in addition to the existing
dedicated 10 Gb/s link to
Cern an 10 Gb/s uplink to
DFN/X-Win.

---
Tier-2 partners

---
CMS T2 Desy-Aachen Federation
significant contributions to CMS SC4 and CSA06 challenges
stable data transfers
transferred 55 TB to DESY/Aachen disk
within 45 days, 45 TB to DESY tape
Aachen CMS muon and computing groups
successfully demonstrated full “grid-chain”
from data taking at T0 to user analysis at T2
for the first time.
14% of total CMS grid MC production
2007/2008:
MC prod. / Calib. in Aachen, MC prod. and
user analysis at Desy
Significant upgrade of resources
Further improve cooperation between German
CMS centers (including Uni KA and GridKa)

---
Polish Federated Tier-2
3 computing centres, each supporting mainly one experiment:
Kraków	-	Atlas, LHCb
Warsaw	-	CMS, LHCb
Poznań	-	Alice
connected via Pionier academic network
1Gb/s p2p network link to GridKa in place
successful participation in Atlas SC4 T1↔T2 tests:
- Up to 100 MB/s transfer rates from Krakow to GridKa, 50% slower in other
direction.
- 100% file transfer efficiency
1000 kSI2k CPU and 250 TB disk will be provided by Polish Tier-2 Federation
at LHC startup.

---
FZU Prague
Successfull participation in Atlas DDM tests!
CPU equivalent usage –
average number of CPUs used continuously
Nr. of ATLAS jobs submitted to Golias

---
Conclusions and further remarks
Successful participation in SC4 and experiments' exercises.
Still problems with the stability of the storage system.
→ Recent upgrade to dCache 1.7. Improvement?
Site availablilty still below target → complex issue
Massive upgrade of GridKa CPU and storage in 2007
→ LHC fraction of total resources > 50% in 2007
Additional 10Gb/s (backup) links to other Tier-1 sites.
Atlas and CMS communities around GridKa well organized.
(Alice/LHCb have 1/0 Tier-2s so far.)

---
Thanks to the contributors:
Thomas Kress, Günter Quast (German CMS T2 Federation)
Kilian Schwarz (GSI Darmstadt, Alice)
Jiri Chudoba (Prague, Atlas)
Andrzej Olszewski (Krakow, Polish federated Tier-2 sites)
John Kennedy, Günter Duckeck (Munich, Atlas)
...