## Slide 1: TPC R&D status

## Slide 2: Outline
Data analysis
Tracking resolution studies

## Slide 3: Data analysis
We took a few hundred of events
No zero suppression
Very long time frames : 511 clock cycles
Sampling frequency : 100 MHz
Shaper peaking time : 200 ns
Use Fabrice’s .acq to root converter (based on ILC monitoring code
  To be developed further…
Analysis done on resulting root files
Using root compresses data by factor of ~10
Zero suppression plus shorter time frames will compress even further

## Slide 4: Some tracks
Plot row vs col for frames with max sample > 500 adc counts
Straight tracks clearly seen !
Row
Column
Row
Row
Column
Column

## Slide 5: Pulseshapes
Timing differences clearly visible
Pulse shapes differences also visible
ADC counts
Time (samples, 1 sample=10 ns)

## Slide 6: Amplitude distribution
ADC count
Max sample
Max sample/rms of pedestal
ADC
saturation
HT/readout electronics settings make good use of ADC dynamic range

## Slide 7: Timing
Time (1=10 ns)
Row
Column

## Slide 8: Shapes as a funtion to track distance maximal pad
(ADC-pedestal)/ADCMax
Time (1=10 ns)

## Slide 9: Shapes as a funtion to track distance max+/-1 pad

## Slide 10: Shapes as a funtion to track distance max+/-2 pad

## Slide 11: Abnormal pad signal

## Slide 12: What comes next ?
Define ESD format :
  Local pedestal, noise amplitude, timing, signal quality
  Correspondance with geometry and readout topology
Build cleaning algorithm
  Reject abnormal pads/signals
Take long runs

## Slide 13: Idres (pointed to me by Sergei)

## Slide 14: Idres advantages
Code is easier to use than Trackerr
Encoding of geometry much simpler
Can be used also for fcc-hh
Can work with complicated B topology : accepts B-maps

## Slide 15: ITK week, 23/02/2015

## Slide 17: Status
ILD geometry fully encoded

## Slide 18: ILD layout as encoded

## Slide 19: Material budget estimates
Si+TPC
Si only
 (degree)
X/X0 (%)

## Slide 20: Validation plots
Plot F. Couderc
idRes
(1/Pt)×10-5
Pt

## Slide 21: Validation plots
Plot F. Couderc
(1/Pt)×10-5
idRes
Pt

## Slide 22: Material effects, Si only
(1/Pt)×10-5
Pt
Material effects included
≈no material

## Slide 23: Angular dependance (Si+TPC)
(1/Pt)×10-5
Pt=10 GeV
Pt=200 GeV
 (degree)