## Slide 1: Optical links for VELO upgrade. LHCb electronics upgrade meeting.
J. Buytaert.
9 April 2015

## Slide 2
Total number of optical links for data :1040
  Use of GWT instead of GBT protocol:
    Link speed = 5.12 Gbps
    Word length = 128 bit
    Fixed header (8 bit) , fixed length (120bit) data format
Total number of links for TFC/ECS : 312
52 modules
Data 20 optical links
TFC/ECS: 6 optical links

## Slide 3: Data Optical cabling.
    Needed : 1040 links.
    Installed : 9 ‘trunk cables’, i.e. 9x144 = 1296.
      Straight forward partitioning:
        2 x MPO (=24 fibres) per module.
        2 x MPO (=24 fibres) per Tell40.
        4 fibres spares .
    Spares: 17%.

## Slide 4
MPO-MPO Adaptors Path Panel
“Option 2” for DATA.
From Laurent Roy.
UX85 caverne
MPO
PM85 pit
Surface
MPO
MPO 1
MPO 2
MPO 3
MPO 4
144f
…
MPO 1
PCIe
2 MPO Input
for Module 1
MPO
MPO-MPO Adaptors Path Panel
12f
MPO
12f
MPO
MPO 4
MPO 2
Trunk 1
for Module 3
…
…
…
MPO 12
MPO 3
PCIe
2 MPO Input
for Module 2
MPO
MPO-MPO Adaptors Path Panel
12f
MPO
12f
MPO
10 used
10 used
11 used
11 used
Ex:48f?
5-10m
MPO-MPO Adaptors Path Panel
Module 1
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
12f
LC
12f
2 Spares
2 Spares
5-10m
330-350m
1-3m
Module21
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
12f
LC
12f
2 Spares
2 Spares
5-10m

## Slide 5: TFC/ECS Optical cabling.
ECS & TFC.
  Standard GBT serial format @ 4.8Gbps. Bidirectional.
  3 bidirectional GBT links per module:
    1 for each of 2 hybrids
    1 for local OPB control & monitoring
  Full VELO:
    Needed: 3 x 2 x 52 = 312 links
    Installed: 3 trunk cables. (432 links):
      2 cables for VELO only: 2x144=288 links.
      1 cable : VELO uses only 24 links out of 144:
        Remaining 120 links can be used by nearby sub-detector (RICH or UT?).

## Slide 6
MPO
MPO
Ex:48f?
5-10m
Module 1
MPO-MPO Adaptors Path Panel
for TFC
UX85 caverne
1
2
3
Total 26 Modules / side
12f
MPO
LC Duplex
PM85 pit
Surface
MPO
MPO
MPO 1
MPO 2
MPO 3
MPO 4
144f
…
MPO 1
SOL40
MPO
MPO-MPO Adaptors Path Panel
12f
MPO
12f
MPO
MPO 4
MPO 2
Trunk TFC/ECS 1
…
…
…
MPO 12
MPO 3
MPO
1f
Module 2
1
2
3
1f
Module 3
1
2
3
Module 4
1
2
3
1f
MPO
5-10m
330-350m
1-3m