## Slide 1: FAIR magnets fiducialisation WP 7.5
Dominique Missiaen

## Slide 2: Agenda
Introduction to fiducialisation
Status
Conclusion

## Slide 3: Fiducialisation
In order to align a magnet in a tunnel, some external references called «fiducials»
  have to be installed
  Measured w.r.t a reference axis
    Magnetic axis for the 33 cold multiplets
    Magnetic axis/yoke for the 24 warm dipoles
  The magnetic axis and roll angle is measured by the MSC group and transfered on some «references»

## Slide 4: Fiducialisation set up

## Slide 5: Fiducialisation setup
Antoine Kosmicki

## Slide 6: Fiducialisation
 | Number offiducials | Requested number | CERN | Requested accuracy (mm at 1s) | CERN (geometry) | Roll angle (mrad)
Long Multipletts | 12 | 4 | all | 0.2 | 0.08 | 
Small multipletts | 8 | 4 | all | 0.2 | 0.08 | 
dipoles |  |  | all | 0.5 | 0.08 | 0.5

## Slide 7: Requirements
  The supporting has to realised be exactly the same way for the fiducialisation as for the tunnel !!
  What will be the longitudinal reference
    Extremities of the cryostat ?
    Done during magnetic measurements ?

## Slide 8: Status of the Wp
  Acquisition of an instrument
    AT402
    AT930/960
      real laser tracker
  Visit of Hexagon/LEICA today at CERN
  Technical Specifications/Market survey/invitation to tender before summer

## Slide 9: Status of the Wp
  Infrastructure
      Most of Network points available from LHC cryo-magnets fiducialisation in SMI2
  Software
    Automatisation of the measurement/data processing could be done using «Measurement Plan» from Spatial Analyzer

## Slide 10: Status of the WP

## Slide 11
Questions ?