## Slide 1: Post-Processing of Wall-Current-Monitor Signals
By Kevin Luxem
BE-BI-PI

## Slide 2: WCM-Setup
A rod inside the Wall-Current-Monitor is used to simulate the beam with the Tektronix S-52 - S-6 setup.

## Slide 3: WCM-Setup
20%-80% Risetime: 70 ps

## Slide 4: WCM-Setup
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
S - 52
S - 6
Yfull
WCM

## Slide 5: WCM-Setup
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
Cwcm = WCM Correction-Function
S - 52
S - 6
Yfull
WCM

## Slide 6: WCM-Setup
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
Cwcm = WCM Correction-Function
S - 52
S - 6
Yfull
WCM

## Slide 7: WCM-Setup
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
Cwcm = WCM Correction-Function
S - 52
S - 6
Yfull
WCM

## Slide 8: WCM-Setup
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
S - 52
S - 6
Yfull
WCM
Hardware Problem

## Slide 9: Test-Setup
Ytest = Actual measured Signal
Xtest = Desired Signal Model for Test-Setup
Ctest = Correction-Function for Test-Setup
Htest = Transfer-Function from Test Setup
S - 52
S - 6
Ytest

## Slide 10: Test-Setup
20%-80% Risetime: 28 ps
S - 52
S - 6
Ytest

## Slide 11: Test-Setup
2000 Sample points

## Slide 12: Test-Setup

## Slide 13: Test-Setup
Desired Signal Model Function Xtest
Normalized Cutoff-Frequency:
Cutoff-Frequency:

## Slide 14: Test-Setup
Ytest = Actual measured Signal
Xtest = Desired Signal Model for Test-Setup
Ctest = Correction-Function for Test-Setup
Htest = Transfer-Function from Test Setup
Calculating Ctest

## Slide 15: Test-Setup
Applying the Ctest Correction Function to the Signal Ytest by Convolution
Note: Signals are back transformed to the Time-Domain!
20%-80% Risetime: 44ps

## Slide 16: WCM-Correction-Function
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
S - 52
S - 6
Yfull
WCM

## Slide 17: WCM-Correction-Function
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
S - 52
S - 6
Yfull
WCM

## Slide 18: WCM-Correction-Function 1
Yfull = Measured Signal from WCM-Setup
Xtest = Desired Signal Model for Test-Setup
Htest = Transfer-Function from Test Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
Cwcm = WCM Correction Function

## Slide 19: WCM-Correction-Function 1

## Slide 20: WCM-Correction-Function 1

## Slide 21: WCM-Correction-Function
If we apply an other lowpass Filter with a lower Cutoff-Frequency like below
Lowpass Filter is abbreviated,
so a new Desired Signal Model
is needed!
Note:
Normalized Cutoff-Frequency:
Cutoff-Frequency:
GHz

## Slide 22: WCM-Correction-Function
Now we have a WCM-Correction-Function:
Cwcm = WCM Correction Function
Dwcmcoax = Desired Signal Model for the WCM Setup
Hwcm = Transfer-Function WCM
Hcoax = Transfer-Function Coaxial-Setup
Ytest = Actual measured Signal Test Setup
Yfull = Actual measured Signal WCM Setup
Note: Hcoax is supposed to be close to unity!

## Slide 23: WCM-Correction-Function 2

## Slide 24: WCM-Correction-Function 2

## Slide 25: WCM-Correction-Function 2
Applying the Cwcm Correction Function to the Signal Yfull by Convolution:
Note: Signals are back transformed to the Time-Domain!
20%-80% Risetime: 96 ps

## Slide 26: PS-Signal

## Slide 27: PS-Signal

## Slide 28: PS-Signal
Thanks for your Attention!