## Slide 1
Analog Data Acquisition and Processing FPGA-based Solutions Integrated in Area Detector using FlexRIO technology
R. Herrero1, A. Carpeño1, S. Esquembri1, and M. Ruiz1
1Instrumentation and Applied Acoustic Research Group. Technical University of Madrid, Madrid, Spain. Email: ricardo.herrero@i2a2.upm.es
20th IEEE Real Time Conference
5-10 June 2016
Padova, Italy
Integrate FPGA IDAQs Systems in Distributed Control System EPICS with one C++ Class

## Slide 2
Analog Data Acquisition and Processing FPGA-based Solutions Integrated in Area Detector using FlexRIO technology
20th IEEE Real Time Conference
5-10 June 2016
Padova, Italy
Objective
Integrate IDAQs (DAQs with FPGA) in distributed plant control systems like EPICS:
Better performance and preprocessing capabilities, reduce time delays.
Dificult to Integrate, heterogeneuos devices  areaDetector brings common interface to EPICS to different imaging hardware solutions

## Slide 3
Analog Data Acquisition and Processing FPGA-based Solutions Integrated in Area Detector using FlexRIO technology
20th IEEE Real Time Conference
5-10 June 2016
Padova, Italy
New model, two parts:
FPGA common model – Design Rules to show common interface
New areaDetector 1-D driver
Connect IDAQ hardware
Interface with EPICS through new PVs
Reuse areaDetector model (asynNDArrayDriver) and some PVs
Reuse areaDetector plugins

## Slide 4
Analog Data Acquisition and Processing FPGA-based Solutions Integrated in Area Detector using FlexRIO technology
20th IEEE Real Time Conference
5-10 June 2016
Padova, Italy
New HW developments just need to follow FPGA Design Rules
&
Develop just one class for the specific parameters of the FPGA that connects to AD_1D driver
1-D areaDetector for IDAQs (FPGA)
FPGA