## Slide 1
Modelling the response
of microbulk Micromegas
in Xe-TMA admixtures
E. Ruiz-Choliz (Zaragoza University)
and
Diego Gonzalez-Diaz (Zaragoza University and CERN)
on behalf of the Zaragoza group
diegogon@cern.ch
CERN, 12-06-2015

## Slide 2
what we wanted to understand:

## Slide 3
38cm
1kg of Xe at 10bar
30cm
γ
e-

## Slide 4
What we did not know:
Track topology ↔ Characteristics of the primary electron ionization trail.
Drift properties ↔ Properties of electron ionization trail in electric field:
diffusion, drift, attachment.
Readout properties ↔ Properties of multiplication structures:
transmission, energy resolution, gain.
simulation code
(DEGRAD)
Magboltz
Garfield++
+ recombination and Penning transfer processes
What we knew:

## Slide 5
1. Drift data from the 38cm x 700cm2-setup (NEXT-MM)

## Slide 6: drift properties
typical x-ray event
zi=vdti
width
σt,i
time ti
εi =integral
along the field
t
across the field
agreement with Magboltz??

## Slide 7: drift properties (data and Magboltz simulation)
σz,xy
zdrift=100cm, P=10bar
pure Xe
Xe/TMA(99/1)
Edrift~50-100V/cm/bar
Spatial spread of point-like charge deposits

## Slide 8
2. Data from the 1cm x 10cm2-setup (NEXT-MM0)

## Slide 9: charge readout properties
too little
too much
Xe/TMA at ~99/1
Xe/TMA at ~99/1
clear indication of Penning effect!
resolution worsening with pressure?
reduction of field flux through holes?
recombination?
too little
too much

## Slide 10
electric field modelling (3D) and Garfield++
Gmsh + ELMER
(Garfield++ interface provided by J. Renner)

## Slide 11
fraction of collected charge/electron transmission
(measured attachment <0.1%)
?

## Slide 12
(global fit to data)
variation with pressure
variation with concentration

## Slide 13
effective gain
( ) )

## Slide 14
Penning transfer probability
Simplified model (only Xe* singlet-state can make the transfer):
simplified level diagram including only low-lying states

## Slide 15
energy resolution (for 22keV X-rays)
Not viable to simulate 22keV/WI~900 primary electrons, we assume independent fluctuations:
Higher sensitivity at high pressure!

## Slide 16
σφ=0.6μm
comparison with data (I)

## Slide 17
comparison with data (II)

## Slide 18
extraction of Fano factor (1bar)

## Slide 19
3. Energy resolution data from the 38cm x 700cm2-setup (NEXT-MM)

## Slide 20
understanding the energy resolution in a realistic system (I)
P=1bar
P=10bar
NEXT-MM
can be understood in terms of the contributions
identified in the small setup
?

## Slide 21
mechanics
best 10%
P=1bar
Gain=2000
P=10bar
Gain=200
S/N
understanding the energy resolution in a realistic system (II)

## Slide 22
P=1bar
P=10bar
NEXT-MM
σφ=1.0μm
understanding the energy resolution in a realistic system (III)

## Slide 23
conclusions
‘Electron transmission’ at high pressures requires both recombination (drift region) and hole-transmission (readout region) to be included. Measured data can be described by combining a recombination model (Bolotnikov, Ramsey) and the simulated electron transmission.
Penning-effect in Xe-TMA can be interpreted through a simple model that assumes resonant energy transfer from the Xe* singlet state to TMA.
Energy resolution well explained by known sources except for a small deviation at high pressure.
Strong evidence of sensitivity to mechanical variations in the hole diameter at 0.5μm level! (important at 10bar)

## Slide 24
appendix