## Slide 1: WLCG Service Report 6 weeks, April 15 – May 26 WLCG Management Board, 26th May 2015 Andrea Sciabà CERN

## Slide 2: Operations Coordination highlights (1) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOpsCoordination
ALICE
  very high activity (peaks of 80K running jobs)
  File access instabilities in CASTOR for re-reco jobs
  Intermittent proxy renewal failures due to a bug in fetch-crl
ATLAS
  Running multicore jobs at full steam
  Affected by Rucio+FTS issue causing missing files if FTS answers too late
  Tier-0 data and computing workflows fully commissioned
CMS
  DIGI-RECO campaign for Upgrade MC at T1s completed also on mcore jobs
  “Stronger” T2’s added to DIGI-RECO campaign
  Network saturation at several sites due to DIGI-only workflows
LHCb
  P8 → T0 transfers affected by a CASTOR bug
  RAL network problems on April 8/9
  Data access problems at NIKHEF/SARA (fetch-crl issue)

## Slide 3: Operations Coordination highlights (2) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOpsCoordination
Middleware
  FTS 3.2.33 released and deployed
  dCache 2.6 removed from baseline versions
  New versions of StoRM and dCache verified by MW readiness
Tier-0
  ARCCE+HTCondor pilot open for testing
  LFC will be stopped on June 22
  Fixed job scheduling issue causing CEs not being tested by SAM for long periods (it affected the site availability)
Old VOMS server aliases removed

## Slide 4: Operations Coordination highlights (3) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOpsCoordination
Compatibility with RFC proxies 100% for recent MW, to be fully tested by the experiments
Middleware readiness
  Started working on the MW Readiness App, which will provide a full view of the installed versions and their baselines
Multicore deployment
  Consolidating deployment and improving efficiency and scheduling policies
Network and transfer metrics
  Ramping up latency tests
  Procedure to report network performance incidents now in place
HTTP deployment TF had first meeting, discussed desired functionality, monitoring and service discovery

## Slide 5: Selected items from Operations https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOperationsMeetings
Several EOS-related issues for CMS
  reached quota limit on unmerged area
  Xrootd redirector for T0 misconfigured
  failing SAM tests, transfer failures, unreadable files
Network problems in ESNET for a few days, affecting US sites
Bug in fetch-crl causing several problems
  SARA-MATRIX transfers
  Myproxy renewal failures for ALICE at NIKHEF and SARA
  FTS3 also affected
KISTI enabled 10 Gb link
Tape overload at NDGF due to high ATLAS activity
Outage in ASGC

## Slide 6: Service Incident Reports https://twiki.cern.ch/twiki/bin/view/LCG/WLCGServiceIncidents
Data loss at FNAL due to disk server failure: 672 files, 417 could not be recovered elsewhere (it was MC simulation)

## Slide 7: GGUS summary (5 weeks 20/4/15 -24/05/15)
VO | User | Team | Alarm | Total
ALICE | 5 | 3 | 0 | 8
ATLAS | 17 | 87 | 2 | 106
CMS | 176 | 1 | 3 | 180
LHCb | 0 | 21 | 1 | 22
Totals | 198 | 112 | 6 | 316
Chart: 

## Slide 8: Significant events
GGUS release on the 29th of April
  Clickable links for master-slave and cross references
  New type-of-issue: CMS_AAA WAN
  Add context help about priority
  Next release scheduled for 24th June
6 alarms during this period
  2 to test workflow(GGUS:113092, GGUS:113100)

## Slide 9
ATLAS ALARM GGUS:113665
BNL-ATLAS-FTS server bringonline daemon dead
What time UTC | What happened
2015/5/12 12:48 | Initial submission. Type of Issue: File Transfer Site: BNL-ATLAS Bug found on FTS3 after GFAL2 update that causes bringonline daemon to crash
2015/5/12 13:23 | Service manager marks the ticket as solved. The daemon was not running, and it was restarted

## Slide 10
ATLAS ALARM GGUS:113666
CERN-PROD bringonline daemon dead?
What time UTC | What happened
2015/5/12 12:50 | Initial submission. Type of Issue: File Transfer Site: CERN-PROD Bug found on FTS3 after GFAL2 update that causes bringonline daemon to crash
2015/5/12 13:02 | Service manager acknowledges the ticket
2015/5/12 13:15 | Service manager cannot find any issue with the daemon. Everything is running smoothly
2015/5/13 6:54 | Service manager closes the ticket since there are still no issues

## Slide 11
CMS ALARM GGUS:113750
CMS running out of eos quota
What time UTC | What happened
2015/5/17 4:38 | Initial submission. Type of Issue: Storage systems Site: CERN-PROD Copies to /eos/cms/store/t0streames failing with quota error
2015/5/17 4:56 | Helpdesk announces that the issue has been reported
2015/5/17 5:07 | Service manager increases the quota and closes the ticket

## Slide 12
LHCb ALARM GGUS:113860
EOS SRM returning only gsiftp URLs
What time UTC | What happened
2015/5/21 22:06 | Initial submission. Type of Issue: File Access Site: CERN-PROD
2015/5/21 22:19 | Service manager acknowledges the ticket
2015/5/21 22:47 | Service manager changes the endpoint to a different machine while the investigation is going on
2015/5/22 5:25 | Submitter announces that the service is working, and that the ticket can be closed
2015/5/22 6:59 | Service manager closes the ticket

## Slide 13: Availability Reports
The official Availability and Reliability archive is maintained by the WLCG Project Office
  https://espace2013.cern.ch/WLCG-document-repository/ReliabilityAvailability
  Recomputations might still change some results

## Slide 14: BACKUP

## Slide 15
CMS ALARM GGUS:113092
Performance problem with virtual machine at CERN
What time UTC | What happened
2015/4/17 9:57 | Initial submission. Type of Issue: Other Site: CERN-PROD TEST Alarm to check the workflow
2015/4/17 10:00 | Service manager acknowledges the ticket
2015/4/17 10:13 | Service manager marks the ticket as solved

## Slide 16
CMS ALARM GGUS:113100
Performance problem with virtual machine at CERN
What time UTC | What happened
2015/4/17 12:52 | Initial submission. Type of Issue: Other Site: CERN-PROD TEST Alarm to check the workflow
2015/4/17 13:03 | Service manager acknowledges the ticket
2015/4/17 13:48 | Service manager closes the ticket