## Slide 1
FCC-hh MDI 6th Meeting
Wednesday 27th May 2015
CE Update – Service Caverns & FCC kink
Charlie Cook (GS-SE-FAS), John Osborne (GS-SE-FAS)

## Slide 2
Outline
Updated Experimental Cavern CATIA drawings
Typical underground service caverns from the CLIC study
First results from putting a ‘kink’ in the tunnel, and its impact on Experimental Cavern depths
Experimental Cavern design : next steps

## Slide 3
CERN SITG VUE
BA5
Updated CATIA Experimental Cavern Drawings

## Slide 4
CATIA Model: ST0666403_01
36 m
38 m
65 m
Ø28 m
Updated CATIA Experimental Cavern Drawings

## Slide 5
Updated CATIA Experimental Cavern Drawings

## Slide 6
Updated CATIA Experimental Cavern Drawings

## Slide 7
CATIA Model: ST0666529_01
42 m
44 m
86 m
8 m
13 m
Updated CATIA Experimental Cavern Drawings

## Slide 8
Updated CATIA Experimental Cavern Drawings

## Slide 9
Cavern Layout1,
shaft on top of cavern,
35m high
50m
30m
80m
20m
22m
Service Caverns – Initial Layout Sketches

## Slide 10
Cavern Layout2,
45m high
80m
45m
90m
20m
25m
Service Caverns – Initial Layout Sketches

## Slide 11
Typical underground service caverns from the CLIC study

## Slide 12
Typical underground service caverns from the CLIC study

## Slide 13
Single Kink – 100km Example
Point A
Point B
Point C
Point D
Point E
Point F
Point G
Point L
Point K
Point J
Point I
Point H
Kink

## Slide 14
Single Kink – 100km Example
Option 2a [100km] – no kink [slope = 0.5%]
Option 2a [100km] – single kink [slope = 2.4%]
Option 2a [100km] – single kink [slope = 1.4%]
Kink 1
Chainage = 34892m
Dist. To E = 600m
Kink 2
Chainage = 64487m
Dist. To I = 600m

## Slide 15
Single Kink – 100km Example
100km Example |  |  |  |  |  |  |  | 
 |  | Shaft Depths |  |  |  |  |  | 
Slope after kink [%] | Change in slope [%] | E | F | G | H | I | Total depth (of all 12 shafts) | Shaft depths % Reduction
0.65 | 0.0 | 132 | 392 | 354 | 268 | 170 | 3211 | 0%
0.9 | 0.25 | 131 | 378 | 339 | 254 | 169 | 3166 | 1%
1.4 | 0.75 | 128 | 350 | 307 | 226 | 166 | 3072 | 4%
2.4 | 1.75 | 110 | 290 | 241 | 166 | 157 | 2859 | 11%
Maximum kink for CE (in this example)
2.4% slope after kink [change in slope at kinks = 1.75%]
100km Example

## Slide 16
Kink Conclusions
For CE, the optimal position for a “single kink” design would be one kink near point E and one kink near point I for all four options (80km, 87km,93km, 100km). The two kinks could be symmetrical about Point G.
100km example
Kinks of equivalent gradient in the 100km example give similar reductions in depth in terms of meters but slightly less % reductions in total shaft depths (due to a larger total shaft depth than the 93km example)
Overall
There is a clear opportunity for a kink in the FCC tunnel to reduce the depth of some of the most problematic shafts. The benefit to CE could be a reduction of 100m at experimental points F,G and H and a 10% reduction in total shaft depths. The greatest advantage to CE may be as a method of mitigating issues with cavern construction at large depths and rock squeezing in the tunnel - as these may prove to be significant feasibility issues at a later stage – as well as the removal of excavated material from the tunnel.

## Slide 17
Experimental Cavern Design: next steps
Study proposals for stage 2 of FCC CE study:
  Cost-benefit analysis of vertical shaft vs. inclined tunnel access to caverns
  Feasibility studies for experimental cavern construction at depth
To be decided after FCC Review meeting, June 11th