## Slide 1: B508 and 275
Magdalena Kowalska

## Slide 2: b275
AEGIS laser lab
ASACUSA
test setup
g-BAR?
Storage of big parts, test stands?
Test setups
Test setups
SSP, detector labs
Electronics lab
3 AD offices
Shelves and cupboards for small parts
Entrance key changed – can request it via Jenny
Part of bldg freed for AD experiments (Mar-Jun):
  Only ASACUSA moved in by now
  Ground-floor: COLLAPS cleanup ongoing, ex-SSP lab should be emptied for decontamination checks
  First floor: electronics lab and detector lab cleaned, solid-state lab – partly cleaned, host also VITO things
  Mezzanine: cupboards and shelves ready and used by experiments
Like in February:
Try to apply transparent rules: remaining space to be shared by all groups
  Ground floor room – big equipment which has to be accessible asap during beamtimes or is fragile
  SSP lab: space for test setups
  1st floor – shelves and several cupboards for smaller equipment
Equipment which doesn’t meet this criteria:
  Pease send it long-term storage or home-institutes
  Our associate is documenting the equipment to be shipped away

## Slide 3: B508
Done
Signal cables
Visitor room: Fixed projector and window blinds
CERN locks for all doors
Machine placement and conformity in mechanical workshop
Ongoing
Sorting tools in mechanical workshop – Ermanno
Emptying cupboards from detector lab – already in use by COLLAPS and IDS
In the pipeline - Kitchen furniture
Every quotation more expensive than previous
Finally EN and BE departmenst will pay – but need 2 more offers
For when? ASAP – by October?
Issues
Ventilation was turned on only 2 weeks ago!
External doors – difficult to open (low-quality crash bars inside) - ongoing
Water dripping from some aircon connections - ongoing
Kitchen wall with cracks – repaired
Ground floor:
Users moved in
Aircon working rather well
Laser DAQ rooms in use
Laser labs getting ready (including interlock system)
Physics users are moving in
In preparations:
  Closed cooling water system
  Vacuum gas exhaust
  Opening for SSP gases and fume cupboard
First floor – in use:
DAQ room for running setups
ISOLTRAP DAQ
RILIS room
Visitor room