## Slide 1: CERN-MEDICIS : An update
Thierry Stora, EN-STI

## Slide 2: Why CERN-MEDICIS could be done * (1) ?
Offline separation
* Without an additional proton driver

## Slide 3
Why CERN-MEDICIS could be done (2) ?
CERN, as an institution, has decided to streamline medical applications;
Good news: CERN-MEDICIS is an approved project in the EN dept.

## Slide 4
I[pps] ~ F[pps] s[barn] N[g/cm2] e [ goal 100%]
Intensity
Purity
The « ISOL » filter
In-target production rate
Beam production rate
(Mass separation filter)
A=83
A=152
1000+ isotopes (for 73+ elements) “online”
Isotope mass separation online

## Slide 5: Irradiation station commissioned with beam
Proton Beam
50 60 kV
Cover grounded
Tests with protons:
Done successfully !
M. Vagnoni (EN-STI fellow), et al.

## Slide 6: Class A laboratories ventilation (A Bernardes, EN-CV)
Ready:
Class A labs back to operation
MEDICIS ventilation ready
Environmental monitoring operational
To be done:
Ventilation fire mode to be put into service
Ventilation process to be commissioned and put into service
UPS

## Slide 7: Robots and shielded doors
Robot Rail
Storage shelves (V. Barozier & Y. Garvrikov)
Shielded doors
J.L. Grenard, K, Kershaw et al.

## Slide 8
Bat. 179: Planning juin 2015 … février 2016
2. Installation Porte B
10. Portes et Etagères (méc.)
Mise à jour 12.06.2015 - KK, SM
7. Sol Résine
12. Installation Porte A
15. Retrait blindage temporaire et peinture murs et sols
16. Installation blindage chicane
19. Installation MONTRAC mécanique + câblage et mise en service partielle
1- Fermeture temporaire
8. Chemins de câbles 3x
X
4. Tirage Eau-air-Argon
3. Eclairage définitif
14. Peinture de sol corridor
5. Installation et tests ROBOT
13. Lisol Magnet: Transport B --> CH et modifications
6. Réfection sol Lino
20. Système d’accès MEDICIS
9. Découpe mur supply point
Keith
Yury–Vincent
Jean-Louis
Roland
Roland
Roland
Roland
Matteo
Matteo
Roland
Matteo
Eva
Roland
René
Franck
Georgi
Vincent - Yisel
Keith
21. General safety MEDICIS
Ana-Paula
22. Radioprotection MEDICIS
Joachim
11. Installation blindage decay point
Matteo
14. Réfection sol Résine
Roland
18. Mise en service ventilation SAS
Alexandre
17. Création SAS ventilation 2 portes
Matteo
3. Upgrade réseau secouru et UPS
René
9a. Porte supply point
Vincent

## Slide 9: Front End, isotope separator, HT, vac: for 2016
Power supply & HV
Vacuum &
Gas storage
Controls
FE & separator

## Slide 10
Dr. Forni (Clin. Carouge, Geneve)*
Prof. Morel, Prof. Buehler, Prof. Y. Seimbille, Prof. Ratib (HCUGE, Geneve)*
Prof. D. Hanahan (ISREC, EPFL, Lausanne)
Prof. F. Buchegger, Prof. J. Prior (CHUV, Lausanne)*
Prof. M. Huyse, prof. P. van Duppen, prof. T. Cocolios (KUL, Univ. Leuven)
Prof. S. Lahiri (SINP, Kolkata)
Prof. I. dos Santos, prof P. Vaz (CT2N, Lisbon)*
Prof. E. Piperkova (Nucl. Medicine, Sofia)
Prof. F. Haddad (ARRONAX)*
JRC-ITU
S. Buono (AAA)
Prof. K. Wendt (JGU)
Myrrha
ESS
NPL (UK)
External partners

## Slide 11: Systemic (intravenous) and external radiotherapy F. Bucchegger et al., CHUV
A
B
C

## Slide 12
Marie-Curie ITN MEDICIS PROMED
Working with Prof. Novozelov :
Graphene as protective layer on metal foil
targets

## Slide 13
Thank you !
Core CERN-MEDICIS nucleus
And many others