## Slide 1: Predicted CALET Measurements of Heavy and Ultra-Heavy Cosmic Ray Nuclei
Brian Flint Rauch
Washington University
CALET Technical Interchange Meeting
INFN sez. di Pisa
June 26, 2015

## Slide 2: Introduction
UH GCR are interesting because they tell us about the GCR source and acceleration mechanism.
Update prediction of UH statistics that CALET will see in 5 years.
Predict heavy GCR statistics that CALET will see in 5 years.

## Slide 3: Galactic Cosmic Rays Compared to Solar System
SS abundances from K. Lodders, ApJ 591, 1220 (2003)

## Slide 4: Improved Collecting Power for Higher Energy Events
TIGER data for scintillators similar to those used in CALET
Above a C1 threshold of ~5000 (~600 MeV/nucleon) Fe-peak resolution does not vary much with energy
Charge determinations of UH GCRs can be made with scintillator signals alone
Passage through the CHD and the top four fiber layers in the IMC gives a larger geometry factor, 0.40 m2-sr, than for the total instrument, 0.12 m2-sr

## Slide 5: Measured Differential Spectra
Spectra 5 ≤ Z ≤ 32 from 2009ApJ...698.1666G

## Slide 6: Integral Spectra

## Slide 7: Fe Integral Spectra Scaled with Relative Abundances for UH
Spectra have not been measured for UH GCRs, so the Fe spectrum is scaled by relative abundances.
Modulation seen by CALET is likely to be between Solar Minimum and Maximum, so calculations use averages.

## Slide 8: Nuclear Critical Momenta
In GeV/c where λ is geomagnetic latitude and γ is the East-West angle
Critical Momentum Dependence on East-West Angle and Geomagnetic Latitude from Störmer Theory

## Slide 9: Vertical Cutoff Rigidities
Bilinear interpolation of 5° latitude × 15° longitude grid at 450 km altitude by Smart & Shea AdSpR, 44, 1107 to 1° pitch

## Slide 10: Geomagnetic Latitudes
Converting vertical cutoff rigidities to geomagnetic latitude using Störmer theory:
In GV, where λ is geomagnetic latitude

## Slide 11: Masked Out SAA Based on AMS-02
Contour plot of geomagnetic latitude derived from Smart and Shea (2009) and SAA Schael et al., 2013.

## Slide 12: Determining Geomagnetic Latitude Exposure
Use ISS orbit fractional latitude residence time to derive fractional geomagnetic latitude residence time
ISS Orbit Fraction
Geomagnetic Orbit Fraction

## Slide 13: Accounting for Detector Saturation and Interactions
Added saturation cut in addition to interaction cuts based on zenith angle (θ) used in ICRC analysis.
Use differential geometry factor of CALET for East-West angle (γ) and zenith angle (θ) to model exposure and nuclear interaction survival probabilities – reducing by 25% for θ > 45° for ISS obstructions

## Slide 14: Consider Different Acceptances
4400 cm2sr
UH Mode – UH Trigger
UH Mode – HE Trigger
Full Geometry
1700 cm2sr
700 cm2sr

## Slide 15: Predicted UH Results
Previous Prediction
Current Analysis
CALET ≈ 2×TIGER: Neglected to multiply by 5!
double time_in_orbit=5*365*24*60*60; // 5 years times seconds per year

## Slide 16: Full CALET Acceptance Statistics
Used similar approach to UH analysis without rigidity threshold limit.

## Slide 17: Summary
Expected CALET UH statists from Heavy Trigger 5 times greater than previously reported.
UH statistics within full geometry for 5 year exposure not much less than from first SuperTIGER flight.
More abundant nuclei 5 year statistics predicted accounting for geomagnetic shielding and interactions in CHD.