## Slide 1: TOWARDS UNICOS
André Manuel Paiva e Rocha
PRELIMINARY ANALYSIS

## Slide 2: Introduction
UNICOS limitations / solutions for vacuum
Blocking points for getting started
Roadmap
Conclusions
Vac-FW workflow VS UNICOS-FW workflow

## Slide 3: Vacuum-FW Workflow
PLC #1
CODE
PLC #2
CODE
PLC #N
CODE
IMPORT
FILE
CONF
FILES
PLC
IMPORT
COPY
Download
Download
Download
PLC
PLC
PLC
HW CONF
Download
SCADA APPLICATION
DB EDITOR
EXPORT TOOL
PLC
SCADA

## Slide 4: UNICOS-FW WorkFlow (as in ISOLDE)
PLC
CODE
UNICOS
SPEC
.xls
IMPORT
FILE
PLC
Import
x
Number of PLCs
Download
(worst case scenario: update all 140 PLCs of LHC)
PLC
HW CONF
Download
 | Vacuum-FW | UNICOS-FW
Data Sources to Update/Maintain | 1 | 140
Generation Jobs | 1 | 140
SCADA imports | 1 | 140
PLC updates | 140 | 140
SCADA APPLICATION
CONF FILES

## Slide 5: UNICOS – Limitations for Vacuum
How to create/maintain a huge number of specs ?
UNICOS
SPEC #1
UNICOS
SPEC #2
UNICOS
SPEC #N
By generating them from a single source of data, i.e. a database (VacDB or Layout DB)

## Slide 6: UNICOS – Limitations for Vacuum
How to manage a huge number of UAB builds ?
UNICOS
SPEC #1
UNICOS
SPEC #2
UNICOS
SPEC #N
PLC #1
CODE
PLC #2
CODE
PLC #N
CODE
PLC
x 1
PLC
PLC
UAB must process a batch of specs

## Slide 7: UNICOS – Limitations for Vacuum
How to manage a huge number of SCADA imports ?
UNICOS
SPEC #1
IMPORT
FILE
IMPORT
UNICOS
SPEC #2
UNICOS
SPEC #N
x 1
PLC
PLC
PLC
By having a single import operation for the SCADA
independently of the number of PLCs
SCADA APPLICATION
PLC #1
CODE
PLC #2
CODE
PLC #N
CODE

## Slide 8: UNICOS – Limitations for Vacuum
Adding Vacuum Specific files
UNICOS
SPEC #1
IMPORT
FILE
COPY
UNICOS
SPEC #2
UNICOS
SPEC #N
Vacuum Application specific files
DOWNLOAD
DOWNLOAD
DOWNLOAD
PLC
PLC
PLC
SCADA APPLICATION
IMPORT
PLC #1
CODE
PLC #2
CODE
PLC #N
CODE

## Slide 9: Towards UNICOS – Blocking/important issues
UNICOS
SPEC #1
IMPORT
FILE
UNICOS
SPEC #2
UNICOS
SPEC #N
Layout DB ?
Vacuum Application specific files
IMPORT
DOWNLOAD
DOWNLOAD
DOWNLOAD
Vac DB ?
UNIVAC DB ?
{
{
Can EN/ICE modify UAB ?
{
Are the current (S)PLCs
fit for UNICOS ?
Blocking issues
SCADA APPLICATION
PLC #1
CODE
PLC #2
CODE
PLC #N
CODE
COPY
PLC
PLC
PLC

## Slide 10: Roadmap
Today
Specification of new UNICOS objects
Mini-set of UNICOS objects for HIE-ISL (2015)
Pilot Project HIE-ISL
(2015)
Develop UNICOS objects full set for L4 (2015)
Develop Data Source
+ Specs Generation
(in UNIVAC)
Develop Migration Tool
Pilot Project
LINAC4
Extension to LHC
+ Injectors
(2018)
Specification of Functionalities
Develop Data Source + Specs Generation
(in Layout-DB)
Solve Blocking issues
Implement Vacuum Specific Functionalities in UNICOS
LS2

## Slide 11: ICM Actions
  Decide if we wait for BE/CO to provide Layout DB + Editor, or develop our own solution, keeping in mind of possible future changes
  Start discussions with EN/ICE on the modifications of UAB to suit vacuum needs:
    Possibility of executing batch UAB jobs
    Single SCADA import
  Develop 1 new vacuum-specific UNICOS object in order to estimate the development efforts required.
  Ideal new UNICOS objects = Gauge, Pump, Valve, Gauge Controller, etc..
  Estimate PLC Hardware requirements for UNICOS. From that, determine which PLCs need to be replaced, and the associated cost.