## Slide 1: CERN Medical Applications
Michael Campbell

## Slide 2
Image courtesy MedAustron
HADRON THERAPY
X rays
Protons

## Slide 3
The physics properties of light ions (Bragg) may make them much more efficient in treating some kinds of tumours
Tumours close to critical organs
Tumours in children
Radio-resistant tumours
Why Hadron Therapy?

## Slide 4
1996-2000
PIMMS study
at CERN

## Slide 5
CNAO-PAVIA
1st patient: 2011

## Slide 6
MedAustron – Wiener Neustadt
Start treatments in 2016

## Slide 7: CERN Medical Applications Office
January 2014: establishment of the CMA Office led by Steve Myers
CERN to become established as an important facilitator of medical physics in Europe
Bring all the diverse medical physics activities at CERN together under a single umbrella , ensuring that our efforts are optimised

## Slide 8: An aerial view of the CERN accelerator complex

## Slide 9: Details of the CERN accelerator complex
  CERN aims to coordinate an international collaboration to design a new compact, cost-effective accelerator facility, using the most advanced technologies
Notes: Some background info:
• formerly: LEAR - Low Energy Antiproton Ring
• now (for LHC): LEIR - Low Energy Ion Ring
– Desired luminosity for LHC lead experiments 10^{27}cm^{-2}s^{-1} requires ~7\cdot10^{7} ions /bunch at 2.7 TeV/u within normalised emittances smaller 1.5\mu m .[Chanel2002]
– intensity/emittance ratio achievable via PS and Booster falls short of LHC specifications by factor ~30
– LEIR uses accumulation and phase space cooling to transform a series of long (~200\mu s ), low-intensity ion pulses from Linac 3 into short (\sim200 ns ), high-intensity bunches.
• Why LEIR?
– Only used during LHC ion programme (xxx weeks / year ? + commissioning)
– Would not impact on other CERN programs... no other machines required
– Energy reach of LEIR is appropriate for radiobiological experiments

## Slide 10: Details of the CERN accelerator complex
LEIR (Low Energy Ion Ring)
  accumulator for LHC ion programme (lead ions)
  only used for several weeks / year
Plan to establish facility (OPENMED) for
  Test-bed for medical instrumentation
  Diagnostics and dosimetry
  radiobiology
  basic physics studies such as fragmentation of ion beams
Notes: Some background info:
• formerly: LEAR - Low Energy Antiproton Ring
Size of C ion facility (used only 1 month per year at present)
• now (for LHC): LEIR - Low Energy Ion Ring
– Desired luminosity for LHC lead experiments 10^{27}cm^{-2}s^{-1} requires ~7\cdot10^{7} ions /bunch at 2.7 TeV/u within normalised emittances smaller 1.5\mu m .[Chanel2002]
– intensity/emittance ratio achievable via PS and Booster falls short of LHC specifications by factor ~30
– LEIR uses accumulation and phase space cooling to transform a series of long (~200\mu s ), low-intensity ion pulses from Linac 3 into short (\sim200 ns ), high-intensity bunches.
• Why LEIR?
– Only used during LHC ion programme (xxx weeks / year ? + commissioning)
– Would not impact on other CERN programs... no other machines required
– Energy reach of LEIR is appropriate for radiobiological experiments

## Slide 11
OPENMED - LEIR
Ion beams for biomedical research

## Slide 12: Details of the CERN accelerator complex
  ISOLDE has been producing radio isotopes in many flavours for 40 years already
  CERN-MEDICIS will use a dedicated beam line from ISOLDE with the aim of researching novel radio-isotopes for medical diagnostics and treatment
Notes: Some background info:
• formerly: LEAR - Low Energy Antiproton Ring
• now (for LHC): LEIR - Low Energy Ion Ring
– Desired luminosity for LHC lead experiments 10^{27}cm^{-2}s^{-1} requires ~7\cdot10^{7} ions /bunch at 2.7 TeV/u within normalised emittances smaller 1.5\mu m .[Chanel2002]
– intensity/emittance ratio achievable via PS and Booster falls short of LHC specifications by factor ~30
– LEIR uses accumulation and phase space cooling to transform a series of long (~200\mu s ), low-intensity ion pulses from Linac 3 into short (\sim200 ns ), high-intensity bunches.
• Why LEIR?
– Only used during LHC ion programme (xxx weeks / year ? + commissioning)
– Would not impact on other CERN programs... no other machines required
– Energy reach of LEIR is appropriate for radiobiological experiments

## Slide 13: CERN Detector technologies

## Slide 14
SCINTILLATING CRYSTALS
Photos: CERN

## Slide 15: PET systems derived from CMS crysatl work (Crystal Clear Collaboration)
Since 1996: ClearPET: PET for small animal imaging
Since 2001: ClearPEM: PET dedicated to breast imaging
Since 2010: EndTOFPET: Endoscopic PET for pancreatic and prostate cancer

## Slide 16
ClearPEM – Positron Emission Tomography for Mammography
Photos: Crystal Clear Cololaboration

## Slide 17
MRI
Axial
view
Sagittal
view
CLEARPEM
Full body PET
M. Pizzichemi on behalf of ClearPEmsonic collaboration
CHEF2013 conference, Paris April 2013
ClearPEM – First images

## Slide 18: CERN Detector technologies (contd.)

## Slide 19
Medipix - Hybrid pixel detectors
Developed initially for LHC:
3 large scale vertex detector systems operating smoothly
One large RICH detector system (based on hybrid pixels in a photodetector tube) contributing to LHCb physics
In the Medipix2 and Medipix3 Collaborations we have taken the technology into many new fields
Medipix2 – single photon counting
Timepix – energy measurements at low rate
Medipix3 – Energy measurements at high rate with good energy resolution
Timepix3 – Data driven readout containing both energy and time stamp information
Notes: The chips in the Medipix family are Hybrid Pixel Detector Readout chips.
This is a drawing of a hybrid pixel detector. It consists of a segmented semiconductor detector connected to a readout chip implemented in a standard CMOS process.
The fact that sensor and readout electronics are separated means that you can optimize them separately for a given application.
The small input capacitance of the readout electronics allows optimal signal to noise ratio at high rates.
Why to use hybrid pixels?
Any CMOS commercial process can be used
􀂋􀂋 The detector can be optimised for application
􀂄 Si, thin EPI or 3D Si
􀂄 GaAs, CdTe for mammography etc..
􀂋􀂋 Sometimes no sensor is used
􀂄 Gas gain grid for gas detector readout
􀂄 Micro channel plate
􀂋􀂋 Optimal signal to noise at high rates – essential for
clean pattern recognition in complicated high energy
physics events

## Slide 20: High resolution X-ray imaging using a micro-focus X-ray source(2)
Needle holding the sample
Edges are enhanced
by phase contrast effect
J. Jakubek et al.
Notes: Next, we used the detector medipix for imaging of animal tissue. In this picture we concentrated (konsentreit) on mouse kidneys. We were looking for presence of tumors in mouse kydney. The first picture presents the kidney without tumor cells. Also you can see different magnification. We clearly observe (ebzerv) the inside structure of kidney.

## Slide 21: Medical Applications of Spectroscopic X-ray Detectors
A series of 3 workshops hosted by CERN (2011, 2013, 2015)
Representatives of 4 major equipment suppliers (GE, Philips, Siemens, Toshiba)
Invitation only and focused of applications made possible by spectroscopic X-ray detection
  Better usage of a given dose
  Attenuation of beam hardening artifacts
  Functional imaging using biomarkers in X-ray CT

## Slide 22
The Worldwide LHC Computing Grid
Tier-1: permanent storage, re-processing,
analysis
Tier-0 (CERN): data recording, reconstruction and distribution
Tier-2: Simulation,
end-user analysis
> 2 million jobs/day
~250’000 cores
173 PB of storage
nearly 160 sites, 35 countries
10 Gb links
WLCG:
An International collaboration to distribute and analyse LHC data
Integrates computer centres worldwide that provide computing and storage resource into a single infrastructure accessible by all LHC physicists

## Slide 23
grid computing for hadron therapy
HISP
Notes: HardonTherapy Information Sharing Platform
Part of PARTNER EU project

## Slide 24
Oncology
Breast Cancer (micro-calcifications and masses)
Second Opinion
Cancer Screening
Education and Training
Reference Database / Repository
From: David MANSET, CEO MAAT France, www.maat-g.com
MAMMOGRID
Notes: Datbase of mammographies for training doctors etc

## Slide 25
COMPUTER SIMULATIONS

## Slide 26
THE 4th PILLAR
Collaboration

## Slide 27
ENLIGHT
A network for hadron therapy

## Slide 28
Radiobiology
to elucidate the underlying biology and improve treatment
Image guided hadron therapy and PET prototype
to optimize patient treatment
Novel accelerator and gantry studies
to design and develop cost effective technologies
Simulations, dosimetry and treatment planning
to measure and simulate physical quantities
Information and communication technologies and networking
towards a prototype GRID
Clinical studies and epidemiology
to investigate the clinical outcome of hadron therapy
PARTNER
trainings, collaborations, exchanging ideas and data
Multidisciplinary training

## Slide 29: CMA Initiatives: Where are we?
Obtained some “seed” funding from CERN, as well as donations from outside
“CERN Medical Applications Workshop” followed the ICTR-PHE (15-16 February, 2014)
Attracted ~80 top experts from all over the globe
Funding, governance,… “institute or..”
International Strategy Committee (First Meeting Nov 2014, second April 2015)
CERN as a medical data repository (HUG, EPFL, CHUV, NCI)
Radio-isotopes project well under way
A “White” paper well under way
HF-RFQ (750MHz) development