## Slide 2: dBLM measurements in IP4
Marcel Bursy, Oliver Stein, Daniel Wollmann

## Slide 3: dBLMs in IP4
Diamond BLMs

## Slide 4: Beam gas ionization monitor - BGI
Located in IP4
Neon gas injection
≈ mbar ( mbar feasibility study)
Length 550 cm
generating secondary particle showers

## Slide 5: ROSY Readout System
1.6 ns resolution
Edge-trigger
Turn clock synchronization
55.000 bin histogram → one turn
Fesa-class from S. Pedersen (BE-BI-SW)

## Slide 6: ROSY Histogram
Integration time: 7 h

## Slide 7: ROSY Histogram

## Slide 8: ROSY Histogram

## Slide 9: MD Fill – two bunches
Integration time: 2 h

## Slide 10: MD Fill – single bunch

## Slide 11: Overall counts – count rate

## Slide 12: Count rate per particle
6.5 TeV

## Slide 13: Count rate per particle

## Slide 14: Count rate per particle and pressure

## Slide 15: Prediction vs. reality
Count rate per particle and pressure
Oliver Stein et al., “FEASIBILITY STUDY OF MONITORING THE POPULATION OF THE CERN-LHC ABORT GAP WITY DIAMOND BASED PARTICLE DETECTORS”, IPAC2015, Richmond, VA, USA, May 2015.
Predicted ≈
Measured ≈
Difference factor 70

## Slide 16: Summary
ROSY is measuring in IP4
With and without BGI gas injection
Questions
Histogram time resolution
Count rate lower than predicted

## Slide 17: Thank you for your attention!