## Slide 1: LHC injection loss measurements with diamond based BLMs
Oliver Stein, Florian Burkart, Marcel Bursy

## Slide 2: dBLMs@LHC
10 dBLMs successfully installed at the LHC.
2 IP2/IP8 injection losses
4 IP4 abort gap population measurements at the BGI
2 IP6 loss signatures during beam dump
2 IP7 global losses
IP4
Abort gap monitor
IP6
Extraction losses
IP7
Collimation losses
IP2
Injection
beam 1
IP8
Injection
beam 2
dBLM
LHC beam pipes

## Slide 3: dBLMs@LHC
2 Types of dBLMs insatlled.
pCVD 500μm diamond detector, CIVIDEC (IP2, IP6, IP7, IP8)
sCVD 500μm diamond detector, CMS (IP4)
2 DAQ system installed.
Scope, Lecroy waverunner 4 ch. working
Rosy CIVIDEC, Scope and Histogram experimental

## Slide 4: dBLMs for injection loss measurements IP2
Goal: Better understanding of the injection losses.
Time structure
Dynamic range

## Slide 5: SPS extraction and LHC injection
Fast kicker magnets deflect the beam.
SPS  transfer line  LHC
Kicker:
Rise time (R)
Flat top (FT)
Fall time (F)
Absorber blocks protect downstream accelerator components.
SPS: TPSG
LHC: TDI (σ: 9, -1.53)
LHC: TCP (σ: 4.5, -4.17)
Time
Magnet strength
R
FT
F

## Slide 6: LHC injection
MKE
SPS
LHC
OFF
MKI
OFF
TDI
TPSG
dBLM

## Slide 7: LHC injection
MKE
SPS
LHC
ON
MKI
OFF
TDI
TPSG
dBLM

## Slide 8: LHC injection
MKE
SPS
LHC
ON
MKI
ON
TDI
TPSG
dBLM

## Slide 9: LHC injection
MKE
SPS
LHC
OFF
MKI
OFF
TDI
TPSG
dBLM

## Slide 10: Injection beam 1, dBLM position
Position:
Point 2, injection
Dcum: 3254 m
~ 3 m downstream of TDI
dBLM
ATLAS
ALICE

## Slide 11: Injection beam 2, dBLM position
Position:
Point 8, injection
Dcum: 23392 m
~ 0.5 m downstream of TDI
dBLM
LHCB
ATLAS

## Slide 12: Injection beam 2, dBLM position
dBLM
TDI
LHCb
ATLAS
Position:
Point 8, injection
Dcum: 23392 m
~ 0.5 m downstream of TDI

## Slide 13: Injection IP8, 72 bunches
Courtesy of F. Burkart

## Slide 14: Injection IP8, 72 bunches
MKE4 FT: 11.5 ms
MKI8 FT: 4.28 ms
MKI8 RT: 0.9 ms
72b injected
First bunch
Courtesy of F. Burkart

## Slide 15: Injection IP8, 72 bunches, zoom
Dt = 5ns
Corresponds to 200 MHz RF SPS structure.
Courtesy of F. Burkart

## Slide 16: Injection IP8, 72 bunches, zoom
Dt = 5ns
Corresponds to 200 MHz RF SPS structure.
First bunch
72th bunch
Courtesy of F. Burkart

## Slide 17: Injection IP8, 72 bunches, zoom
25 ns
Courtesy of F. Burkart

## Slide 18: Injection IP2, 72 bunches
MKE6 FT: 8 ms
MKI2 FT: 4.32 ms
MKI2 RT: 0.9 ms
72b injected
Courtesy of F. Burkart

## Slide 19: Comparison of the injection signals
Courtesy of F. Burkart

## Slide 20: Losses from bunch train
Unbunched beam and bunch train losses are clearly different.
Relatively rare
Very high signal > 10V
More data needed
Unbunched beam
Losses from bunch train

## Slide 21: Linearity between dBLM und icBLM@TDI
Data from ~50 injections compared with IQC data for Beam 1

## Slide 22: Injection signatures of 72 and 144 bunches
144b injection ~ 75% of dump threshold.
No bunch train signal.
First loss signature comparable.
Second loss signal only for 144b.
1st.
2nd.

## Slide 23: Injection signatures of 72 and 144 bunches
Time
Magnet strength
144 bunches
72 bunches
Kicker flat top constant.
Recaptured beam before and after the bunch train (scree)?

## Slide 24: Injection oscillations in IP7, B2
Courtesy of M. Bursy
First measurements in IP7, global aperture bottle neck

## Slide 25: Injection oscillations in IP7, B2
Courtesy of M. Bursy

## Slide 26: LHC injection, additional dBLM in SPS
MKE
SPS
LHC
OFF
MKI
OFF
TDI
TPSG
dBLM
dBLM

## Slide 27
LHC timing information and triggering
Current measurement setup:
Trigger on signal
Better:
Trigger on LHC injection pre-pulse. Needed Hardware:
  BST fibre needed, Eva Cavalo contacted.
  P0 decoder card, production needed Lars Jensen, Marek Gasior contacted
Simultaneous measurements in SPS extraction, LHC injection, IP7 collimation

## Slide 28: What else? UFO detection in IP7
Courtesy of M. Bursy

## Slide 29
Courtesy of M. Bursy
What else? UFOs

## Slide 30: What else? UFOs

## Slide 31
Thank you for your attention!