Title
 History of Instrumentation
 Artist's View of a Bubble Chamber by a CERN physicist

---
Timeline of Particle Physics
and Instrumentation
1900
1950
1895
X-rays
W. C. Röntgen
1896
Radioactivity
H. Becquerel
1899
Electron
J. J. Thompson
1911
Atomic Nucleus
E. Rutherford
1920
Isotopes
E.W. Aston
1932
Neutron
J. Chadwick
Positron
C. D. Anderson
1947
Pion
C. Powell
Kaon
G. Rochester
1950
QED
R. Feynman
J. Schwinger
S. Tomonaga
1956
Neutrino
F. Reines
1960ies
El.-weak Th.
S.L. Glashow
A. Salam
S. Weinberg
1920
Isotopes
E.W. Aston
1920ies
Quantum Mechanics
W. Heisenberg
E. Schrödinger
P. Dirac
1973
Neutral
Currents
1974
J/
B. Richter
S.C.C. Ting
1975
Tau
M. Perl
1982/83
W/Z Bosons
C. Rubbia
1903
Spinthariscope
W. Crookes
1911
Cloud Chamber
C. T. R. Wilson
1928
Geiger-Müller
tube
H. Geiger
W. Müller
1929
Coincidences
W. Bothe
1934
Photomultiplier
H. Iams
B. Salzberg
1937
Nuclear Emulsion
M. Blau
1952
Bubble Chamber
D. Glaser
1968
MWPC
C. Charpak
1971
Drift Chamber
A. H. Walenta
J. Heintze
B. Schürlein
1974
TPC
D. Nygren
1983
Silicon Strip Det.
J. Kemmer
R. Klanner
B. Lutz
1936
Muon
C. D. Anderson

---
Early Image Detectors
- Second half of 19th century
  - growing interest in meteorological questions
    - climate, weather phenomenon, cloud formation
  - people started to study condensation of water vapour in the lab
    - also motived by raising use of steam engines
- John Aitken built a “Dust Chamber” 1888
    - water vapour mixed with dust in a controlled way
  - result: droplets are formed around dust particles
  - further speculations
    - electricity plays a role (from observations of steam nozzels)
- Charles T. R. Wilson became interested
  - first ideas to build a cloud chamber 1895	to study influence of electricity/ions
    - also to solve question why air shows	natural slight conductivity
 Dust Chamber 1888

---
Cloud Chamber
Cloud Chamber I
- Cloud chamber (1911 by Charles T. R. Wilson, Noble Prize 1927)
  - chamber with saturated water vapour
  - charged particles leave trails of ions
    - water is condensing aound ions
  - visible track as line of small water droplets
- Also required
  - high speed photographic methods
    - invented by Arthur M. Worthington 1908	to	investigate the splash of a drop
    - ultra short flash light produced by sparks
- First photographs of -ray particles 1912
 Charles T. R. Wilson
UK Science Museum

---
Cloud Chamber II
 Arthur H. Compton
- Arthur H. Compton used the cloud chamber	in 1922 to discover scattering of photons	on electrons (Compton effect)	(Nobel Prize 1927 together with Charles T. R. Wilson)
  - X-rays emitted into cloud chamber
    - photon scattered on electrons (recoiling electron seen in cloud chamber)
    - photon with reduced energy under certain angle visible by photo effect or Compton effect again
 original photograph
 '
 
X-ray
e–
 + e  ' + e'
Nobel Lecture 1927
Nobel Lecture 1927

---
Cloud Chamber III
 Paul Dirac
- Was also used for the discovery of the positron
  - predicted by Paul Dirac 1928 (Nobel Prize 1933)
  - found in cosmic rays by Carl D. Anderson 1932	(Nobel Prize 1936)
Anderson also found the muon in 1936,
the first 2nd generation particle
in the Standard Model
Isidor Isaac Rabi said:
“Who ordered that?”
 downward going positron, 63 MeV
 Carl D. Anderson
 6 mm lead plate
 positron is loosing
 energy in lead,
 23 MeV at exit
  
 smaller radius,
 this defines the
 track direction!
 1.5 T magnetic field

---
Nuclear Emulsion I
- Pioneered by Marietta Blau between	1923 – 1938 (no Nobel Prize)
  - photographic emulsion layer, 10 – 200 µm thick, uniform grains of 0.1 – 0.3 µm size
  - very high resolution for particle tracks
    - analysis of developed emulsion by microscope
 Marietta Blau
 nuclear disintegration
 from cosmic rays,
 observed1937 for the
 first time
- Since early 20th century
  - important role of photography to study radioactivity
  - but capability to make individual tracks visible not seen until nuclear emulsion technique was developed

---
Nuclear Emulsion II
 Cecil Powell
- Discovery of the pion in cosmic rays by	Cecil Powell 1947 (Nobel Prize 1950)
- Discovery of the kaon 1949 (G. Rochester)
electron
pion stops and decays
pion
muon
muon stops
and decays
pion
100 µm
kaon
other pion decays,
muon has always same length (energy)
 2-body decay    
pion
pion

---
Nuclear Emulsion III
 CNGS beam
- Still used in actual experiments with	highest	precision requirements over a large volume
  -  beam sent from CERN to Gran Sasso Underground lab in Italy (732 km)
  - OPERA experiment is searching for  appearance after neutrino oscill.   
    - need to reconstruct  decays ( + N  - + X) (few ~100 µm track length)
    - 235'000 “bricks” (1.7 ktons) of lead + emulsion sheets
 decay
 single brick
 OPERA at Gran Sasso
 automatic emulsion scanning
  interaction
bricks

---
Bubble Chamber
Bubble Chamber I
 Donald Glaser
- Intented 1952 by Donald Glaser (Noble Prize 1960)
    - similar to could chamber
  - chamber with liquid (e.g. H2) at boiling point (“superheated”)
  - charged particles leave trails of ions
    - formation of small gas bubbles around ions
 was used at discovery of the “neutral current”
(1973 by Gargamelle Collaboration, no Noble Prize yet)
Z0
e-
e-
 400 MeV electron
 Gargamelle bubble chamber
 NOT this track...
LBNL Image Library
CERN
CERN




---
Bubble Chamber II
- BEBC (Big European Bubble Chamber) at CERN, 1973 – 1984
  - largest bubble chamber ever built (and the last big one...),  3.7 m
  - 6.3 million photographs taken, 3000 km of developed film
  - now displayed in permanent exhibition at CERN
 BEBC
 BEBC piston
production of D* meson
with long decay chain

---
Scanning Girls
Bubble Chamber III
- Advantages of bubble chambers
  - liquid is	BOTH detector medium AND target
  - high precision
- Disadvantages
  - SLOW!!!
    - event pictures taken with cameras on film
    - film needs to be developed, shipped to institutes
    - and optically scanned for interesting events
  - Need FASTER detectors (electronic!)
- However:	Some important social side effects of bubble chamber era...
  - scanning was often done by young “scanning girls” (students)...
  - ...who later got married with the physicists...
 Mirror
 Table
 Films (multiple views)
 and projection system
 Scanning table (1972)
CERN

---
Early “Electronic” Detectors - Spinthariscope
- 1911: Ernest Rutherford + studied (elastic) scattering of  particles on gold atoms (famous Rutherford experiment)
  - discovery of atomic nucleus:	small (heavy) positively charged nucleus orbited by electrons
- Zinc sulfide screen with microscope	(spinthariscope by William Crookes 1903)	was used to detect scattered  particles
  - light flash was observed by eye
    - to increase light sensitivity, “bella donna”	(from the deadly night shade plant = Tollkirsche)	was often used to open eye's pupil
 deadly night shade
 Ernest Rutherford
 Hans Geiger
UK Science Museum

---
Early Electronic Detectors - Electroscope
- Gold-leaf electroscope already invented 1787	by Abraham Bennet
- End of 19th century raising interest on	electricity in gases
  - cathode ray tubes, glow discharges
  - observation:	charged electroscope is loosing its charge in dry air after some time
    - source of conductivity? ionisation by recently discovered radioactivity?
- Victor Hess discovered cosmic rays 1912 (Nobel Prize 1936)
  - used calibrated string electrometer	by Theodor Wulf
  - found increasing ionisation at	higher altitudes	at a series of	balloon ascents
    - not related to sun radiation!
 early cathode ray tube
 Victor Hess
 in balloon
 pair of wires

---
Geiger Mueller
Geiger-Müller Tube
- The Geiger-Müller tube (1928 by Hans Geiger and Walther Müller)
  - Tube filled with inert gas (He, Ne, Ar) + organic vapour
  - Central thin wire (20 – 50 µm ) , high voltage (several 100 Volts) between wire and tube
  - Strong increase of E-field close to the wire
    - electron gains more and more energy
  - above some threshold (>10 kV/cm)
    - electron energy high enough to ionize other gas molecules
    - newly created electrons also start ionizing
  - avalance effect: exponential increase of electrons (and ions)
  - measurable signal on wire
    - organic substances responsible for “quenching” (stopping) the discharge
-
+
 primary electron
 starting to ionize
 anode wire
~100 µm

---
Coincidence Units
 Walther Bothe
- “Zur Vereinfachung von Koinzidenzzählungen”, Walther Bothe 1929 (Nobel Prize 1954)
  - single tube has no information on direction	of incoming particle
    - two or more tubes giving signals within	the same time window give direction
    - also information if two particles come	the from the same decay
 cosmic ray telescope 1934
 coincidence unit with vacuum tubes
for 2 Geiger-Müller tubes

---
Photo Multiplier Tubes (PMT)
- Invented 1934 by Harley Iams and Bernard Salzberg (RCA Coorperation)
    - based on photo effect and secondary electron emission
    - sensitive to single photons, replaced human eye + belladonna at scintillator screen
  - first device had gain ~8 only but already operated at >10 kHz	(human eye: up to 150 counts/minute for a limited time)
    - nowadays still in use everywhere, gain up to 108
    - recent developments: multi-anode (segmented) PMTs, hybrid and pure silicon PMs
 Silicon PM =
 array of avalance
photo diodes
 plastic scintillator
 photo cathode
 dynodes:
 secondary
electron
emission
 classic PMT
 anode

---
MWPC
Multi Wire Proportional Chambers I
- Geiger-Müller tube just good for single tracks with	limited precision (no position information inside tube)
  - in case of more tracks more tubes are needed or...
- Multi Wire Proportional Chamber (MWPC)	(1968 by Georges Charpak, Nobel Prize 1992)
  - put many wires with short distance between two parallel plates
 Georges Charpak
cathode plane (-)
anode plane (+),
    many wires,
a few mm apart
cathode plane (-)
 Georges Charpak, Fabio Sauli and Jean-Claude Santiard
charged particle
E
E
CERN

---
Wire Chambers - MWPC
Multi Wire Proportional Chambers II
- Multi Wire Proportional Chamber (MWPC)
  - was first electronic device allowing high statistics experiments
  - with multiple channels and reasonable resolution
- Typically several 100 – 1000 wires, ~ 1 mm spacing
  - if charged particle is passing the MWPC → one wire gives signal
  - resolution:	e.g. for d = 1 mm → ~300 µm
- If many MPWCs are put one after each other
  - each particle creates one point per MWPC (~300 µm resolution per point)
Probability
size 20{%sigma Sub{x} {}{} approx {}{}{} { {d} over { sqrt {12} } } } {}
σx
 we don't know where the particle went through within
 the 1 mm spacing = “flat” probability distribution,
 this is the width of an equivalent Gaussian distribution
d/2
 can reconstruct track with e.g. 4 points
 one coordinate only, use additional MWPCs
tilted by 90o to get other coordinate
wire hit
MWPCs
charged particle

---
Drift Chambers
Drift Chamber
- Resolution of MWPCs limited by wire spacing
  - better resolution → shorter wire spacing → more (and more) wires...
    - larger wire forces (heavy mechanical structures needed)
    - (too) strong electrostatic forces when wires too close to each other
- Solution by A. H. Walenta, J. Heintze, B. Schürlein 1971
  - obtain position information from drift time of electrons (fewer wires needed)
    - drift time = time between primary ionization and arrival on wire (signal formation)
 start signal (track is passing drift volume)
has to come from external source:
scintillator or beam crossing signal
Need to know drift velocity vD to calculate distance s to wire (= track position within the detector)
size 20{s {} = int from{t Sub {start}} to{t Sub{stop}} {v Sub {D} dt }}

---
Time Projection Chamber (TPC)
- A 3D-imaging chamber with rather long drift length
  - homogeneous B- and E-fields
  - anode plane equipped with MWPC wire chambers
2 m
PEP-4 TPC
z
drifting electrons
y
x
y
avalanche
wire
pads
wires
projected track
  Problem: pads have to be
  large (otherwise not
  enough induced charge)
  Limits number of points
  and double track resolution
y
z
x
E
B
drift
 cathode plane
 anode plane

---
Time Projection Chamber (TPC)
- Invented by David Nygren (Berkeley) in 1974
- Proposed as central tracking device for the PEP-4 detector at the PEP e+e- collider at SLAC 1976
- More (and even larger) TPCs were	built or are planned at other colliders
  - TRISTAN (KEK, 2 x 32 GeV e+e-, 1986 – 1995)
    - TOPAZ
  - LEP (CERN, 2 x 104 GeV e+e-, 1989 – 2000)
    - ALEPH, DELPHI
  - RHIC (BNL, 2 x 100 GeV/nucleus, 2001 – )
    - STAR
  - LHC pp and Pb-Pb collider (CERN)
    - ALICE
  - ILC e+e- collider
    - ILD
 David Nygren

---
Recent Developments:
Micro Pattern Gas Detectors (MPGD)
- Replace wires at TPC with Micro Pattern Gas Detectors
    - MicroMegas (metallic micromesh)
    - GEM (Gas Electron Multiplier)
- Concept
    - 2D structures	with holes + underlying pads
    - Gas amplification inside holes,	collect electrons on small pads,	few mm2
Ø 50-70 µm
2 mm
Kapton
Copper
HV
 MicroMegas
 GEM

---
Diode
Solid State Detectors
 Brattain
 Bardeen
- First transistor was invented 1947	by William B. Shockley, John Bardeen	and Walter Brattain (Nobel Prize 1956)
    - transistors and diodes became common soon after
  - Germanium diodes were used for particle detection
    - p-type and n-type doped silicon material is put together	and operated with reversed voltage
 Shockley
  - around junction of p- and n-type material depletion zone is created
  - zone free of charge carriers
    - no holes, no electrons
    - thickness of depletion zone depends on voltage, doping concentration
 more holes
 more electrons
charged
 particle
depletion
   zone
N
P
charged particle typically creates 20'000 – 30'000 electron/hole pairs
in 300 µm thick material -> sufficient signal size

---
The first Silicon Strip Detector
- First operational silicon strip detector used in an experiment (NA11 at CERN) by J. Kemmer, R. Klanner, G. Lutz et al. 1983
  - G. Lutz was founder of MPI Halbleiterlabor in Munich
  - NA11 aimed to search for new short lived particles
    - first observation of Ds	many branching ratio and lifetime measurements
8 silicon strip planes
(4 groups of 2 planes each
with tilted strips to measure
xy coordinate)
24 x 36 mm2 size per chip
1200 strips, 20 µm pitch
240 read-out strips
4.5 µm single hit resolution
D– decay

---
Recent Developments: Hybrid Technologies
- Combine MPGD gaseous detector with silicon pixel detector
- Use MediPix2/TimePix chip as active TPC “padplane” for ILC detector
  - MediPix2 = 256x256 pixels with 55x55 µm2 size for medical applications (X-ray film replacement)
  - MicroMegas mesh (provides gas amplification) integrated on top of pixel chip
- Individual ionization visible:	the digital Bubble Chamber is in reach
 cosmic ray track
ionization
clusters

---
Detector History
Detector History
- Cloud Chambers, Nuclear Emulsions + Geiger-Müller tubes dominated until the early 1950s
    - Cloud Chambers now very popular in public exhibitions related to particle physics
- Bubble Chambers had their peak time between 1960 and 1985
  - last big bubble chamber was BEBC at CERN
- Wire Chambers (MWPCs and drift chambers) started	to dominate since 1970s
- Since late 1980s solid	state detectors are in common use
    - started as small sized vertex	detectors (at LEP and SLC)
  - now ~200 m2 silicon surface	in CMS tracker
- Most recent trend: hybrid detectors
  - combining both gaseous and solid state technologies

---
Typical Detector
A typical Today's Particle Detector
Cut-away view of CMS
Tracker
Calorimeter
Coil
Muon Detector and iron return yoke