## Slide 1: Module 4 Anatomy of a linear accelerator Linac technologies RF parameters and measurements

## Slide 2: Linac building blocks
DC
particle
injector
buncher
magnet
powering
system
vacuum
system
water
cooling
system
High power RF amplifier (tube or klystron)
RF feedback
system
Main oscillator
HV AC/DC power converter
LINAC STRUCTURE
accelerating gaps + focusing magnets
designed for a given ion, energy range, energy gain
DC to RF conversion efficiency ~50%
AC to DC conversion efficiency ~90%
RF to beam voltage conversion efficiency = SHUNT IMPEDANCE
ZT2 ~ 20 - 60 MW/m
ion beam, energy W

## Slide 3: Anatomy - 1
The Power Converter
An essential ingredient for the reliability (high voltages!), stability (noise) and cost of a linac!
Made of rectifiers + HV transformer + energy storage when pulsed (can be a PFN).
If pulsed and HV, called “modulator”.
Topology and layout of the Linac4 modulator
Notes: The source of energy

## Slide 4: Anatomy - 2
The RF Amplifier
Usually an amplifier chain (sometimes called “transmitter”).
Provides the RF power, is based on an active device: RF tube (tetrode or triode), klystron or RF transistor (solid state).
The CERN Linac1 triode amplifiers (2 MW, 202 MHz) in a photo of 1959
The CERN LIL klystron (3 GHz)

## Slide 5: Anatomy – 3
The transmission line
Power has to be transported to the final load without reflections (matching), with minimum loss and reliably (no arcs!).
Coaxial (rigid or cable) or waveguide.
Rigid coaxial lines for the CERN TW 400 MHz RF system at the SPS

## Slide 6: Anatomy - 4
The power coupler
Critical element, needs to transform the cavity impedance into the load impedance of the line (or into any wanted impedance), separating the vacuum in the cavity from the air (or dielectric) in the line (window).
Can be a loop, an antenna or an iris to a waveguide.
Antenna coupler for the LEP2 superconducting cavities.
Small loop coupler to a 400 MHz buncher after 15 years of operation, with traces of multipactoring

## Slide 7: Anatomy - 5
The Low Level RF
Electronics aimed at stabilizing the voltage in the cavity against perturbations coming from inside the amplifier chain, from the cavity and from the beam.
Can be analog, analog/digital or digital.
The LHC LLRF (overview of one unit)

## Slide 8: Anatomy – 6
The accelerating cavity
The heart of the system.
Accumulates electric energy in a series of gaps, with minimum power loss.
Essential is the synchronism between field and particles → the particles have to be at the right place at the right moment.
An RF cavity is a multidisciplinary object: integrates beam dynamics (sequence and position of gaps), electromagnetic design (E-field configuration), mechanical design (construction, joining techniques), vacuum, thermo mechanical issues (cooling or cryogenics),…
The CERN Linac2 accelerating cavities

## Slide 9: The RF system
A closer insight of what the RF does is given by the equivalent circuit of an amplifier/cavity system
RF is the art of transporting energy by matching impedances
active unit (tube or klystron):
current generator with internal impedance
output resonator of the transmitter (klystron): filters higher order harmonics and coupes to the line
transmission line
transmitter output coupler
resonator input coupler
Cavity resonator
Beam: additional resistance (power given to the beam) + current generator out of phase
RF amplifier
transmission line
RF cavity
beam
Z0
Z0
Zi

## Slide 10: Electron linac building blocks
« Energy doubler », SLED

## Slide 11
Linac Technologies
Notes: We laid down the basis to understand our linacs, is now time to go into some more details

## Slide 12: Particle production – the sources
Electron sources:
give energy to the free electrons
inside a metal to overcome the
potential barrier at the boundary.
Used for electron production:
thermoionic effect
laser pulses
surface plasma
Photo Injector Test Facility - Zeuthen
262nm Laser
Ion sources:
create a plasma and optimise its
conditions (heating, confinement and
loss mechanisms) to produce the desired
ion type. Remove ions from the plasma
via an aperture and a strong electric
field.
CERN Duoplasmatron proton Source

## Slide 13: RF and construction technologies
Type of RF power source depend on frequency:
   Klystrons (>350 MHz) for electron linacs and modern proton linacs. RF distribution via waveguides.
   RF tube (<400 MHz) or solid state amplifiers for proton and heavy ion linacs. RF distribution via coaxial lines.
Construction technology depends on dimensions (￫on frequency):
   brazed copper elements (>500 MHz) commonly used for electron linacs.
   copper or copper plated welded/bolted elements commonly used for ion linacs (<500 MHz).
3 GHz klystron
(CERN LPI)
200 MHz triode amplifier
(CERN Linac3)

## Slide 14: Construction technologies
Linac accelerating structure:
Set of parts joined together; needs to have:
A well defined vacuum envelope (no trapped volumes, special vacuum joints)
A well defined RF envelope (no leaking RF, good RF contacts between parts)
A stable mechanical structure under vibrations and thermal deformations
An effective cooling of the heat produced by the RF.
In most of the cases,
it is on the mechanical construction that you will win or lose your linac project…

## Slide 15: Joining techniques
 |  | vacuum | RF
Metal to metal | EB welding | ok | ok
 | Brazing | ok | ok
 | TIG welding | ok | ok
Gaskets | O-ring | ok (lifetime) | no
 | Conflat | ok | no (s. steel)
 | Wires (Al, In, Au, Cu,..) | ok (difficult) | ok
 | Spring cont. | no | ok (power)
 | C-seals | ok | ok
Additonal | Shrink-fitting | no | dangerous
 | Knife-edge | dangerous | ok
EB=Electron Beam
TIG=Tungsten Inert Gas
C-seals also known as Helicoflex

## Slide 16: Example: Linac4 DTL Tank1
a puzzle of several thousand elements…

## Slide 18: Important RF parameters (and how to measure them…)

## Slide 19: Energy gain
Particle crossing an RF gap in a linac cell of length L:
E-field is
Voltage is
Energy gain by a particle crossing the gap at phase f is:
The shape of Ez depends on gap length and aperture radius
-L/2
with a Transit Time Factor defined as:
L/2
For E(z) even function of z
E0 mean field
« Panofsky equation » very simple, but the physics is in the transit time factor!

## Slide 20: Transit time factor
design parameter, (see Module 6)
from frequency, gap geometry and particle velocity
cell length, bl or bl/2
synchronous phase angle, from beam dynamics (longitudinal stability)
energy gain by a particle in the middle of the gap at t=0
The Transit Time Factor T tells us how much of the E-field that we have provided on the gap has been really seen by a particle moving at velocity v=bc.
Is the ratio between 2 integrals (0 ≤T ≤ 1)
energy gain by a particle crossing the gap with infinite velocity at t=0
E
z
-g/2
g/2
E(z)
E(z)coswt(z)
Neglecting the increase in velocity in the gap:
For the simplest case E(z)=E0 (-g/2, g/2):
T is a characteristic of your design; it can be easily calculated by the RF design codes

## Slide 21: Shunt Impedance
Design of an accelerating system → goal is to maximize acceleration DW for a given power delivered to the cavity Pc . Can we define a figure of merit to compare different designs?
We define a « shunt impedance » Z as ; exactly twice the shunt resistance in the equivalent parallel circuit
The figure of merit is (considering maximum acceleration at f=0 and taking the square of the energy gain in volts, to give consistancy to the units):
ZT2 is the effective shunt impedance, depends only on the geometry (and on RF frequency and particle velocity). Unit is ohms (usually MW, or MW/m if referred to the unit length). Can be easily calculated by computer codes, and then used to calculate the cavity power and the final power efficiency:
Rp
ATTENTION!!!
Usually in linacs we use Z, while for other RF systems and in other literatures is used Rp: difference by a factor 2 !

## Slide 22: Power efficiency
Shunt impedance per unit length
Main design parameters: beam current and effective gradient
synchronous phase
For a normal conducting linac with low beam loading, the RF power efficiency (proportional to the wall plug efficiency) is proportional to peak beam current, shunt impedance, and cosine of the synchronous phase. It is inversely proportional to the effective gradient → long linacs with low gradient have a higher efficiency (but higher construction cost…)

## Slide 23: The 3 cavity parameters
A resonator (= a mode in a linac accelerating cavity) is defined by a set of 3 parameters.
They can be:
(Capacitance, Inductance, Resistance)
(Frequency, Q-value, R/Q)
Rp
L0
C0
An RF transmission measurement can easily allow to get (f, Q) from the 3db bandwidth.
(precaution: to measure Q0; we need a sufficiently low ioupling. If input coupling is too large, is measured the Q loaded (Ql), given by the parallel of the cavity R and the transformed output impedance of the measurement device).
R/Q is a geometrical parameter, basically tells you the ratio between current and voltage in your system
resonator
RF in
RF out

## Slide 24: Measurement of R (R/Q)
The most difficult measurement (and for this reason one usually relies on simulation codes).
Direct voltage calibration: : we need to measure the power and then the voltage from an X-ray measurement
Perturbation measurement:
a small perturbation (introduction of an object in a resonant cavity) shifts the frequency by one half of the ratio between change in magnetic minus electric energy and the total stored energy → knowing DU it is possible to calculate U !!!
R/Q:

## Slide 25: Field measurements
Motor
Bead
RF power in
RF out
Cavity
Generator Network Analyzer Detector
PC+controller
“bead-pull” perturbative measurement.
A small metallic bead is slowly moved inside the resonator.
Slater’s perturbation theorem: the variation in resonant frequency is proportional to the difference between square of electric field and square of magnetic field at the position of the bead.
Bead in regions of pure E or pure B field: easy way to plot the longitudinal field distribution.
It is a relative measurement (or needs calibration of the bead)

## Slide 26: Questions on Module 4 ? - Building blocks of a linear accelerator unit and their interrelations - Construction: from a sketch to the drawing board to the metal - From accelerators to circuit theory, how accelerator parameters are defined by electrical parameters