## Slide 1: Separating p’s, p’s, and K’s Summary of TRD session M. L. Cherry Louisiana State university CERN, Oct. 2, 2015

## Slide 2
2 TeV protons: g = 2130
8 TeV pions: g = 57300

## Slide 3
Design criteria for tuning a high energy TRD:
X-rays are emitted at energies below gw1.
Highest frequency maximum in interference pattern occurs near
wmax = l1w12/2pc
Total TR yield ~ g up to saturation energy
gs = 0.6 w1(l1l2)1/2/c
Questions:
Emphasize high frequencies where dependence on particle energy is highest, or
Emphasize lower energies where K-edge absorption is not such a large factor?
Use multiple detectors tuned to individual particle species, or just one configuration?
For a fixed length detector, as gs goes up, # of photons decreases unless w1 increases.

## Slide 6
Separating electrons and pions
SLAC, 1973

## Slide 10
-we assume that the collected photons are ≈ 2 per TRD set at best
 we need 50 sets ( each with 200 foils radiator) to get 100 TR photons
- 200 ?

## Slide 11
Fermilab E 769 @250 GeV (1991)
24 sets - L = 2.79 m
p contamination =2% @ 87% p acceptance
simulation at @ 500 GeV/c k(2%) p (98%)
p contamination = 3% @ 90% k acceptance
kaons
pions
k/p separation ability not quoted…

## Slide 13
Straw tube simulation results

## Slide 16
Example radiator/detector configuration #3:
20 modules
N = 50 teflon foils, w1 = 28.5 eV
foil thickness l1 = 50 m, spacing l2 = 6 mm
wmax = 32.7 keV gs = 4.8 x 104
Total length 6.3 m Thickness 11 g
Modules 1-10: 1 cm Xe Modules 11-20: 2 cm Xe
Include Compton + photoelectric cross sections
Account for feedthrough from one module to next

## Slide 17
78% pion efficiency
2.2% of K’s incorrectly identified as p’s
0.02% of p’s incorrectly identified as p’s
55% proton efficiency
4.2% of K’s incorrectly identified as p’s
0.8% of p’s incorrectly identified as p’s
Chart: 
| 0.02 | 0.04 | 0.06 | 0.08 | 0.1 | 0.12000000000000001 | 0.14000000000000001 | 0.16 | 0.18 | 0.19999999999999998 | 0.21999999999999997 | 0.23999999999999996 | 0.25999999999999995 | 0.27999999999999997 | 0.3 | 0.32 | 0.34 | 0.36000000000000004 | 0.38000000000000006 | 0.40000000000000008 | 0.4200000000000001 | 0.44000000000000011 | 0.46000000000000013 | 0.48000000000000015 | 0.50000000000000011 | 0.52000000000000013 | 0.54000000000000015 | 0.56000000000000016 | 0.58000000000000018 | 0.6000000000000002 | 0.62000000000000022 | 0.64000000000000024 | 0.66000000000000025 | 0.68000000000000027 | 0.70000000000000029 | 0.72000000000000031 | 0.74000000000000032 | 0.76000000000000034 | 0.78000000000000036 | 0.80000000000000038 | 0.8200000000000004 | 0.84000000000000041 | 0.86000000000000043 | 0.88000000000000045 | 0.90000000000000047 | 0.92000000000000048 | 0.9400000000000005 | 0.96000000000000052 | 0.98000000000000054
Pion likelihood | 21 | 24 | 12 | 18 | 20 | 20 | 25 | 19 | 30 | 21 | 18 | 11 | 15 | 17 | 16 | 25 | 19 | 16 | 22 | 15 | 29 | 21 | 27 | 18 | 28 | 31 | 27 | 31 | 29 | 27 | 31 | 24 | 40 | 45 | 44 | 48 | 43 | 55 | 52 | 51 | 71 | 61 | 76 | 92 | 120 | 153 | 156 | 252 | 397 | 2335
Kaon likelihood | 2412 | 460 | 271 | 172 | 131 | 119 | 71 | 79 | 61 | 59 | 64 | 45 | 38 | 37 | 36 | 38 | 40 | 35 | 29 | 36 | 29 | 22 | 20 | 31 | 28 | 20 | 29 | 25 | 19 | 21 | 24 | 22 | 17 | 19 | 17 | 22 | 21 | 24 | 26 | 21 | 16 | 22 | 21 | 32 | 29 | 26 | 25 | 33 | 38 | 68
Proton likelihood | 4293 | 209 | 92 | 60 | 44 | 39 | 26 | 17 | 22 | 11 | 14 | 7 | 14 | 4 | 11 | 8 | 10 | 6 | 5 | 2 | 3 | 2 | 4 | 5 | 6 | 6 | 2 | 4 | 8 | 5 | 5 | 2 | 2 | 1 | 5 | 0 | 1 | 3 | 2 | 3 | 0 | 1 | 5 | 6 | 3 | 4 | 2 | 3 | 8 | 5
Chart: 
| 0.02 | 0.04 | 0.06 | 0.08 | 0.1 | 0.12000000000000001 | 0.14000000000000001 | 0.16 | 0.18 | 0.19999999999999998 | 0.21999999999999997 | 0.23999999999999996 | 0.25999999999999995 | 0.27999999999999997 | 0.3 | 0.32 | 0.34 | 0.36000000000000004 | 0.38000000000000006 | 0.40000000000000008 | 0.4200000000000001 | 0.44000000000000011 | 0.46000000000000013 | 0.48000000000000015 | 0.50000000000000011 | 0.52000000000000013 | 0.54000000000000015 | 0.56000000000000016 | 0.58000000000000018 | 0.6000000000000002 | 0.62000000000000022 | 0.64000000000000024 | 0.66000000000000025 | 0.68000000000000027 | 0.70000000000000029 | 0.72000000000000031 | 0.74000000000000032 | 0.76000000000000034 | 0.78000000000000036 | 0.80000000000000038 | 0.8200000000000004 | 0.84000000000000041 | 0.86000000000000043 | 0.88000000000000045 | 0.90000000000000047 | 0.92000000000000048 | 0.9400000000000005 | 0.96000000000000052 | 0.98000000000000054
Pion likelihood | 4537 | 155 | 78 | 45 | 33 | 24 | 19 | 14 | 13 | 6 | 6 | 8 | 8 | 8 | 4 | 4 | 1 | 4 | 3 | 9 | 2 | 3 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 2 | 2 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
Kaon likelihood | 1232 | 279 | 202 | 169 | 143 | 129 | 127 | 106 | 96 | 117 | 84 | 91 | 79 | 77 | 70 | 79 | 56 | 70 | 56 | 55 | 57 | 71 | 57 | 55 | 57 | 69 | 72 | 54 | 52 | 69 | 58 | 63 | 50 | 53 | 66 | 50 | 45 | 44 | 57 | 53 | 66 | 54 | 70 | 72 | 71 | 68 | 61 | 34 | 25 | 10
Proton likelihood | 70 | 34 | 40 | 48 | 39 | 34 | 33 | 36 | 32 | 45 | 48 | 50 | 44 | 35 | 41 | 36 | 40 | 41 | 39 | 44 | 62 | 50 | 57 | 44 | 66 | 66 | 62 | 44 | 69 | 66 | 74 | 79 | 87 | 80 | 81 | 101 | 90 | 113 | 133 | 136 | 147 | 177 | 180 | 241 | 225 | 242 | 302 | 416 | 472 | 209

## Slide 19
“Standard” configuration – SLAC test w/plastic foils/foam, Xe
Compton scatter configuration – CERN test w/Al honeycomb, NaI
. …………..

## Slide 20: Measured spectrum, 150 GeV/c electrons with Al honeycomb radiator (upper curve) and solid background plates (lower curve)

## Slide 21
M.Deutschmann et al.
Partice identification using the angular distribution of transition radiation
N.I.M. 180 (1981) 409-412
Single surface
g = 6000
Single foil
g = 2000
50-70 cm
≈ 1/g Dx ≈ 0.1-1 mm
for g = 10.000 -1000
beware: q mult. scatt. ?

## Slide 22
Can we envisage a
“miniaturized”
ring imaging TRD = RITRD?
now we have more advanced pixel detectors !
(see next talk)
-we can collect with 10 sets radiator/pixel detector ≈ 20 TR photons (better than a conventional RICH) to overlay on a unique frame to reconstruct a ring
-conventional 15 m foil radiators to let any hadron to radiate + 1 m “espansion distance” in helium L ≈ 10 m, still long, but X0 and lI will be negligible!
-pixel size 50m x 50 m? (spatial resolution optimized by centroid calculation)
-the momenta , namely the rings radii per each kind of particle, are fixed by the calorimeter: at 1 m of espansion distance 
Rp = 1mm @ g= 1000 (1 TeV proton) or Rk = 0.5mm @ g= 2000 (1 TeV kaon)

## Slide 23
Questions that we need answered:
What p-pi-K identification/rejection performance is required?
What is energy range?
What energy resolution is required?
How much physical space is available, lateral and along the beam?
What is maximum amount of material allowed in beam?
How many particles expected per event, what event rate?