## Slide 1: LSF vs HTCondor
LSF:
  Slots on share configured by default as 2gb / core
  ATLAS-T0 currently configured at 4gb / core
  Custom oom_killer last resort for memory pressure (typically seconds before kernel one)
  Majority of plant
HTCondor:
  Memory limits (2gb / core) enforced by cgroup
  Soft limit, jobs put on hold when machine under memory pressure
  Defrag for multicore relatively mature and understood
  Currently ~15K slots
LSF deco in LS2, trying to move capacity to HTCondor asap

## Slide 2: Batch machine size
LSF:
  15 slot (16 core), 30gb RAM. Newer machines have SSD. Hyperthreaded (outside ATLAS-T0)
HTCondor:
  8 core, 2gb / core advertised (-5% hv tax). Hyperthreaded
From September new hw will arrive with 40HT cores & 128GB RAM (flavors tbd)
External Cloud:
  Current deployments and procurements looking at 4 core / 8gb VMs
  Same HTCondor pool, using job routing at the CE level with queue requirements

## Slide 3: Multicore / large mem
Not proposed to experiment with multicore draining in LSF during a run
HTCondor draining for mcore, ramping up by demand, taking into account current capacity in pool
Will expose “flavors” in multiples of 2gb / core in standard share
  Jobs requiring > 2gb core effectively need to ask for more cores via the flavor
  See http://indico.cern.ch/event/532199/contributions/2167777/attachments/1278018/1897069/MB-Memory.pdf

## Slide 4: Backfill, draining and priority
Desirable to backfill (for instance) T-0 resources.
T-0 LSF, and likely to remain so for the run
HTCondor makes it relatively easy to support backfill workloads
  Startd kill expressions when LSF jobs arrive?
  Issue is fragmentation with two systems
Draining/Defragging LSF not really an option during the run
LSF ok at scheduling with mcore in queue if job length defined
HTCondor accepts “priority = <int>“ in jdl
  Or even “+JobPrio = xcount”