Muon Cooling for a Neutrino Factory and Muon Collider
Analysis Report
V. Blackmore, S. Boyd, C. Hunt, S. Middleton, T. Mohayai, S. Wilbur, C. Rogers et al
ASTeC Intense Beams Group
Rutherford Appleton Laboratory

---
Outline
- Report on data analysis of 2015 data
  - Beamline data
  - Field off data
  - Field on data
- Plan for 2015/02
- Caveat
  - All analysis is ongoing and very fresh
  - Limited cross-checks
  - Finding new bugs all the time

---
Data Analysis from 2015/01

---
2015 Data … so far

---
Q123 Scan
- Nb: Task “5.x” is a set of magnet currents
  - Transverse distributions show little dependence on settings
V. Blackmore

---
Q123 Scan
V. Blackmore
- Essentially no improvement in rate
  - Nb: rate not normalised to e.g. BLM
- No change in beam distribution
  - We are insensitive to these currents

---
Other Beamline Studies
- No further analysis since CM42
  - Analysis is needed
  - Volunteers welcome

---
Tracker Alignment
- Fire tracks from upstream tracker to downstream tracker
- Aim to find relative position of downstream tracker
- Note
  - Axis of upstream tracker (TKU) defines the geometry
  - Assume TKU is at the surveyed position
  - Place all other elements with respect to that
    - Taking best measurement from survey, beam-based alignment
- Time spent debugging tracker

---
Trip-T error
C. Hunt
E. Overton
C. Heidt
- Trip-t saturation error
  - Led to incorrect reconstruction
  - Enough to ruin the entire analysis

---
Tracker Rotation
C. Hunt
C. Hunt
- Tracker rotation error
  - Potentially a mapping bug?
  - Rotation by ~ 120 degrees + reflection
- PDG back of envelope estimate
  - RMS x should be ~ 30 mm, not 90 mm
  - RMS x' should be ~ 7 mrad, not 50 mrad

---
Repaired tracker rotation
C. Hunt
C. Hunt
- With rotation fixed, residuals look better
  - Still a bit larger than expected
  - Air in various volumes
  - Work in progress
  - Nb: means have been subtracted
- Misalignments are credible
  - O(mrad) in x, y
  - O(mm) in x
  - O(cm) in y
  - Need cross-checks

---
Tracker to Solenoid Alignment
Aim is to measure the tracker tilt angle wrt solenoid field
Bz
y
z
Tracker volume
Tilt angle Ɵx
(rotation about x axis)
w
v

---
Archiver Magnet Currents

---
Tracker to Solenoid Alignment - x
- Two different ways to calculate angle
- Output is pretty consistent
- But reconstruction of angle in each plane cannot be done simultaneously
  - i.e. fit is underconstrained

---
Tracker to Solenoid Alignment -y
Calculate θy

---
Convergence Search
- Repeat 4 times
  - Repeat 5 times for x
    - Run fit, calculate angle
    - Rotate space points into estimated solenoid frame
  - Repeat 5 times for y
    - Run fit, calculate angle
    - Rotate space points into estimated solenoid frame
- Looks bimodal – check with MC (sign error?)

---
Particle Identification Detectors
Alignment
F Drielsma
F Drielsma
- Throw tracks from EMR
- Look at where they arrive in KL, TOF2
- Compatible with survey (but need to cross-check)
  - In particular, EMR is translated in x by ~ 10 cm

---
Particle Identification Detectors
Cut-Based PID
T Mohayai
S Wilbur
- Note a few electron-like tracks in muon TOF01
  - Muon decays?
  - Breaking – incorrect time window calibration in EMR recon
- Note electron-like tracks in TOF01, that become muon-like tracks in TOF12
- Await full log-likelihood PID from MAUS

---
Monte Carlo
- Would very much like to validate all the analysis against MC
  - Very useful for validating analysis when looking for small effects
    - e.g. relatively small tilt angles, etc
- Batch MC is getting there
  - Clearing final snags

---
Plan for 2015/02

---
Plan for 2015/02
- Guidance
  - Prepare a plan for data taking in second half of 2015/02
  - Prepare a plan for no data taking in 2015/02
- Prepare a “shopping list” for magnet commissioning down times
  - Not many of those
- User run dates
  - 2015/02 ... 8 Sept 2015 to 16 Oct 2015
  - 2015/03 ... 3 Nov 2015 to 18 Dec 2015
  - 2015/04 ... 16 Feb 2016 to 25 Mar 2016
  - 2016/01 … 12 Apr 2016 to 20 May 2016

---
Status run 2015/01
% done is Rogers “thumb in the air”

---
Prioritised Shopping List
1. Tracker timing
2. TOF calibration
3. Tracker efficiency/validation
4. Ckov momentum scan
5. Ckov HV scan
6. EMR muon depth vs momentum
7. More EMR polarisation data

---
Running in 2015/02
- Assume
  - First 3 weeks of 2015/02 are used up in magnet commissioning
  - Tracker commissioning and TOF calibration are finished
  - Data taking starts 28th September (still realistic?)
- 19 days of data taking
- Two tasks
  - Beam-based magnet alignment
  - (Cooling channel) optics validation
  - Beamline commissioning if time
- Consider “solenoid mode” to be the nominal setting

---
Beam-based Magnet Alignment
- Set SSU at nominal currents, FC and SSD to 0
  - Project from SSU to SSD
    - Use pz from SSU
  - Complementary analyses
    - Find the tilt angle and displacement of SSU that minimises residuals
      - Projecting from SSU to SSD
    - Find the tilt angle and displacement of SSU that reproduces the momentum dependence of the transfer matrix
- Repeat for FC and SSD, and for all modules powered together
  - 4 settings
  - 140, 200, 240 MeV/c at each setting
  - Assume one day per setting
  - ~ 30k good muons, based on 2015/01

---
Beam-based Magnet Alignment
C.Rogers
S. Middleton
C.Rogers
S. Middleton
C.Rogers
S. Middleton
C.Rogers
S. Middleton

---
Optics validation
- For the optics validation
  - Scan currents on each coil pack
  - Examine optical beta function dependence on current at downstream tracker
  - Examine transfer matrix dependence on current at downstream tracker
- Nb: plots are illustrative, some currents are not possible

---
Optics validation (cont)
- If there are major deviations
  - Determine the field strength dependence on current offline
  - Reoptimise the currents offline
    - No plans to optimise currents online
  - Try again...
- Assume 1 day per current scan
  - 7 coil packs => 7 days

---
Optics validation
- Beam-based alignment of magnets – 4 days
- Optics validation – 7 days
- If there is time left over
  - MICE Muon Beamline commissioning?
  - Optics validation in flip mode?
  - LH2 fill and ionisation cooling?

---
2015/03
- If we complete the 2015/02 tasks outlined above
  - Now need to squeeze “no absorber” and lH2 data into 2015/03
  - 2015/04 is entirely devoted to LiH
  - May involve compromising on statistics in some cases
- If we do not complete the 2015/02 tasks outlined above
  - 2015/03 gets very tight
  - May have to consider installing LiH during 2015/04
    - … or running into 2016/01

---
Final Thoughts
- Hope that the magnet team have a speedy commissioning
- We are eager to push particles through those magnets!