## Slide 2: DAM-Alarming
Data Analytics from Monitoring, for alarming
Summer Student Project 2015
A. Martin, C. Cristovao, G. Domenico
thanks to Luca Magnoni
IT-SDC-MI
31/08/2015

## Slide 3
Introduction
Evaluation and implementation of CEP mechanisms
to act upon infrastructure metrics monitored by Ganglia
WLCG is integrating cloud technologies providing an additional approach for delivering computing capacity
Ganglia is being adopted as monitoring system for clouds
Re-purposing raw monitoring data in order to detect anomalies

## Slide 4
Resource profiling
Accounting
Alarming
DAM Overview

## Slide 5
DAM-Alarming
architecture
UDP
TCP
DAM-Alarming
X
M
L
H
H
H
: host event. Contains last metrics’ values per host
ESPER
S
S
S
: status event. Contains current host status
OU
T
P
U
T
@







: intermediate events
Event Processing statements

## Slide 6
Scalable distributed monitoring system
“Designed for high-performance computing systems such as clusters and Grids”
Open source project
Collecting a standard set of monitoring metrics (cpu, memory, disk, …)
Providing web interface for visualizing host performance
Ganglia
introducing the distributed monitoring system

## Slide 7
Multiple gmonds on server, one per cluster
Expected deployment use case
GMOND
GMETAD
UDP
GMOND
GMOND
VM
VM

## Slide 8
Contacting each gmond on a server to retrieve monitoring data
Fitting DAM-Alarming in deployment
GMOND
GMOND
GMOND
VM
VM
TCP
UDP
DAM-Alarming
Notes: Gmetad still providing web interface

## Slide 9
Set of technologies to process events and discover complex patterns among their streams
Goal: identify meaningful events and promptly respond to them
Complex Event Processing (CEP)
Events
Continuous processing
Query
Query
Query
Notifications

## Slide 10
Open source CEP solution
Strong performance, in memory computation
Strong community and support
In use at IT-SDC: Metis monitoring system
Simple Java API
Event types compliant with several input formats (including POJO and Map objects)
Event Processing language (EPL): SQL-like statements
ESPER
introducing the event processing engine
Notes: 500 000 events/ s on a dual CPU 2GHz Intel based hardware

## Slide 11
Filtering events
Aggregation functions
Pattern matching
Examples of EPL statements
select * from pattern [
every s=Status(state=State.OK) -> (
timer:interval(5 minutes) and not s_update=Status(hostname=s.hostname, cluster=s.cluster))
];
select avg(cpu_idle) from ReportEvent.win:time(20 minutes);
select * from ReportEvent where cpu_idle > 85;

## Slide 12
Raw data parsed into GangliaReport events
Monitoring model
from events describing raw data
GANGLIA
GangliaReport
All parsed metrics

## Slide 13
Raw data parsed into GangliaReport events
First EPL statement determines the host state based on cpu_idle
  Possibility to correlate metrics
select hostname, VO, cluster, monitor, reported,
avg(cpu_idle) as ave, cpu_idle as lastVal,
'cpu_idle' as metricName, 'high cpu_idle' as problem
case
when avg(cpu_idle) > 85 then State.ERROR
when avg(cpu_idle) > 70 then State.WARNING
when cpu_idle is null then State.UNKNOWN
else State.OK
end as state
from GangliaReport.win:time(var_timeWindowLength min)
group by hostname,cluster;
Monitoring model
first layer of EPL statements
GANGLIA
GangliaReport
All parsed metrics
EPL

## Slide 14
Monitoring model
events describing host state
GANGLIA
GangliaReport
All parsed metrics
Check
State, relevant metric, average
EPL
Raw data parsed into GangliaReport events
First EPL statement determines the host state based on cpu_idle
Check Events describe the hosts state at current time

## Slide 15
Raw data parsed into GangliaReport events
First EPL statement determines the host state based on cpu_idle
Check Events describe the hosts state at current time
Second EPL keeps only Check events indicating state transitions: new event Status
select * from Check.std:groupwin(hostname, cluster).win:length(2)
where state is not prev(1, state) and prev(1, state) is not null;
Monitoring model
second level of EPL statements
GANGLIA
GangliaReport
All parsed metrics
Check
State, relevant metric, average
Status
State, relevant metric, average
EPL
EPL

## Slide 16
Raw data parsed into GangliaReport events
First EPL statement determines the host state based on cpu_idle
Check Events describe the hosts state at current time
Second EPL keeps only Check events indicating state transitions: new event Status
State transitions trigger alarms
GANGLIA
GangliaReport
All parsed metrics
Check
State, relevant metric, average
Status
State, relevant metric, average
ALARM
EPL
EPL
Monitoring model
alarming on status change

## Slide 17
Monitoring model v1.1
lessons learnt
GANGLIA
GangliaReport
All parsed metrics
Check
State, relevant metric, average
Status
State, relevant metric, average
ALARM
EPL
EPL
Filtering notifications became crucial for email alarming
Third statement was added
All status events still inserted into ES
Notes: Identify new

## Slide 18
Filtering notifications became crucial for email alarming
Third statement was added
All status events inserted into ES
Upgrading monitoring model
filtering email notifications
GANGLIA
GangliaReport
All parsed metrics
Check
State, relevant metric, average
Status
State, relevant metric, average
EPL
EPL
Notification
State, relevant metric, average
EPL
EMAIL
ElasticSearch

## Slide 19
DAM-Alarming
Current deployment details
Querying all 5 production Ganglia servers
  Used by ATLAS, CMS and LHCb
Poll interval: 15 seconds
1.5 seconds timeout for retrieving from one server
Ganglia Information System ?
JSON
XML
XML
XML
Notes: Talk about JSON with info about servers
Polling interval same as GMETAD
ATLAS CMS and LHCb including activities in EGI and Azure, among others

## Slide 20
Parsing the Retrieved Data
understanding the monitoring data
<GANGLIA_XML VERSION="3.6.0" SOURCE="gmond">
<CLUSTER NAME="VAC.UKI-LT2-UCL-HEP.uk" LOCALTIME="1436969801" OWNER="unspecified" LATLONG="unspecified" URL="unspecified">
<HOST NAME="lcg-wn02-02.hep.ucl.ac.uk" IP="lcg-wn02-02.hep.ucl.ac.uk" TAGS="" REPORTED="1436969544" TN="257" TMAX="20" DMAX="1800" LOCATION="unspecified" GMOND_STARTED="1436969444">
<METRIC NAME="load_one" VAL="1.41" TYPE="float" UNITS=" " TN="267" TMAX="70" DMAX="0" SLOPE="both">
<EXTRA_DATA>
<EXTRA_ELEMENT NAME="GROUP" VAL="load"/>
<EXTRA_ELEMENT NAME="DESC" VAL="One minute load average"/>
<EXTRA_ELEMENT NAME="TITLE" VAL="One Minute Load Average"/>
</EXTRA_DATA>
</METRIC>
...... # total of 29 metrics per host (default)
<METRIC NAME="swap_free" VAL="4194300" TYPE="float" UNITS="KB" TN="293" TMAX="180" DMAX="0" SLOPE="both">
<EXTRA_DATA>
<EXTRA_ELEMENT NAME="GROUP" VAL="memory"/>
<EXTRA_ELEMENT NAME="DESC" VAL="Amount of available swap memory"/>
<EXTRA_ELEMENT NAME="TITLE" VAL="Free Swap Space"/>
</EXTRA_DATA>
</METRIC>
</HOST>
</CLUSTER>
</GANGLIA_XML>
snippet

## Slide 21
Parsing into a Map object using SAX library
  Metrics describing gmond and report (timestamp, TN, hostname, cluster,...)
  Metrics describing host status (cpu_idle, mem_free, cpu_num, proc_total)
Parsing the Retrieved Data
from XML to ESPER Event
...
<HOST NAME="lcg-wn02-02.hep.ucl.ac.uk" IP="lcg-wn02-02.hep.ucl.ac.uk" TAGS="" REPORTED="1436969544" TN="257" TMAX="20" DMAX="1800" LOCATION="unspecified" GMOND_STARTED="1436969444">
<METRIC NAME="load_one" VAL="1.41" TYPE="float" UNITS=" " TN="267" TMAX="70" DMAX="0" SLOPE="both">
...
Map<String, Object> event = new HashMap<String, Object>();
event.put("hostname", "lcg-wn02-02.hep.ucl.ac.uk");
event.put(“tn", 257);
event.put(“reported", 1436969544);
event.put("cpu_idle", 85.0f);
event.put("cpu_num", 5);
event.put("proc_total", 4);
event.put("mem_free", 456123);
event.put(“gmondStarted", 1436969444);
event.put(“location", "unspecified");

## Slide 22
  First run
    17 hours, produced 21 000 emails, more than 1200 emails/hour
    Averaged over 2 minutes,
  Second run
    16 hours, 500 email/hour
    Averaged over 15 minutes, tweaked first statement
First statistics from live deployment
analyzing output of first two runs connected to production servers
799
100
Notifications per host in first run

## Slide 23
  Need to get rid of false positives
  6 mails in 40 minutes
Filtering email notifications
hosts oscillating around fixed threshold
ERROR
WARNING
OK
85
70

## Slide 24
  Filtering out the notifications
  Combining states WARNING and ERROR into one
Filtering email notifications
hosts oscillating around fixed threshold
85
70
ERROR
WARNING
OK

## Slide 25
  Filtering out the notifications
  Combining states WARNING and ERROR into one
  Reporting only long lasting OK state
Filtering email notifications
hosts oscillating around fixed threshold
85
ERROR
WARNING
OK
70

## Slide 26
Filtering email notifications
successful example

## Slide 27
  Connected to ElasticSearch
  Sending messages via log4j to Logstash
  Visualizing using Kibana 3 and Kibana 4
  Improved statistics evaluation efficiency
Evaluating statistics during development

## Slide 28
  Simplifying aggregations
Kibana 4
more examples

## Slide 29
  Real run statistics:
    Time: 27.08. 12:00 – 28.08. 12:00
    4417 machines
    8737 Status updates in ES
    106 emails
Concept proven!
Performance example after introducing mail notification filtering

## Slide 30
Challenges in alarming
hosts flapping at different rates
  Flapping
    Oscillating between states
    Difficult to detect
    Multiple kinds
    Variable period

## Slide 31
Challenges in alarming
hosts flapping at different rates
  Flapping
    Oscillating between states
    Difficult to detect
    Multiple kinds
    Variable period
  Detection based on fixed values
    Number of status changes in a fixed time window

## Slide 32
  Detecting Unreachable status by checking the freshness of the report
Challenges in alarming
unreachable hosts

## Slide 33
Future Work
Improve classification
Flapping detection
Revision of alarming model (aggregate alarms per cluster)

## Slide 34
Project documentation GitBook documentation with link to JavaDoc
https://sdcdam.web.cern.ch/sdcdam/DAM-CEP/index.html

## Slide 35
Project documentation GitBook documentation with link to JavaDoc
https://sdcdam.web.cern.ch/sdcdam/DAM-CEP/javadoc/

## Slide 36
  Testing all components
  Using JUnit testing suite to implement Unit test
Testing applications components

## Slide 37
  Using JUnit testing suite
  Help when developing statements
  Could control time to test time windows and time based patterns
Testing EPL statements
// initializing ESPER engine and load EPL modules
EPRuntime cepRT = initEsper("test");
// creating test event
Map<String, Object> eventOK = new HashMap<String, Object>();
eventOK.put("hostname", "lhcb-cloud.cern.ch"); eventOK.put("reported", 1435924725);
eventOK.put("state", State.OK);
// sending first event
cepRT.sendEvent(eventOK, EVENT_TYPE);
// shifting time
long timeInMillis = System.currentTimeMillis();
timeInMillis += 15000;
timeEvent = new CurrentTimeEvent(timeInMillis); cepRT.sendEvent(timeEvent);
// sending second event
cepRT.sendEvent(eventOK, EVENT_TYPE);

## Slide 38
Conclusion
Successfully implemented an anomaly detection and alarming system based on raw monitoring data coming from Ganglia
Tested on 5 production cloud monitoring Ganglia servers
Detecting anomalies based on cpu_idle and reporting them without spamming
Injecting all status transitions into ES
Processing more than 65 000 events/hour and can scale up
Notes: Average from 31.8 – 2.9.

## Slide 40
Challenges in alarming
host flapping and spamming

## Slide 41
First statistics from live deployment
analyzing output of first two runs connected to production servers
799
100
Notifications per host in first run
Notifications per host in second run

## Slide 42
First statistics from live deployment
analyzing output of first two runs connected to production servers
Notifications per cluster in first run
Notifications per cluster in second run

## Slide 43
First statistics from live deployment
analyzing output of first two runs connected to production servers