## Slide 1: A.Mazal, F.Goudjil, S.Meyroneinc, L.DeMarzi, A.Patriarca, P.Verelle, V.Favaudon, F. Pouzoulet, M.Dutreix, R. Dendale, A. Fourquet & staff Centre de Protontherapie d’Orsay Institut Curie, Paris, France
Physics in hadrontherapy:
2nd CERN brainstorming meeting
Divonne, 20th February 2016
From photons to Pan-omics,
through biology for clinics,
and $pecific challenge$

## Slide 2
600 kV- Years’ 30
Gammatron
Siemens 1956
Cs-137 et Co-60
(1 MeV)
Linear Accelerators (ex.Varian)
(4-25 MV)
From the history of technology for radiation therapy with photons and electrons…

## Slide 3
Inverse Planning & IMRT
radiation-therapy-imrt.html
http://www.noyodecia.com/
Multileaf_collimator
https://en.wikipedia.org/wiki/
Multimodality imaging
including functional:
registration,
fast automatic segmentation,…
Evolution of software
and hardware tools

## Slide 4
Tomotherapy
[www.tomotherapy.com]
RapidArc or equivalents (wphospitals.org;
www.varian.com; www. Elekta.com)
Vero
[www.brainlab.com]
ViewRay (MRI+3Co-60)
[www.viewray.com]
Physics and technology: Present delivery systems in external radiation therapy
Cyberknife
www.cyberknife.com
“state of the art” in photons ?
Varian : 4 Pi
Elekta : on line MRI
Cyber: MLC
Tomo : soon

## Slide 5
1 Beam
5 Beams
11 Beams
17 Beams
25 Beams
51 Beams
mm
mm
mm
mm
mm
mm
(from Tomotherapy)
Multiplicity of incidences// changing the role of the energy

## Slide 6
Court J-C.Rosenwald. I. Curie
Photons
Electrons
Protons/Ions
20 cm
Much more than just “filling the gap”… ! :

## Slide 7: Hadrontherapy : Physical selectivity and/or Radiobiological effects
* pions
* fast
& slow neutrons
* protons
* light and heavy ions
A. Koehler in [Raju. 1980]
IMXT
Linear Energy Transfer
(Past)
(Present)
(Future ?)

## Slide 8
Many interactions of particles with matter … but keep 3 :
Inelastic collision w/nuclei :
neutrons, activation, fragments…
Inelastic collision with electrons: Dose
Elastic collision w/nuclei:
« multiple Coulomb scattering » :
+ Scattering foils,
- penumbra, distal edge,…
Hadrontherapy: some very basic physics

## Slide 9
Electrons
Protons
Anti-Protons
Helium
Carbon
Iron
Finite Range = all charged particles

## Slide 10
Software: Varian´s Eclipse // Beam Data : IBA // Calcs : I.Curie
10
100
0
Skin dose
Clinics : ex Photons vs protons (1 beam) physics advantages
… and limits
(just the
physical ones)
Range uncertainty
Lateral penumbra
neutrons

## Slide 11
Shieding
(dE/dx)= 4 p zeff2 e4 NAZ/A mev2 { ln (2mv2/ I (1-b2)) - b 2 - S(Ci/Z) } Stopping Power
q 0 = 14.1 z / p v { sqrt ( L / LR) ( 1+ log(L /LR ) / 9 ) } Scattering angle
q.v.B = mv2/r
Accelerators
Beam transport
and delivery
Measurements/detectors
Models/calcs & simulations
& traitement
(Hadrontherapy for the physicist) :
Physical “frame” to optimize the physics of hadrontherapy (some examples) :

## Slide 12
« Hadrontherapy » for the physician
(WHAT?)

## Slide 13: Dose-effect-relationship
Schulz-Ertner, IJROBP 2007
Conventional RT
Protons
C-Ions
Shulz-Ertner, IJROBP, 2007
A common goal :
Notes: Fig. 21 : Curva sigmoidea de control local de sarcomas de la base del cráneo, con resultados experimentales en función del tiempo (1993-2007), de la dosis y del tipo de partículas (Shulz-Ertner, IJRBP, 2007).

## Slide 14
Higher Z (all ions inc radioactive)
Higher energy (radiography)
Higher intensity (dose rate)
…..
Always asking for more ?
Welll… also to reduce !:
Reduce cost (size, iron, shielding,…)
Reduce uncertainties
…..

## Slide 15
Mevion
IBA
SynchroCyclotrons
Compact synchrotron (Protom)
+ Hitachi, Mitsubishi, Toshiba,…
Synchrotrons
Some alternatives to make it compact and cheaper
Cryogenic
(Varian, Pronova,..)
Cyclotrons
2 levels (Sumitomo,…)
“State of the art” in protons ?
(and HIT, NIRS, Pavia, MedAustron.. In Carbon)

## Slide 16
Number of treatment rooms in the world :
scatter and scanned
Chart: 
| 1995.0 | 1996.0 | 1997.0 | 1998.0 | 1999.0 | 2000.0 | 2001.0 | 2002.0 | 2003.0 | 2004.0 | 2005.0 | 2006.0 | 2007.0 | 2008.0 | 2009.0 | 2010.0 | 2011.0 | 2012.0 | 2013.0 | 2014.0 | 2015.0
Tot scatt | 15 | 15 | 15 | 18 | 19 | 19 | 25 | 26 | 30 | 35 | 35 | 43 | 46 | 49 | 53 | 61 | 63 | 65 | 69 | 70 | 70
Fixe scatt | 12 | 12 | 12 | 13 | 14 | 14 | 15 | 16 | 17 | 18 | 18 | 21 | 22 | 23 | 26 | 29 | 30 | 31 | 33 | 35 | 36
Gantry scatt | 3 | 3 | 3 | 5 | 5 | 5 | 10 | 10 | 13 | 17 | 17 | 22 | 24 | 26 | 27 | 32 | 33 | 34 | 36 | 35 | 34
Gantry scan | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 6 | 10 | 16 | 24 | 31 | 42
Chart: 
| 1995.0 | 1996.0 | 1997.0 | 1998.0 | 1999.0 | 2000.0 | 2001.0 | 2002.0 | 2003.0 | 2004.0 | 2005.0 | 2006.0 | 2007.0 | 2008.0 | 2009.0 | 2010.0 | 2011.0 | 2012.0 | 2013.0 | 2014.0 | 2015.0
Tot scatt | 15 | 15 | 15 | 18 | 19 | 19 | 25 | 26 | 30 | 35 | 35 | 43 | 46 | 49 | 53 | 61 | 63 | 65 | 69 | 70 | 70
Fixe scatt | 12 | 12 | 12 | 13 | 14 | 14 | 15 | 16 | 17 | 18 | 18 | 21 | 22 | 23 | 26 | 29 | 30 | 31 | 33 | 35 | 36
Gantry scatt | 3 | 3 | 3 | 5 | 5 | 5 | 10 | 10 | 13 | 17 | 17 | 22 | 24 | 26 | 27 | 32 | 33 | 34 | 36 | 35 | 34
Gantry scan | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 6 | 10 | 16 | 24 | 31 | 42
Clinical experience
with follow-up
M. Jermann, M. Schippers & A. Mazal PTCOG, 2015

## Slide 17
MVCT
kV&Fluo/gantry
kV&fluo fixed
Video
Surface
Vision/
Laser
Echo
& CBCT
MVPortal
Protons + IRM
Patent Overweg Philips
IGRT
Linac+ IRM : www.umcutrecht.nl
Raaymakers et al,
AAPM, 2014

## Slide 18: Knife-edge slit camera
Prompt Gamma
D.Prieels, F.Roellinghoff,…..
Positron Emission Tomography from patient activation with the beam
W. Enghardt et al
Notes: Fig.13 : Sistemas de verificación del rango de partículas cargadas pesadas usando PET y gamma promts generados por interacciones nucleares del haz con los tejidos

## Slide 19: « Instead of using positron emission, could we use prompt g ? » Y. Jongen (2001)
Courtesy John Wong Kim (AAPM 2009)
D. Prieels, F. Stichelbaut, F. Roellinghoff et al, IBA et ENVISION
Time frame : 15 years !
(even more for scanning…)

## Slide 20
 | Classes of uncertainties | Class max Uncert | Eliminate / Mitigate / Take in charge | Square
 | PATIENT PREPARATION AND IMAGING | [mm] |  | [mm2]
1 | Patient immobilisation & contention devices | 10 | Minimise & Homogeneous material in beam path | 100
2 | CT calibration, QA, use and constancy | 5 | Methods, frequency, evaluation,… | 25
3 | CT conversion Hounsfield to Stopping power | 10 | Stoichiometric, analytical, data base, double Energy CT,… | 100
4 | CT grid size | 5 | Tests, compromises | 25
5 | CT artifacts (eg metals) | 10 | Acquisition parameters, MVCT, Double Energy CT, others… | 100
6 | Protocols for image acquisition | 5 | Conceive, Compromises, Verify use, human error, evolut | 25
7 | Movement management, breath holding, gating,… | 30 | 4D CT, breath holding, gating, (tracking), repainting,… | 900
8 | Patient imaging and correlations for tumor volume delineation | 10 | Image & correlation QA | 100
9 | Target & critical organs delineation | 30 | MD experience & goals, protocols, procedures, tools | 900
 | TECHNOLOGY: DEVICES & MEASUREMENTS |  |  | 
10 | Facility Commissioning (eg beam data) | 5 | Detectors, redundancies, small tolerances, interlocks | 25
11 | Beam on line range monitoring and feedback | 5 | Detectors, fast feedback and/or interlocks | 25
12 | Measuring errors : devices, procedures, human errors | 5 | Detectors, check lists, automatic tools and filters | 25
 | CALCULATIONS IN THE PREPARATION PHASE |  |  | 
13 | Range calculation algorithms | 5 | Improve & validate algorithm; comparisons and tests; | 25
14 | Compensator calculation, optimisation, fabrication, validation | 5 | Improve algorithm; Quality Control, smearing, drill size, | 25
15 | Dose calculation models (including multiple scattering and biological effects) | 10 | Improve algorithm; Quality Control, compensate, reoptimise,… | 100
16 | Management of Inhomogeneities (lung, metals, …) | 10 | Improve algorithms; tests, avoid incidences, reject cases,... | 100
17 | Accessories in beam path (eg table, masks, …) | 10 | Avoid or Verify, measure, model, test,… | 100
 | TRANSFER AND TREATMENT |  |  | 
18 | Patient specific QA on range | 5 | Detectors, redundancies,tolerances, stats, models | 25
19 | Accessories in beam path (eg table, masks, …) | 10 | Avoid or verify | 100
20 | Patient setup | 5 | Immobilise, margins, IGRT (CBCT, orthogonal X, vision, …) | 25
21 | Management of movements | 30 | Immobilise, margins, gate, track, repaint, monitor range | 900
22 | Changes in anatomy | 30 | in room - off room imaging, monitor range | 900
23 | Beam modifiers choice (compensator and others) | 30 | Check lists, test, interlocks, imaging, monitor range | 900
24 | Beam modifiers setup (compensator and others) | 10 | Fixations, verification, monitor range | 100
25 | Beam delivery (pattern, position, interruptions,…) | 10 | Monitoring, testing | 100
26 | Delivered Range (abs value, reproducibility,…) | 5 | QA, monitor range | 25
 | Sum[mm] | 305 | SqrtS[mm] | 76

## Slide 21
Dotted lines: typically applied range uncertainty margins in proton therapy treatment planning as currently typically applied at the MGH (3.5% + 1 mm), the MD Anderson Proton Therapy Center in Houston, the Loma Linda University Medical Center and the Roberts Proton Therapy Center at the University of Pennsylvania (3.5% + 3 mm) and the University of Florida Proton Therapy Institute (2.5% + 1.5 mm). Note that these centers may apply bigger margins in specific treatment scenarios.
Dashed line: estimated uncertainty without the use of Monte Carlo dose calculation. Solid line: estimated uncertainty for complex geometries without the use of Monte Carlo dose calculation. Dashed-dotted line: estimated uncertainty with the use of Monte Carlo dose calculation.
MGH
U Florida
MDA,LL,UPen
H.Paganetti , PMB 57 (2012) R99-R117 & personal comm

## Slide 22
IMPT
Robust IMPT
Liu, Zhang and Mohan, 2012
ROBUST
OPTIMISATION

## Slide 23: IMRT and proton pencil beams in adaptive workflow
Planning Imaging
Treatment Planning
Electronic Prescription
In-off room /
iso or off iso
Imaging
Image Registration
and patient setup
Treatment
Delivery
Treatment
Assessment
?
Fast on line QA/
Range verification
Patient QA
Adapt Treatment
QA
On line
Next day(s)
When needed
G.Olivera/ D.Galmarini / A.Mazal

## Slide 24
Proton MiniBeam Radiation Therapy (pMBRT)
Experimental beam :
CPO Mai-Juin 2014
Theoretical concept :
Y. Prezado et al., Med. Phys. 2013
(France Hadron)
From synchrotron irradiation
Spatial distribution
PBS : without collimators,
High peak-valley ratio, no neutrons
Possibility to modulate intensity…

## Slide 25
ASCO, 2014
http://www.nanobiotix.com/news/release/
Phase I : NBTXR3 + 50 Gy Rx
Painting target volumes injected with nanoparticles ?
Porcel et al, 2010, 2014
Jong-Ki Kim et al // for protons 2012
Sandrine LACOMBE
Erika PORCEL
More efficient with C6+
18%
33%
From irradiations with photons

## Slide 26
“W-Effect”: Early cell response to split-dose irradiation
Vincent
Favaudon
Favaudon et al, Sci Transl Med 16 July 2014
“FLASH –Effect” Ultrahigh dose-rate FLASH irradiation
Ponette et al. (2000) Int J Radiat Biol 76: 1233-43 - Fernet et al. Int J Radiat Biol 76: 1621-29
days
Same T control
Less fibrosis
From irradiations
with electrons
no
C
F

## Slide 27
Which research with light ions for therapy ?
(and what to do in a research line?)
WORK IN PROGRESS
Thanks to :
G.SantaCruz, K.Parodi, D.Auvergne, F.Pouzoulet (building a table…)
D.Verellen, T.Lomax, T.Bortfeld (personal exchanges future of Medical Physics)
…..

## Slide 28
>60 lines not exhaustive and still not “filtered”
Some presented in the previous slides…

## Slide 29
CERN : “Accelerators, Detectors, Computers”
Medpix Chips
Fluka Monte Carlo
Medical molecular Imaging & Nuclear Medecine
Radioisotopes
OpenMed BioLeir
But today when users talk about
“Clinical, Biology, Medical Physics, Industry…”
Animals
Cells
State of the art of Industrial solutions
State of the art of other research institutions
Clinical data, trials and research
Health Economy and world status

## Slide 30
2012
11250 Linacs
2271 Cobalt -60

## Slide 31
From Bill Chu, PTCOG 50, USA
11250 Linacs
2271 Cobalt -60
120+80 rooms

## Slide 32
Physics in hadrontherapy:
2nd CERN brainstorming meeting
Divonne, 20th February 2016
From photons to Pan-omics,
through biology for clinics,
and $pecific challenge$
THANK YOU !

## Slide 33
Desarrollo de brazos isocéntricos más compactos
(y baratos)

## Slide 34
scanned area:
25x25 cm2
11 m
present technology : 30 MV/m
axis
24 MeV
SM1
SM1
TULIP at 3 GHz with E0 = 30 MV/m
4.2 m
Courtoisie : Amaldi et al

## Slide 35
Beam Delivery : 3D Pencil Beam Scanning
Range shifted by changing beam energy (or absorbers)
Magnets
Target
Narrow pencil beam