## Slide 1: AFP Trigger DAQ and DCS
Krzysztof Korcyl
Institute of Nuclear Physics - Cracow
on behalf of TDAQ and DCS subsystems

## Slide 2: agenda
LVL1 trigger
full system project
AFP2+0 installation
current status and development
DAQ
full system project
AFP2+0 installation
current status and development
DCS
full system project
current status and development

## Slide 3: AFP LVL1 trigger
205 m
217 m
ARM 8-1
ARM 1-2
205 m
217 m
NIM signals with encoded information from timing detectors
Central Trigger Processor
ATLAS
AFP_CTPIN
Current ATLAS L1 latency: 84 BCXs
Protons from P1 to 217 m: 29 BCXs
Fast air-core cable (300m): 43 BCXs
ATLAS CTP work: 6 BCXs
Trigger logic: 6 BCXs

## Slide 4: AFP2+0 LVL1 trigger
ARM 1-2
205 m
217 m
25 ns NIM signals from tracking detectors
Central Trigger Processor
ATLAS
We plan to use signals from tracking detectors (FE-I4 HitOR output) and HitBus chip from DBM to make logic function (AND) from 3 out of 4 FE-I4 HitOR outputs

## Slide 5: AFP0+2 LVL1 trigger setup
4* FE-I4
ATLAS CTP
300 m
LHC tunnel
HitBus
4* FE-I4
HitBus
Local
Trigger Board
205 m
LVDS/NIM
LVDS/NIM
217 m
USA 15
300 m
Local
Trigger Board

## Slide 6: AFP LVL1 trigger status and development
during the beam tests we performed standalone runs with prototype of the Local Trigger Board (LTB) and parts of the ATLAS TDAQ system
  VME crate with LTP and TTCvi
  NIM output from the LTB was used by the LTP to produce L1A and start readout
    falling edge of the trigger was used to generate L1A
  HitOR trigger signal spans over 10 BCXs
new version of the LTB is being designed
before installation of the air-core cables in the LHC tunnel we plan to send 25 ns pulses and verify signal quality at the other end of the cable

## Slide 7: AFP DAQ
205 m
217 m
ARM 8-1
ARM 1-2
205 m
217 m
Local Trigger Board
Local Trigger Board
Local Trigger Board
Local Trigger Board
optoboard
optoboard
ATCA + COB
RCE
TTC
L1A initiates readout
L
T
P
T T C
R
C
D
VME crate
ROS
Slink

## Slide 8: AFP0+2 DAQ
4* FE-I4
USA 15
tunnel
RCE (ROD)
TTC
fiber
HitBus
4* FE-I4
HPTDC
HitBus
205 m
300 m
Optoboard
217 m
adapter board
LVDS
TTC
data
8 TTC
16 data
5
4
HSIO
Local
Trigger Board
Local
Trigger Board
ROS
Slink
VME crate
L
T
P
T T C
R
C
D
RCD

## Slide 9: AFP DAQ status and development
readout via HSIO:
  integration with ATLAS TDAQ demonstrated during the beam tests
  uses HSIO firmware (Artix) to serialize and format data before entering RCE
  Event Building currently in software – likely will be put in FPGA
  firmware for S-link (ROS) exists in CSC – needs to be ported to AFP
  dedicated PC to run RCD controlling and monitoring RCE
plan to build trigger/DAQ test setup in SR1
HSIO board

## Slide 10
DCS: overview of AFP Final Hardware Structure
Hardware for both arms:
HV - ISEG crate with 2 modules
LV – 2 Wiener PL512 + 2 LVPP4
SC-OL – 1 block
IMC – 1 crate
in total 15 ELMB’s
Vacuum and Cooling – PLC Controlled
Positioning – similar to TOTEM and ALFA
DAQ: final – ATCA RCE
AF0+2 – HSIO RCE
Hardware for 1 arm
1 optobard
1 Vreg Crate – 1 ELMB
2 Cooler Stations

## Slide 11
DCS software structure and integration in Central DCS
DCS Software
WinCCOA 3.11 SCADA
JCOP Framework Components
Central ATLAS DCS Framework Components, rules and guidelines
OPC servers as a middleware communication layer
FSM for detector hierarchical representation, supervision and visualisation
AFP sub-detector is already defined in the ATLAS Central DCS structure

## Slide 12
CAN PSU
IMC - Interlock Matrix Crate
SC-OL optoboard supply
ISEG Crate 1 HV module
VREG crate
Wiener PL512
(no LVPP4 yet)
DCS Machine
SLC6, VM 2008
Present activity: DCS in SR1 AFP LAB
DCS Rack
P. Sicho info & photo
Goal: design, develop and test DCS software
DCS Machine Dell 1950:
SLC6 (WinCCOA + OPC UA servers + all DCS software) + VM2008 (WinCCOA + OPC DA servers)
Will be kept in SR1 AFP LAB as Test Machine
RCE in SR1 Rack area:
Used for development of FE Health Parameters embedded OPC UA server
Hardware in SR1 (as a pool of spare components):
CAN PSU – power supply for Can bus, crate + 2 modules
Interlock Matrix Crate – will be completed soon with modules
VREG Voltage Regulator Crate – cards to be provided
ISEG HV crate + modules
Wiener LV PL 512 – will be delivered soon

## Slide 13
Status of software development in SR1
High Voltage
ISEG OPC DA Server (VM2008) and ISEG Framework component installed and tested, ready for final hardware (from Cracow) and further development
Secondary Vacuum
Preliminary datapoint structure and panels defined
FE Chips health parameters
OPC UA server embedded in RCE will acquire health parameters via dedicated API’s -> OPC UA server framework installed on RCE, ready for development
ELMB-Controlled Equipment Ilock MC, SCOL, LVPP4, VREG
framework-like software development (based on IBL/Pixel) on-going
Software development ongoing:

## Slide 14
DCS current status and plans
Status of final hardware:
HV ISEG crate and modules – tested OK in Cracow, ready to be sent to CERN
Wiener PL512 power supplies - still waiting for delivery
DCS production machine Dell R620 – ready in USA15
ELMB controlled equipment: partially ready in SR1
ELMB’s – all needed (17) and some spares (3) available
Status of software:
AFP DCS added to Atlas Central DCS environment
DCS Project in SR1 exists and allows for concurrent developments
Status of individual software parts is progressing
Plans:
Continue software development in SR1: availability of detector parts will be necessary
Install final production OS + necessary software packages in DCS P1 machine after TS3
Start moving some parts of hardware and DCS software from SR1 to P1
First tests in P1