## Slide 1
Integration_Current Status
20151014
Edms# 1416390_A.Kosmicki
FAIR
Building 180

## Slide 2
Edms# 1416390_A.Kosmicki
FAIR
Building 180
History
Latest configuration to be approved
General views
Different configurations
Conflicts and left to be done
Conclusion

## Slide 3
History

## Slide 4
Bottom view_Galleries
Building 180
Building 279
HISTORY…

## Slide 5
Control room
Power converters
Cryo pipes
Racks
Racks
Racks
Position of benches
HISTORY…

## Slide 6
HISTORY…
Control room
Power converters
Racks
Racks
Racks

## Slide 7
HISTORY…
Position of racks

## Slide 8
HISTORY…
Position of racks

## Slide 9
Transport
Preparation area
Test area
PANDA
LHC dipoles
Stockage & Offices
Atelier & Control room
Main door
Personnal access
HISTORY…

## Slide 10
Vue comportant tous les types d’aimants sur chaque banc de test, ainsi que toutes les positions des blocs béton pour les systèmes de fil tendu.
ST0625054_04

## Slide 11
Dipole 1/2  OK

## Slide 12
Dipole 2/2  CLASH

## Slide 13
Multiplet 2675mm  CLASH

## Slide 14
Multiplet 5628mm  CLASH

## Slide 15
Multiplet 6266mm  CLASH

## Slide 16
Multiplet 6904mm  CLASH

## Slide 17
Possible to re-rout the cryo lines?
 No

## Slide 18
The wire tracking equipments
Have been adapted

## Slide 19
Dipole 1/2  OK

## Slide 20
Dipole 2/2  OK

## Slide 21
Multiplet 2675mm  OK

## Slide 22
Multiplet 5628mm  OK

## Slide 23
Multiplet 6266mm  OK

## Slide 24
Multiplet 6904mm  OK

## Slide 25
Vue de dessous

## Slide 26
Latest configuration
to be approved

## Slide 27
General view_ Latest configuration to be approved
LHC magnets
Personnal access
Transport
Preparation area
Test area
PANDA
Stockage & Offices
Atelier & Control room
Main door

## Slide 28
General view_ Latest configuration to be approved

## Slide 29
Transport zone to be re-studied

## Slide 30
General views

## Slide 31
General views

## Slide 32
General views

## Slide 33
General views

## Slide 34
General views
Movable stairs for preparation zone
Movable cable trays

## Slide 35
Survey measuring
Points | X (mm) | Y (mm) | Z (mm)
1 | 2393 | 760 | 828.915
2 | 0 | 760 | 828.915
3 | -2393 | 760 | 828.915
4 | 2379 | 1103.415 | -644.5
5 | 0 | 1103.415 | -644.5
6 | 2379 | 1103.415 | -644.5
7 | 2393 | -760 | 828.915
8 | 0 | -760 | 828.915
9 | -2393 | -760 | 828.915
10 | 2379 | -1103.415 | -644.5
11 | 0 | -1103.415 | -644.5
12 | -2379 | -1103.415 | -644.5

## Slide 36
Different configurations

## Slide 37
3D magnets from GSI
2675mm var_1
2675mm var_2
2000mm
Another 300mm longer dipole?

## Slide 38
Different configurations
Dipole var_1

## Slide 39
Dipole var_2
Different configurations

## Slide 40
Multiplet 2000mm
Different configurations

## Slide 41
Multiplet 2675mm var_1
Different configurations

## Slide 42
Multiplet 2675mm var_2
Different configurations

## Slide 43
Multiplet 5628mm
Different configurations

## Slide 44
Multiplet 6266mm
Different configurations

## Slide 45
Multiplet 6904mm
Different configurations

## Slide 46
Different configurations

## Slide 47
Different configurations

## Slide 48
Different configurations

## Slide 49
Different configurations

## Slide 50
Different configurations

## Slide 51
Different configurations

## Slide 52
Conflicts and
Left to be done

## Slide 53
Conflicts
Conflict between structures and 2675mm multiplet Variant 1
Conflict between structures and 2675mm multiplet Variant 2
Adapt platforms and wire device with 2675mm Variant 1
Adapt platforms and wire device with 2675mm Variant 2
Adapt platforms and wire device with 2000mm
Update the transport study
Update the survey laser tracker’s positions

## Slide 54
Conclusion
Thank you
To approve the metallic structure and start the construction drawings we need to freeze the:
  Position and size of the magnets
  Position of the racks
  Height of the plateforms
  Position of the power converters
  Position of the cryo equipments
  Path of the cable trays
Layouts of the metallic structure
Construction
Decembre 2015
Starts April 2016
Ends June 2016
October 2015