## Slide 1: WLCG Service Report 6 weeks, Sep 15 – Oct 27 WLCG Management Board, 27th Oct 2015 Maarten Litmaath CERN v1.2 (updated Dec 1)

## Slide 2: Operations Coordination highlights (1) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOpsCoordination
Top BDII and ARC BDII slapd crashes: RedHat should have a fix available soon
Infosys evolution: steady progress
MW Readiness: ditto, interest in SL/CentOS7
Network and Transfer Metrics: PerfSONAR fully in production
FTS-3 cannot handle IPv6 SEs due to Globus bug
Multicore accounting
  99.5% of WLCG CPU time reported correctly (Oct 1)
  Production portal was updated with “EMI-3” view

## Slide 3: Operations Coordination highlights (2) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOpsCoordination
Globus host certificate validation change
  An upcoming Globus update will change the default algorithm used by clients to decide if a service certificate is acceptable
    The Subject Alternative Name must contain all names (aliases) used for accessing the service (details here)
  First tried and immediately backed out in June after WLCG reported that it would cause a lot of trouble at that time
  ~10% of SRM services are affected, mostly at T0 and T1
    Other services are less of a concern, but will be checked
  Some CAs cannot yet provide compliant certificates
  We may be able to persuade Globus to delay this further
  As a last resort we could temporarily freeze the single affected rpm in our repositories

## Slide 4: Selected items from Operations (1) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOperationsMeetings
Mostly high activity across the experiments
  Almost 400k active cores reached late last week
Several FTS-3 incidents, upgrades and configuration improvements
  Good support from the developers
CNAF recovered from power incident
KIT annual downtime Sep 29 – Oct 1 went OK
  Now using “cgroups” in their batch system
  Limits were increased to restore ALICE job success rates

## Slide 5: Selected items from Operations (2) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOperationsMeetings
CERN
  LSF 7.3  9.1.3 upgrade failed due to scalability issue(s) in the code that should be fixed now
    Will be tried again Nov 4
  HTCondor setup will go into production Nov 2
    Mainly with HTCondor CEs
    ARC CEs to be decommissioned ~end of the year
  Argus instabilities
    Recurrent SAM failures for CMS pilot role mainly due to lack of pilot pool accounts (fixed)
    That led to an increased exposure to a race condition in Argus (ticket opened for the devs)
    High load incidents still not understood

## Slide 6: Selected items from Operations (3) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOperationsMeetings
ALICE
  Final preparations for Quark Matter 2015, Sep 27 - Oct 3
  CASTOR setup for heavy ion data taking has been implemented
    Pool 1 for DAQ + writing to tape
    Pool 2 for replication to T1 + reconstruction + tape recalls
    CASTOR automatically copies new files to pool 2
    Many older disk servers were temporarily added
      Should allow the whole run to remain on disk until early 2016
    ALICE thank IT-DSS and IT-CF for their good support!
  Successful workshop on network evolution in Asia, hosted by KISTI, Sep 22-24
    LHCONE peering agreed between network infrastructure providers TEIN, KREONET2 and ASGC
    ALICE thank the KISTI team, the network experts, and the site admins for making this happen!

## Slide 7: Selected items from Operations (4) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOperationsMeetings
ATLAS
  Security incident on a UI (not at CERN)
    Certificates of its users were revoked as a precaution
    No effect on ATLAS resources was noticed
  2 alarm tickets when EOS quota limits were reached (fixed)
  Several FTS-3 issues
  Improvements in DDM and job workflows
CMS
  Unknown status for CERN CEs in SAM tests mitigated by reducing the pilot proxy lifetime for normal jobs from 7 to 3 days

## Slide 8: Selected items from Operations (5) https://twiki.cern.ch/twiki/bin/view/LCG/WLCGOperationsMeetings
LHCb
  Slow WN at CERN now understood, fix will be rolled out in the next weeks
    On completion of upgrade to OpenStack Kilo release
  FTS-3 and EOS issues
  Affected by concurrent downtimes at several T1
    Ops meeting minutes now have downtime links per T1 site
    A combined Google calendar is on the wish list
GGUS
  Mailing lists have been created for experts in the experiments to receive notifications about unexpected unavailability of GGUS itself

## Slide 9: Service Incident Reports https://twiki.cern.ch/twiki/bin/view/LCG/WLCGServiceIncidents
None

## Slide 10: GGUS summary (6 weeks 14/9/15 -25/10/15) by Pablo Saiz
VO | User | Team | Alarm | Total
ALICE | 5 | 0 | 0 | 5
ATLAS | 18 | 79 | 6 | 103
CMS | 360 | 0 | 0 | 360
LHCb | 12 | 42 | 2 | 56
Totals | 395 | 121 | 8 | 524
Chart: 

## Slide 11: Significant events
Release on the 30th of September
  New feature: ‘My dashboard’ to add tickets to favorites
  Possibility to get ticket info in xml
Next release scheduled for 28th October
8 alarms:
  6 ATLAS (2 EOS, 1 FTS, 3 test alarms)
  2 LHCb (FTS and EOS at CERN)
Week 41 saw 149 CMS tickets:
  Synchronizing password update among all sites and PhEDEx
GGUS was briefly unavailable on 13th and 19th Oct due to issues affecting the network at KIT