## Slide 1
Measurement of the charge collection properties of a pixel sensor for ITK
April 22th
Florian Haslbeck
Notes: DATUM!!

## Slide 2: The ATLAS Experiment – Inner Detector
Inner Detector (ITK)
  Pixel Detector
  Semiconductor Tracker
  Transition Radiation Tracker
Source: http://atlas.cern/discover/detector/inner-detector: 16/04/18, 11:38
Aim: 1. more pictures per second
2. higher resolution
3. higher radiation resistance

## Slide 3: TCT Measurements
Ionisation
V
Potential
current
Notes: Problem: Laser is 10x width

## Slide 4: TCT Measurement
Readout
Trigger
Hit
50 ns delay
DUT
Signal
Laser
DRS
Diode
Amplifier
Signal
Data
λ= 600 nm λ= 1000 nm
Notes: Characterisiery¡ugn pixel
Ionisation bz laser
Measure bz potential I diode
100 -> 10, nee dto make it smaler

## Slide 5: Knife Edge Method
Diode
Knife Edge Method
aim: determination of the beam‘s width
need: 6 - 10 μm but in lab: > 100 μm
TCT Measurement
  Voltage and Surface Scan with an IR Laser
  controlled by python
  fit data to the function P(X)

## Slide 6: Knife Edge Method
Scanning with fixed intensity
Variable test conditions:
  aperture: 0 – 6 mm
  voltage : 150 - 250V
  x and z coordinates

## Slide 7: Low Pass Filter Implementation
Low Pass Filter:
  aim: reduction of the noise
moving average
Notes: Explain what is meant with size and average

## Slide 8: Low Pass Filter
1. Signal = (signal + background ) – backround
2. Significance = signal / sqrt(backround)
signal
numbers of samples to average
signal
integration size
integration size
numbers of
samples to average

## Slide 9: Average over many events
average of many events: 1. Identify the peaks
2. No noise
→ almost a perfect result

## Slide 10: Conclusion
Aim: 1. more pictures per second
2. higher resolution
3. higher radiation resistance
Determination of the beam’s width by the Knife Edge Method
Implementation of a Low Pass Filter
Best result by using the average of many events