## Slide 1
Controls Crate

## Slide 2
Mains Power Supply (x2)
The 24 VDC generated by this module supplies all the power needed for the controls electronics.
Two of those modules are used for redundancy (L&R).
24 V – 7.5 A

## Slide 3
PSU board
Inputs: +24VinL
+24VinR
Outputs: PSUdriver1+15V (2 Amax)
PSUdriver2+15V (2 Amax)
PSUelec+24V 1→8 (0.4 Amax)
PSUelec-24V 1→8 (0.2 Amax)
The function of this board is creating 2x 15 VDC linear regulated supplies for the IGBT driver boards.
A 40 W DC/DC converter generates the
-24 VDC which is together with +24 VDC supplied, via 8 individually fused outputs, to the 8 signal conditioning boxes.

## Slide 4
PSU board - schematic

## Slide 5
Distribution ±24 VDC and +15 VDC – Part 1

## Slide 6
Distribution +24 VDC and +15 VDC – Part 2

## Slide 7
Electronics Ground (Powering Returns & Shielding) – Part 1

## Slide 8
Electronics Ground (Powering Returns & Shielding) – Part 2

## Slide 9
cRIO – connections CPU

## Slide 10
cRIO – connections TEMP module
Thermocouples

## Slide 11
cRIO – connections ANALOG module Left

## Slide 12
cRIO – connections ANALOG module Right
The function of these boxes is to provide galvanic separation for the VCE and Shunt measurements (up to 2.5 kV).

## Slide 13
x2
Signal Conditioning Box - schematics

## Slide 14
cRIO – connections DIO module

## Slide 15
FPA board (x2)
Inputs: FPA loop
PLC loop
Close-cmd
RL1/2-cmd
SumFault14/58-stat
Outputs: FPA-stat
PLC-stat
Optical Fiber for IGBT drivers (x2/board)
Remark:
Two of these boards operate
together to create redundancy
The function of these boards is to control the conducting of the IGBT's when:
- FPA loop o.k.
- PLC loop o.k.
- no faults from cRIO
- the command has been given to close the switch
and the inverse!

## Slide 16
FPA board - schematic

## Slide 17
FPA board (L) - connections

## Slide 18
FPA board (R) - connections

## Slide 19
INT & LOC CTRL board
Inputs: IN1 to IN8 External Faults
LEDopen-cmd
LEDclose-cmd
Outputs: IN1 to IN8 Status of External Faults
SumFault14-stat
SumFault58-stat
OpenPB-stat
ClosePB-stat
LocResetPB-stat
LocalSwitch-stat
RemoteSwitch-stat
The function of this boards is to provide local open/close operation, displaying the Status of the Switch and have the possibility of External Interlocks to act directly, without intervention of the cRIO, on the opening of the switch as a last resort when all other safety devices have failed.

## Slide 20
INT & LOC CTRL board
- schematics

## Slide 21
INT & LOC CTRL Board - connections

## Slide 22
Not taken in account yet
Slow Power Abort