## Slide 2: Personnel Protection Systems at CERN
NI Big Physics Summit @ CERN - 11-12 February 2016
Authors: P. Ninin, F. Valentini
Edms: 1580195
BE/ICS-CSE

## Slide 3
Outline
Personnel Protection Systems @ CERN
Development process (iec-61511)
Evaluation of NI Technology
Conclusions
Edms: 1580195

## Slide 4: What a PPS is?
BEAM ON
NO ACCESS
NO BEAM
ACCESS ON
Ionizing radiations hazards
Cryogenic (ODH) hazards
Electrical hazards
Magnetic field hazards
Laser hazards
Mechanical hazards
Edms: 1580195

## Slide 5: Primary Zones - PPS
Edms: 1580195

## Slide 6: Primary Zones - PPS
Edms: 1580195

## Slide 7: Experimental Zones - PPS
Particularities:
Lower risks than in primary areas.
Reduced facility size.
Reduced number of I/O signals.
Small population of trained users.
Local operation of the system.
Low realization cost requirements.
Edms: 1580195

## Slide 8
Outline
Personnel Protection Systems @ CERN
Development process (iec-61511)
Evaluation of NI Technology
Conclusions
Edms: 1580195

## Slide 9: Development Process (IEC-61511)
Edms: 1580195
(1) Hazard Identification & Risks Assessment

## Slide 10: Development Process (IEC-61511)
(2) System formal specification by Safety Instrumented Functions (SIF)
Edms: 1580195

## Slide 11: Development Process (IEC-61511)
(3) Formal Verification of Safety Functions
14 SIF / 70 Boolean Variables / 121 Boolean operators
Edms: 1580195

## Slide 12: Development Process (IEC-61511)
(4) Safety Integrity Level (SIL) Allocation to SIF
Residual risk
Safety Instrumented
Function
SIL Interpretation
Probability of failure of the SIF in ensuring its mission.
Factor of risk reduction to be provided by the SIF.
Edms: 1580195

## Slide 13: Development Process (IEC-61511)
(5) SIL Demonstration
Failure Rate:
Safe Failure Fraction (SFF):
Mission Time (T):
The percentage of failures that do not prevent the safety function to ensure its mission.
Statistical Model:
SIF Architecture:
It is the period of time after which the device is fully verified and all undetected faults can be revealed.
Edms: 1580195

## Slide 14
Outline
Personnel Protection Systems @ CERN
Development process (iec-61511)
Evaluation of NI Technology
Conclusions
Edms: 1580195

## Slide 15: Evaluation of NI cRIO 903x
Safety Program (SIF execution)
Standard Program
FPGA
Linux RT
Edms: 1580195

## Slide 16: Conclusions
Provide mechanisms to easy handle I/O channels redundancy.
Provide automatic auto-diagnostic functionalities at level of I/O modules and at level of FPGA in order to increase SFF.
Provide more precise reliability data, estimation of dangerous failures (FMEA study).
TUV certification it is not mandatory but it is required by systems integrators and it is a good way to ensure a qualitative development process.
Possible improvements of NI technology for safety related applications:
Edms: 1580195

## Slide 18: Fast PIS – Hardware Architecture
Slide from Luis Fernandez-Hernando (ITER)

## Slide 19: CCPS architecture
HOST
Red Hat linux CODAC compliant
Connected to CODAC and to CIS
Slide from Luis Fernandez-Hernando (ITER)